COVER PAGE (Placeholder)

D.P.U. 12-76

Massachusetts Electric Grid Modernization

Stakeholder Working Group Process

Partial Draft Report

May 31, 2013

Table of Contents

Chapter 1: Introduction, Process, and Report Overview

- Notice of Inquiry

- Kick-Off Workshop

- Stakeholder Working Group Process

- Report Overview

### Chapter 2: Goals, Objectives, (and Barriers)

- Original DPU Goals & Opportunities

- Additional Opportunities (recommended by SC)

- Barriers (here or attached to regulatory options?)

### Chapter 3: Grid Modernization Taxonomy

- Taxonomy related charts/figures (check on Distribution Company  table)

- Definitions: Outcomes, Capabilities/Activities, Network System Enablers

### Chapter 4: Background Information (Here or in appendix)

- Grid-Facing

- Time-Varying Rates (TVR)

- Metering

### Chapter 5: Principles/Recommendations

### Chapter 6: Regulatory Policies

- Regulatory models

- Cost effectiveness framework

### Chapter 7: DPU Process Going Forward (focusing on next steps for DPU)

Appendices

Appendix 1: Massachusetts Grid Modernization: Summary of Questions from the NOI

Appendix 2: MA DPU Electric Grid Modernization Committee Reps and Alternates

Appendix 3…

Table of Table and Figures

AG Proposed Preamble to this Report

This Report reflects a good faith effort of the Stakeholder Working Group to gather information from published reports and presentations made to the Stakeholder Working Group.  It also reflects a good faith effort of the Stakeholder Working Group to identify recommendations and regulatory policies to facilitate the modernization of the electric distribution system in Massachusetts.  The facts, assumptions, and analyses contained within this Report were not evaluated by the Stakeholder Working Group or the Massachusetts Department of Public Utilities in an adjudicatory process pursuant to G.L. c. 30A, and do not necessarily reflect the views of any party to the Working Group.  Therefore, the facts, assumptions and analyses provided herein should not be relied upon, nor may they serve as a basis to support findings of fact, by any person, organization or entity in an adjudicatory proceeding to serve as the justification for implementation of grid modernization policies or to justify cost recovery of grid modernization investments from customers or third parties.

As such, the preliminary cost information reflected in this Report does not reflect constitute substantive evidence required to justify recovery of utility costs from customers.  Instead, this information is intended to inform the Massachusetts Department of Public Utilities as it considers grid modernization policies in this D.P.U. 12-76 proceeding.

Clean Energy Coalition Proposed Grid Modernization Vision Statement (could go here, end of chapter 1, or elsewhere):

Grid Modernization is a necessary enabler for a prosperous Commonwealth and safe, reliable, affordable and resilient electricity service to its citizens, businesses and industry.  Modernizing today’s grid will require a unified effort by all stakeholders aligned around a common vision. While the current power delivery infrastructure served Massachusetts electric needs well in the 20th century, the demands and expectations in the 21st century require new ways in which power will be generated, delivered and used to reduce costs, improve efficiency, reliability and service, enhance markets, and minimize environmental impacts.

Advances in markets and technology that create new demands and expectations for service on the part of customers, along with the threats posed by increasingly frequent extreme weather events, climate change and physical and cyber attack, provide the opportunity to transition our century old electric delivery system to a modern, dynamic grid.  In addition to the traditional infrastructure approach of large, remote, centralized generating stations providing energy to customers using extensive transmission systems, this vision recognizes the major benefits that the distribution system and end user involvement can provide.  By blending the traditional centralized model with one that embraces distributed resources, demand response, advanced operational tools, and networked distribution systems, we can enjoy the benefits of both and minimize the negative aspects of each. The application of modern computing, communications, and materials sciences, are among many innovations that will enable this transformation.

To realize this vision of the future, grid modernization efforts should seek to deliver the following benefits:

- Providing power quality for 21st century needs

- Self-healing from power disturbance events

- Operating resiliently against physical and cyber attack

- Enabling new products, services, and markets

- Accommodating all generation and storage options

- Enabling active participation by consumers in demand response

- Optimizing assets and operating efficiently

- Providing electricity and services to customers at fair and competitive prices

It is essential for the economic and environmental health of the Commonwealth that Massachusetts regulators and utilities move forward to modernize the grid with an explicit trajectory and schedule to the full implementation of this vision.   While the pace of future technology development and grid modernization cannot be known with certainty, the performance of the grid in meeting specified goals and milestones on an established schedule should be tracked on a regular basis and reported to the public.

Chapter 1: Introduction, Process, and Report Overview

This chapter briefly describes the three main components of the Massachusetts Department of Public Utilities (Department or DPU) electric grid modernization process leading up to this report: 1) the Department’s Notice of Inquiry; 2) Kick-Off Workshop; and 3) Stakeholder Working Group Process.  The chapter ends with a brief introduction to the rest of this report.

- Notice of Inquiry

On October 2, 2012, the Department issued a notice of inquiry “Investigation by the Department of Public Utilities on its own Motion into Modernization of the Electric Grid” (D.P.U. 12-76)”.  The Department’s stated purpose for the NOI was:

The Department of Public Utilities (“Department”) opens this inquiry to investigate policies that will enable Massachusetts electric distribution companies and their customers to take advantage of grid modernization opportunities. Specifically we will examine our policies to ensure that electric distribution companies adopt grid modernization technologies and practices in order to enhance the reliability of electricity service, reduce electricity costs, and empower customers to adopt new electricity technologies and better manage their use of electricity. The purpose of this investigation will be to solicit input from stakeholders that will guide the Department’s approach to grid modernization over the short, medium, and long term. (NOI, page 1)

The NOI goes on to list eight separate opportunities that the Department expects grid modernization to offer (See Chapter 2 for listing of those opportunities), and then lays out the following 8 “areas of inquiry:”

- Current Status of Electric Grid Infrastructure as it Relates to Grid Modernization

- Grid-Facing Technologies

- Customer-Facing Technologies

- Time-Varying Rate Design

- Costs and Benefits of Grid Modernization

- Grid Modernization Policies

- The Pace of Grid Modernization Implementation; and

- Health, Interoperability, Cyber-security, and Privacy

Under each of these areas of inquiry, the Department posed two or three questions for stakeholders to consider (See Appendix 1).  The Department also established a Grid Modernization Stakeholder Working Group to discuss “both grid-facing and customer-facing issues, including the questions posed in the NOI, and to develop recommendations to the Department.”  The Department hired the facilitation and consulting team of Raab Associates, Ltd. and Synapse Energy Economics to assist the DPU and run the stakeholder working group process.

- Kick-Off Workshop

On November 14, 2012 the Department hosted its Electric Grid Modernization Working Group Kick-Off Workshop at the Federal Reserve Bank in Boston. The Workshop was attended by over 125 stakeholders, and included the following six distinct parts:

- MA DPU Electric Grid Modernization Vision and Key Questions (by the DPU Commissioners)

- MA Distribution Company  Grid Modernization Grid- and Customer-Facing Activities & Plans (by NSTAR Electric Company, Western Massachusetts Electric Company, Massachusetts Electric Company and Nantucket Electric Company each d/b/a National Grid, and Fitchburg Gas and Electric Light Company d/b/a Unitil (collectively the “Distribution Companies”)

- Status of Grid Modernization Efforts in U.S. (by GE Digital Energy & Brattle Group)

- Participant/Stakeholder Discussion: Grid Modernization Vision & Key Challenges (small group facilitated discussions with report back)

- Working Group Goals, Structure and Process (by Facilitation/Consulting Team)

- Closing Remarks (by the DPU Commissioners)

During the small group facilitated discussion on grid modernization vision & key challenges, the three most mentioned opportunities/benefits from grid modernization across the twelve groups were:

1) Enhanced reliability

2) Increased opportunity for distributed generation and other new technology to enable greater customer control of their electricity

3) Develop a better regulatory framework to foster grid modernization planning and investment

The three most mentioned concerns/barriers across the 12 groups were:

1) Potential costs of grid modernization technologies, policies, & programs

2) Cost-effectiveness of grid modernization technologies, policies, & programs

3) Incentives and cost recovery for Distribution Companies related to grid modernization investments

- Stakeholder Working Group Process

In its NOI, the Department laid out its expectations and parameters of a Grid Modernization Stakeholder Working Group Process including:

- Beginning with a kick-off workshop, meeting through mid-June 2013, and filing a final report with the Department by June 19, 2013.

- Including full plenary sessions and at least two subcommittees (one focusing on grid-facing issues, and the other on customer-facing issues).

- Reaching as much agreement as possible on as many of the key grid modernization issues as possible, and identifying any such areas of agreement.

- Reporting the different views and options for those issues where agreement cannot be reached, and identifying which members support each view/option.

- Including the electric distribution companies and other interested stakeholder representatives in the Working Group process.

- Having the Department actively leading the Working Group process assisted by a facilitation and consulting team.

Following the Kick-Off Workshop the facilitation/consulting team of Raab Associates, Ltd. and Synapse Energy Economics worked with the DPU staff and Commissioners to finalize the structure, timeline, and membership of the stakeholder working group process.  The structure of the stakeholder working group, as illustrated below in Figure 1-1, was comprised of a Steering Committee and two Sub-Committees—one focused primarily on grid-facing technologies and issues and the other focused primarily on customer-facing technologies and issues.

Figure 1-1 MA Grid Modernization Stakeholder Process Structure

The Steering Committee was comprised of 26 member organizations from state government, consumer and environmental groups, the Distribution Companies and ISO New England, competitive suppliers, and representatives from a wide range of clean energy companies and organizations (see below in Table 1-1for Steering Committee Member Organizations).  The DPU staff and a representative from the MA Executive Office of Energy and Environmental Affairs participated in the Steering Committee as ex officio Members. The two subcommittees were comprised of representatives from the Steering Committee Organizations and their affiliates, as well as additional organizations not directly on the Steering Committee.  For a full listing of all the Steering Committee and Subcommittee Members and their representatives, see Appendix II.

Table 1-1: Steering Committee Member Organizations

The Steering Committee had its first meeting in December 2012, and then met eight times altogether with its final meeting on June 17th of 2013.  Each of the Subcommittees met three times between January and April 2013, to pull together pertinent background information on grid-facing and customer-facing technologies and practices currently in use, as well as possible alternatives moving forward.  The Subcommittees also brainstormed potential principles and recommendations for the Steering Committee’s consideration and further development.  The Steering Committee was responsible for completing the work begun by the Subcommittees, and also had the primary responsibility for addressing the issues that cut across both customer- and grid-facing strategies—such as regulatory policies (cost-effectiveness, cost-recovery), interoperability, and cyber-security.   Figure 1-2 below shows the final constellation of meetings.

Figure I-2: Stakeholder Process Timeline and Meetings

The working group stakeholder process was supported by a website where all of the agendas, meeting summaries, stakeholder groundrules, presentations, working documents, and a substantial library of background documents are all housed.  The website also includes contact information for the members of the Steering Committee and both Subcommittees, as well as the schedule and location for all the meetings.  The website will remain live and can be accessed at http://magrid.raabassociates.org/index.asp.

- Overview of the Report

The remainder of this Report contains a variety of work products and recommendations from the Steering Committee.

Chapter 2 of this Report includes the goals and opportunities for grid modernization specified in the Department’s NOI.  It also includes a list of the potential barriers to grid modernization created by the current regulatory environment.

Chapter 3 includes a taxonomy of grid modernization for Massachusetts developed by the Grid-Facing Subcommittee and finalized by the Steering Committee, which includes the desired “outcomes” for grid modernization, as well as the activities, capabilities, and system enablers associated with those outcomes.  The chapter also includes definitions for each of the terms used in the taxonomy.

Chapter 4 provides a brief summary and road map of the background information assembled largely by the Customer- and Grid-Facing Subcommittees or provided by the Distribution Companies.  On the grid-facing side this background information provides some basic information about the describes the Massachusetts Distribution Companies’ current grid-facing system enabling technologies.  On the customer-facing side, the background information includes high-level descriptions of the Distribution Companies’ current TVR pilot programs, as well as their current metering technologies.  The customer-facing background information also includes information of the incremental capabilities (aka functionality) of a range of metering technologies, as well as the cost range for those metering technologies and related system enablers.

Chapter 5 provides the Steering Committee’s recommended principles related to over-arching, grid-facing, and customer-facing issues.  Chapter 6 delineates the Steering Committee’s recommended regulatory policies including regulatory oversight, cost-effectiveness, ratemaking and cost recovery for grid modernization investments.  Finally, in Chapter 7 the Steering Committee lays out its recommendations related to some potential next process steps for the DPU to take in this docket.

Please note that consistent with the Department’s NOI and the Steering Committee’s groundrules, any recommendations in this Report represent a consensus of all of the Steering Committee Members unless otherwise noted.  Where a consensus was not reached by all of the Steering Committee members, two or more options are presented with a description of which Members support each option.

The appendices to this Report provide a additional information, and are referenced at the appropriate juncture in the body of the Report.

### Chapter 2: Goals, Objectives, (and Barriers)

### The Goals of Grid Modernization and the Working Group

To help establish regulatory policies and a road-map that will enable Massachusetts electric distribution companies, their customers, and other market actors to take advantage of grid modernization opportunities, both in the short-term and over the long-term.

Specifically, as specified in the NOI, to ensure that Massachusetts electric distribution companies, their customers, and other market actors adopt grid modernization technologies and practices to:

- enhance the reliability of electricity services; (NOI p.1)

- reduce electricity costs; (NOI p.1)

- empower customers to better manage their use of electricity; (NOI p.1)

- develop a more efficient electricity system; (NOI p.3) and

- promote clean energy resources. (NOI p.3)

Note that there may be tradeoffs in attempting to meet all these goals simultaneously, e.g., tradeoffs between enhanced reliability and reduced electricity costs.

- Grid Modernization Opportunities

The Department’s NOI identifies a number of grid modernization opportunities that the Stakeholder Working Group sought to evaluate and consider.  The opportunities include:

Reduce the frequency and duration of customer outages through automated, remote-controlled grid devices and real-time communication to the distribution companies of outages and infrastructure failures;

Provide customers with the information, price structures, technologies, incentives, and tools that can empower them to use electricity more efficiently and reduce their individual energy costs;

Improve the operational efficiency of the grid, particularly during peak times when the grid is most stressed and electricity is most expensive;

Reduce transmission and distribution system operation, maintenance, and construction costs by reducing electricity demands at times of system peaks;

Reduce New England wholesale and retail electricity costs by reducing electricity demand at times of system peaks;

Facilitate the integration of distributed generation resources and new technologies, such as renewable energy technologies, combined heat and power, energy storage, fuel cells, and electric vehicles;

Enhance the success of the Massachusetts energy efficiency and other clean energy initiatives, through the use of marketing campaigns and the advancement of technologies that both reduce peak demand and save energy;

Reduce greenhouse gas emissions from the electric sector by: increasing the operational efficiency of the grid, reducing the need for the high emissions generating plants that run primarily during times of peak electricity demand;  empowering customers to use energy more efficiently; and facilitating the integration of demand resources into the grid;

### Barriers to Implementing Grid Modernization under Current Regulatory Practices

### [AG proposed Intro.] The below list of barriers is a representative sample of the barriers and challenges voiced at the Kick-Off Workshop, at the first Steering Committee Meeting, and in the NOI.  It does not represent an agreed to or all-inclusive list of barriers or concerns.  The Stakeholder Working Group, however, sought to address these and other barriers that were identified during the course of the working group process.

- [AG Add] Grid modernization investments may be costly, and the ability to achieve, maintain and promote the affordability of electricity rates and charges for all customers is challenging;

- [Utility Suggest Delete] In order to take full advantage of prudent grid modernization opportunities, the Distribution Companies need to operate within a regulatory construct that [recognizes the increased risk associated with new and innovative technologies and programs and] aligns incentives to desired outcomes.

- [Utility Add] The Distribution Companies’ core responsibility to provide reliable and safe service to its customers may not be aligned with stakeholders’ positions and theories regarding grid modernization.

- [Utility Suggest Delete] Utility financial interests and incentives are not [del may not be] well aligned with the goal of taking full advantage of grid modernization opportunities

- Current regulatory policies do [del may] not provide Distribution Companies with sufficient direction regarding grid modernization investments.  This is particularly true with regard to regulatory review, cost recovery, and TVR policies.

- [Utility Add] In order to take full advantage of prudent grid modernization opportunities, the Distribution Companies need to operate within a regulatory construct that recognizes the increased risk associated with new and innovative technologies and programs and aligns incentives to desired outcomes.

- Assessing the costs and benefits of grid modernization is challenging, and the framework has not been defined.  Some of the benefits are difficult to quantify, monetize and verify, and some of the benefits and costs are experienced differently by different stakeholders.  Also, a large portion of the costs may be experienced in the short-term while most of the benefits may not be experienced until well into the future.

- Balancing the benefits of increased reliability against increased costs is complicated

  - … and difficult to quantify [utilities]

  - …given the absence of clear guidelines for evaluating benefits and costs [CEC].

- Some customers may be at risk of experiencing higher costs without experiencing comparable benefits [CEC add] or having unaffordable rates or bills.

- The scope of the issues is broad and complex.  There are many overlapping and inter-dependent issues to understand and assess.  There are many different actors and stakeholders involved, many of whom do not coordinate on these issues.

- The pace of technological change, and the potential for technological obsolescence, increases the complexity of the issues.

- In order to obtain some of the benefits of grid modernization it will be important to engage customers: to respond to TVR, to install demand response and efficiency technologies, and to install distributed generation and storage technologies.  Customer engagement and sustainability may be uncertain, may vary significantly across customers, and may be highly dependent upon the types of technologies and programs offered them.

- [CEC Add] Uncertainty as to the jurisdiction of the Department of Public Utilities over persons or corporations owning, controlling, operating, or managing facilities that supply electricity to the public to charge plug-in electric vehicles poses a barrier to private investment in plug-in electric vehicle charging infrastructure necessary to facilitate the widespread use of electricity as a transportation.

- [CEC Add]To obtain the benefits that electric vehicles can bring to the grid the DPU must address the proper role for regulated utilities in removing barriers to the widespread deployment of plug-in electric vehicles, minimizing adverse impacts associated with vehicle charging, and maximizing the environmental and system benefits of the use of electricity as a transportation fuel.

### Chapter 3: Grid Modernization Taxonomy

- Taxonomy

One key objective of the Department’s inquiry into grid modernization is to consider the range of capabilities that collectively define a modern distribution network.  To that end, the Department posed the following question for the Working Group in the NOI:  “What are the key grid-facing technologies and practices that the distribution companies should be implementing to maximize the reliability and the efficiency of the grid?”

To answer this question, the Working Group set out to develop a grid modernization taxonomy that captures those capabilities or activities that could be most relevant to Massachusetts’ distribution companies.  The taxonomy is included below in Figure 3-1. This effort drew upon a variety of resources, including the distribution companies’ investment plans and 3rd-party reports, such as the US Department of Energy’s assessments of Smart Grid Investment Grant projects funded by the Recovery Act of 2009.

[AG Proposed Caveat Language] This chapter is a result of the Working Group’s efforts.  The chapter defines for the Department a range of potential capabilities, activities and enablers that may result in the Desired Potential Outcomes.  In practice, the use of each potential capability and enabler may be dependent upon many factors under consideration and evaluation by the utility, consumer advocates, other stakeholders and the Department.  The reader should not infer from this chapter that each Desired Potential Outcome and the associated capabilities, activities and enablers is equally valuable or necessary.  This determination is dependent on the facts and circumstances of each case.  Consequently, this chapter does not address issues such as cost recovery, cost-effectiveness, affordability, or the Department’s prudence and used and useful requirements for investments.

However, the Working Group was able to make substantial progress in identifying those outcomes, capabilities, activities and enablers that should be considered by the Department. The Working Group initially identified 14 core capabilities that could be deployed by Massachusetts distribution companies to support the grid modernization goals and opportunities highlighted in the Department’s Notice.  The utilities are deploying many of these core capabilities already. See below for a complete list of capabilities and associated definitions.  These capabilities were then grouped according to their primary desired purpose – or “Outcome” – to include the following:

- Reduce Impact of Outages.  Measures that improve a Distribution Company’s ability to rapidly detect and respond to fault conditions on the network to reduce the duration and number of customers affected by an outage.

- Optimize Demand. Measures that are intended to encourage customer engagement in peak load reduction and enable load to be more fully utilized as a resource for distribution system planning and operations.

- Integrate Distributed Resources.  Measures that enable a Distribution Company  to safely and efficiently interconnect distributed generation and other variable resources to its network.  These measures may also support utilization of such resources for system planning and operations.

- Workforce and Asset Management.  Measures that improve a Distribution Company’s ability to monitor the location, performance and utilization of equipment and crews across its network.

In addition to the grid modernization capabilities and associated outcomes referenced above, the Working Group also recognized the Department’s desire to consider measures that could improve service reliability during storm events.  These measures include a variety of activities, such as vegetation management and system hardening, which have long been utilized by distribution companies and are not unique to grid modernization initiatives.  Accordingly, the Working Group created a separate outcome – “Prevent Outages” - to ensure the Department fully considers the range of Distribution Company investments that can support the goals and objectives included in the Notice:

- Prevent Outages.  Measures that improve a Distribution Company’s ability to withstand severe weather events or other natural disturbances while maintaining service to customers.

| Figure 3-1: Massachusetts Grid Modernization Taxonomy |
| --- |
| Outcomes | Capabilities/Activities* | Network Systems Enablers |
| Reduce Impact of Outages | Fault Detection, Isolation and Restoration | • Communications • SCADA / DMS • OMS • GIS |
|  | Automated Feeder Reconfiguration |  |
|  | Intentional Islanding |  |
| Optimize Demand | Volt/VAR Control, Conservation Voltage Reduction | • Communications • SCADA / DMS • Metering (enhanced AMR or AMI) • Meter Data Management System • Billing System |
|  | Load Control |  |
|  | HAN Capability |  |
|  | Advanced Load Forecasting |  |
|  | Time Varying Rates |  |
| Integrate Distributed Resources | Voltage Regulation | • Communications • SCADA / DMS |
|  | Load Leveling and Shifting |  |
|  | Remote Connect / Disconnect |  |
| Workforce and Asset Management | Mobile Workforce Management | • Communications • OMS • GIS |
|  | Mobile GIS |  |
|  | Remote Monitoring and Diagnostics |  |
| Prevent Outages | System Hardening |  |
|  | Aging Infrastructure Replacement |  |
|  | Vegetation Management |  |
| * Note: Capabilities/Activities are connected here to their primary outcomes. Some Capabilities/Activities can also help facilitate other outcomes (see definitions). |

The Working Group also sought to capture the core systems (e.g., metering) and enterprise software applications (e.g., outage management system) that underpin Distribution Company operations and support implementation of the various grid modernization capabilities.  For example, a distribution company may require both Supervisory Control and Data Acquisition (SCADA) capabilities and a Distribution Management System (DMS) to implement automated feeder reconfiguration.  These systems and software applications – collectively referred to as “Network System Enablers” – are included in the taxonomy alongside the relevant grid modernization capabilities.

Finally, whereas the Notice draws a distinction between “Grid-Facing Technologies” (e.g., those technologies that improve network performance) and “Customer-Facing Technologies” (e.g., those technologies that enable greater customer engagement), the Working Group sought to capture both categories within the taxonomy.  This approach reflects the Working Group’s assessment that many of the Department’s goals and opportunities could best be pursued through a combination of grid-facing and customer-facing technologies.  In fact, grid modernization investments around the country often feature the integration of grid-facing and customer-facing technologies to achieve desired outcomes.

- Definitions—Outcomes & Capabilities/Activities

Outcome 1: Reduce Impact of Outages

- Fault Detection, Isolation, Restoration (FDIR)

- Automated Feeder Reconfiguration

- Intentional Islanding

Fault Detection, Isolation, Restoration (FDIR)

FDIR is a collective term for the process of identifying the location of a fault condition on the system through the use of current and voltage monitoring devices; isolating the fault between two devices adjacent to the fault (e.g., opening two switches on either side of the fault); and, restoring service to the customers in the unaffected areas (i.e., not in the isolated section where the fault occurred).  Next generation systems may use pre-programmed restoration scenarios that rapidly respond to equipment load ratings and real-time system load measurements.   Such advanced applications require a robust, scalable two-way communications network.   Although FDIR is sometimes referred to as a “self-healing grid,” it is important to note that the fault is not corrected until Distribution Company  workers correct the cause of the fault – such as a downed wire - and return the affected section back into service.

Automated Feeder Reconfiguration

Automated feeder reconfiguration refers to the constant monitoring of the status of the distribution system (e.g. voltage and load conditions) and the ability of the system to respond by using alternate sources of supply to avoid an overload situation.  Some FDIR systems also support automated feeder reconfiguration capability that enables restoration of service to the greatest number of customers possible through real time load monitoring.

Intentional Islanding (microgrid control)

An island condition is a situation where one or more generators are feeding an isolated section of the Distribution Company’s system.  Intentional islanding control technology is used to isolate a specified section of the Distribution Company system from the rest of the grid (and its supply sources) such that the section is fed solely from local generation. This technology is also used to promote seamless reconnection of the islanded section to the larger grid.  An unintentional island condition - in which a generator feeds into a fault on the grid - can pose a significant safety risk to Distribution Company employees and the general public because a line may remain energized without the Distribution Company’s knowledge.

Outcome 2: Optimize Demand

- Integrated Volt/VAR Control, Conservation Voltage Reduction

- Distribution Company /3rd party Demand Response Programs (load control)

- Home Area Network Communications Capability

- Advanced Load Forecasting

- Time Varying Pricing

Integrated Volt/VAR Control

Volt/VAR management is the term for technology that measures voltage and power factor on the distribution system and corrects imbalances to minimize power quality disturbances and limit line losses of the system.  Next generation systems may include centralized processing with the ability to perform feeder-specific, substation-specific and area/region optimization.  Future applications may also incorporate distributed solar photovoltaic (PV) cells and other resources through the use of controllable inverters for VAR support.

Conservation Voltage Reduction

Conservation voltage reduction refers to the active management of distribution voltage within a tight bandwidth to reduce energy consumptions and peak demand.   Next generation systems may include centralized processing with the ability to perform feeder-specific, substation-specific and area/region optimization.

Distribution Company /3rd party Demand Response Programs (load control)

A load control demand response program is one where a signal is sent to a customer device (e.g., programmable controllable thermostats, water heaters, air conditioners) instructing that device to reduce electricity consumption.  A two-way signal allows the sender of the signal to confirm whether the device has responded or the customer has decided to over-ride the signal.  A load control program may be implemented by a Distribution Company or third party.

Home Area Network Communications Capability

A home area network (HAN) provides customers with access to usage data in more frequent time increments than once-monthly billing information.  Retail pricing information may also be communicated to customers through a HAN.  For example, a customer may program controls in the home to increase the set-point on the air conditioner in response to a critical peak signal sent from the Distribution Company.    In order to connect a HAN to the customer’s meter, the meter must have a HAN communication module installed and activated.  A HAN may also be installed by a customer for a variety of energy management purposes without requiring a connection to the meter.

Advanced Load Forecasting

Advanced load forecasting is the process of making more accurate and discrete predictions about future system loads based on customer usage data.  Improved forecasts enable operators to better schedule and dispatch generation.   Such forecasting may also include distributed generation and other resources, including demand response and electric vehicles.

Time Varying Rates

Time varying rates (also known as time of use rate structures) (TVR) changes the price customers pay based on time of day such that the rate is higher during periods of peak demand.  At the most extreme, customers can pay a different price every hour based on wholesale market prices.  In more traditional pricing structures, customers pay a different rate for a given number of hours every weekday, coincident with the time of system peak demand.  Another form of time varying rates is a critical peak price or peak-time rebate that is typically implemented for a limited number of critical peak events when the system is constrained due to very high demand.  A critical peak pricing program entails a higher price during critical peak periods, whereas a peak-time rebate provides customers with a credit or rebate for reducing usage during the same critical peak periods.

Outcome 3: Integrate Distributed Resources

- Voltage Regulation

- Load leveling and shifting  (Intentional 2-way power flow)

- Remote Distributed Generation Connect/Disconnect & Monitor

Voltage Regulation

Advanced voltage regulation technologies may be used by Distribution Companies to manage fluctuations in voltage caused by large amounts of distributed generation relative to the amount of load in a given section of the Distribution Company system.

Load Leveling and Shifting (Intentional 2-way power flow)

Load leveling and shifting alters the pattern of demand to more closely match output from non-dispatchable, intermittent distributed resources such as solar PV.     This technology may help mitigate reverse power flows and localized disturbances typically associated with high levels of intermittent distributed generation.   Advanced applications may enable Distribution Companies to use distributed resources for system balancing operations.  Such applications may include:  on-site battery storage for active energy support; and voltage “ride through” capabilities that enable distributed generators to operate uninterrupted though grid disturbances.

Remote Distributed Generation Connect/Disconnect & Monitor

Remote disconnect is technology that enables a Distribution Company to use automation to remotely disconnect a distributed generation facility from the distribution system to protect safety or maintain service to other customers.

Outcome 4: Workforce and Asset Management

- Mobile Workforce Management Systems

- Mobile GIS Platforms

- Remote Monitoring & Diagnostics (equipment  and system conditions)

Mobile Workforce Management Systems

Mobile workforce management systems provide Distribution Company field technicians with mobile access to asset records and other critical information in an effort to support timely and accurate assessments and services. These systems may also provide data useful to supervisors to plan, dispatch and monitor field services across a distribution company’s service area.

Mobile Geographic Information Systems Platforms

A Geospatial Information System (GIS) is the Distribution Company’s system of record for the as-built transmission and distribution network, providing a spatial view of assets and connectivity.   Mobile GIS platforms allow Distribution Company technicians to download selected portions of the database to a laptop or other personal device for use in the field.

Remote Monitoring & Diagnostics (equipment conditions)

Remote monitoring and diagnostics enable Distribution Companies to collect more frequent data on the status of system equipment (e.g., oil samples from substation transformers).  A Distribution Company may use these data to identify concerns (e.g., abnormal equipment performance), optimize day-to-day asset utilization and support condition-based maintenance programs.

Remote Monitoring & Diagnostics (system conditions)

Remote monitoring and diagnostics for system conditions consists of data collected via SCADA systems, to include voltage, loading, current, power factor and frequency.  A Distribution Company may use these data to feed planning models, support advanced load forecasting and enable analytics that can improve and optimize system planning and operations.

Outcome 5: Prevent Outages

- System Hardening

- Aging Infrastructure Replacement

- Vegetation Management

System Hardening

System hardening refers to measures that are intended to make a Distribution Company’s assets  better able to withstand a major storm or other catastrophic event.  System hardening measures may include:  elevated substations; equipment hardening; and distributed generation/storage.

Elevated Substations

Elevated substations are raised above ground-level to mitigate the risk of flooding during storm surges and other weather-related events.  Such flooding can damage Distribution Company equipment and contribute to prolonged outages.  Alternative approaches include relocating substations to less flood-prone areas or installing protective measures, such as pumps and levees.

Equipment Hardening

Equipment hardening refers to the replacement of existing Distribution Company infrastructure with equipment manufactured to more robust design standards and better able to withstand wind, water, ice and other elements.  Examples include:  installation of higher class poles and submersible equipment; installation of equipment with enhanced lightening protection; and replacement of bare wire with covered wire.

Distributed Generation/Storage (still under discussion)

Distributed generation and storage include those resources located close to load centers, such as neighborhoods, offices parks and industrial facilities.  Distributed resources can harden the grid by providing uninterrupted power to critical facilities and supporting expedited power restoration during unplanned outages.

“	[Malkin possible alternative from US EIA] A generator that is located close to the particular load that it is intended to serve. General, but non-exclusive, characteristics of these generators include: an operating strategy that supports the served load; and interconnection to a distribution or sub-transmission system (138 kV or less).

[Utility Suggested Alternative] Distributed generation and storage include those resources located close to load centers, such as neighborhoods, offices parks and industrial facilities.  Distributed resources interconnected consistent with Distribution Company protocols may be able to harden the grid by providing uninterrupted power to critical facilities and supporting expedited power restoration during unplanned outages. In addition, while distribution resources may be able to harden the grid by providing uninterrupted power to critical facilities, careful consideration must be given to safety concerns in order to provide adequate protection for Distribution Company employees and the general public.

Aging Infrastructure Replacement

Replacement of infrastructure that is prone to failure due to age with equipment that meets current design specifications.  An example is the replacement of paper insulated lead cable with Ethyl-Propylene Rubber (EPR) insulated cable.

Vegetation Management

Vegetation management entails a series of Distribution Company -sponsored measures to reduce the frequency of faults caused by trees and other vegetation coming into contact with overhead power lines.  Vegetation management may include:   tree pruning and removal; vegetation control around poles, substations, and other electric facilities; manual, mechanical, or chemical control of vegetation along rights-of-way; tree inventories; and other related activities.

- Network Systems Enablers

- Distribution Management System (DMS)/SCADA

- Outage Management System (OMS)

- Geospatial Information System (GIS)

- Billing System

- Metering System

- Meter Data Management System (MDMS)

- Communication Systems (Fiber, Microwave, Radio, etc.)

Distribution Management System (DMS)/SCADA

A DMS is a computer system used by a  Distribution Company  to receive data from devices deployed at various locations on the network that are equipped with supervisory control and data acquisition (SCADA) technology to provide operators with a real-time picture of the status of the distribution system.  Using the DMS, operators can control devices to isolate faults and restore unaffected sections of the system.  Advanced capabilities of the DMS enable automatic operations in response to current conditions (e.g., fault conditions, volt/VAR optimization and feeder reconfiguration in response to load).  Although it is often assumed that a DMS will be deployed on a system-wide basis, it can also work at a substation or feeder level when appropriate.

Outage Management System (OMS)

An OMS is a computer system used by a  Distribution Company to collect data on the location of outages on the system and the number of customers affected.  Customer calls reporting loss of service are represented in the OMS which then uses software-based rules to identify the likely source location for the outage.  In larger scale events with multiple simultaneous outages, the OMS is used by the Distribution Company to prioritize restoration efforts by focusing on outages affecting the greatest number of customers.  As power is restored, the OMS is updated based on field reports ensuring an accurate representation of remaining problems.  A Distribution Company’s OMS may be integrated with a DMS and/or metering system.

Geospatial Information System (GIS)

A GIS is a computer system that provides a graphical representation of the distribution system.  The GIS system may include the asset location of major Distribution Company equipment such as substations, switches, transformers and poles.  Detailed asset information (manufacturer, installation date, size, etc.) is also stored along with the location data.  The GIS is typically the single source or repository of asset information that feeds system planning models, system operations models, outage management models and work-order/financial systems.  Advanced features may include system mapping and design modules.  A Distribution Company may also integrate its GIS and OMS systems to allow for reported outages to be mapped on the GIS system for an accurate location of the device (e.g. fuse or switch) that the OMS calculates as most likely to be at the source of the outage.

Billing System

A Distribution Company’s billing system creates a customer bill by applying a customer’s electricity usage for a given period to the customer’s rate structure.  The billing system typically works together with a customer information system as the system of record documenting address, contact information, payment history and special status (e.g., life support customer).

Metering System

The Distribution Company’s metering system is the collective term for the customer meters that measure electricity usage and the communications method used to transmit usage data back to a meter data management system.  Electricity meters measure usage for a given period of time from every 5 minutes to monthly and in some cases measure peak demand for a period.  The communications infrastructure may range from manual reading on a hand-held device downloaded at a central location to two-way cellular or radio signals sent every 15 minutes that will support advanced features such as dynamic rate structures, demand response programs and outage management.    A Distribution Company may integrate its metering system and OMS to allow for outage data to be recorded in the OMS based on the status of each customer’s meter rather than as a result of customer phone calls.

Meter Data Management System (MDMS)

An MDMS is a computer system that takes raw usage data and processes it into a form that can be used for billing.  For instance, an MDMS can take hourly usage data for a month and categorize the hours into on and off-peak periods that can be sent to the billing system to create a time of use bill.  In some instances, a Distribution Company’s billing system is capable of serving as its MDMS as well.  An MDMS also facilitates the delivery of advanced metering features, such as dynamic rates, demand response programs and outage management.

Communications Systems (Fiber, Microwave, Radio, etc.)

Communication systems are used in many Distribution Company operations.  Voice communication systems (e.g., radio or cellular) enable the work force to communicate on a real-time basis.  Data communication is used for collecting information on distribution system status from SCADA devices and metering systems to transmit usage data from meters to an MDMS.  Data communication is also used as a means to remotely control devices in the field.  Key factors for selecting next generation communications systems include but are not limited to adherence to industry standards (i.e., NIST), bandwidth, service quality and scalability to the customer level, each of which is important to achieving a safe, secure, reliable and flexible communications network.

Chapter 4: Background Information

TIM TO WORK ON GRID FACING AND JONATHAN ON CUSTOMER FACING—TO BE ADDED LATER

### Chapter 5: Principals/Recommendations

TO BE UPDATED BY JONATAHAN/TIM AND ADDED FOR DISCUSSION AT THE MAY 22ND MEETING

### Chapter 6: Regulatory Policies

TO BE ADDED BY TIM AFTER MAY 14TH OR MAY 22ND MEETINGS

Chapter 7: DPU Process Going Forward

TO BE ADDED TO MAY 22ND AGENDA AND THEN ADDED TO THIS DOCUMENT AFTERWARDS

Appendix I: Massachusetts Grid Modernization

## Summary of Questions from the NOI

#### Current Status of Electric Grid Infrastructure as it Relates to Grid Modernization

What grid modernization technologies and practices has each electric distribution company already implemented, and what plans does each company have for introducing additional technologies and practices?

To what extent does each distribution company’s recent investments in grid modernization, including advanced meters (e.g., Automated Meter Reading (“AMR”), Advanced Metering Infrastructure (“AMI”)), affect decisions about future investment in grid modernization?

What role do existing Department regulations, policies and practices play in encouraging or discouraging future investments in grid modernization infrastructure?

#### Grid-Facing Technologies

What are the key grid-facing technologies and practices that the distribution companies should be implementing to maximize the reliability and the efficiency of the grid?

How do grid-facing technologies and practices overlap with customer-facing technologies (e.g., advanced meters and communications systems) and practices, and to what extent do they need to be coordinated?

#### Customer-Facing Technologies

How can customer-facing technologies, practices, and strategies be used in conjunction with time-varying rate design to (1) enable customers to manage their electric usage most efficiently and enable maximum customer cost savings; and (2) integrate resources such as distributed generation, electricity storage devices, and electric vehicles?

What are the appropriate roles for the Department, distribution companies, and stakeholders in identifying customer-facing technologies to achieve these goals?

How should the Department and other stakeholders ensure an open and robust market for third-party customer-facing technology providers and ensure adequate consumer protection?

#### Time-Varying Rate Design

Which time-varying rate designs (i.e., time-of-use rates, peak-time rebates, critical peak pricing, real-time pricing) are most appropriate for Massachusetts customers, and should this vary by customer class and/or service territory?

What factors should the Department consider in applying time-varying rate designs to basic service customers, and what impact might the application of these rate designs have on the competitive retail market?

Should time-varying rate designs be mandatory, opt in, or opt out, and should designs vary by customer class?

#### Costs and Benefits of Grid Modernization

What is the appropriate framework to evaluate the cost-effectiveness of grid modernization technologies and practices, including grid-facing technologies, customer-facing technologies, advanced meters, and time-varying rate designs?

How should the Department value hard-to-quantify impacts such as improved reliability, increased customer choice, and reduced environmental impacts?

#### Grid Modernization Policies

What role do existing Department regulations and policies play in encouraging or discouraging future grid modernization initiatives?

What mechanism(s) should be considered for cost recovery of grid modernization investments?

#### The Pace of Grid Modernization Implementation

How should electric distribution companies and the Department determine the appropriate sequencing and timing for implementing various grid modernization technologies and practices?

To what extent, if at all, can and should distribution companies implement time-varying rate designs in advance of full-scale deployment of enabling technologies?

#### Health, Interoperability, Cybersecurity, and Privacy

What steps should the Department take to address the health concerns associated with grid modernization that have been raised in a few other areas of the country?

What steps should the Department take to promote open, interoperable grid modernization technologies?

What steps should the Department take to address cybersecurity and privacy concerns associated with grid modernization?

| Appendix II: Massachusetts Grid Modernization |
| --- |
| MA DPU Electric Grid Modernization Committee Reps and Alternates |
| Organization | Steering Committee Reps | Steering Committee Alternates | Customer-Facing Sub Reps | Customer-Facing Sub Alternates | Grid-Facing Subcom Reps | Grid-Facing Subcom Alternates |
| Bloom Energy & ClearEdge Power (Fuel Cells) | Lisa Ward (CEP) | Charlie Fox (Bloom) | Lisa Ward | Charlie Fox | Lisa Ward | Charlie Fox |
| ChargePoint (EV/Charging) | Colleen Quinn | Scott Miller | Colleen Quinn | Scott Miller | n/a | n/a |
| Cape Light Compact | Joe Soares | Briana Kane | Briana Kane | Rebecca Zachas* | Joe Soares | Rebecca Zachas |
| CLF | Shanna Cleveland | Seth Kaplan | n/a | n/a | Shanna Cleveland | Seth Kaplan |
| Constellation | Daniel Allegretti | Jeanne Dworetzky | Daniel Allegretti | Brett Feldman | Daniel Allegretti | Brett Feldman |
| CSG (EE) | Pat Stanton | Joe Fiori | Pat Stanton | Joe Fiori | n/a | n/a |
| Direct Energy | Marc Hanks | Chris Kallaher | Marc Hanks | Chris Kallaher | n/a | n/a |
| ESA & Ambri (Storage) | Katharine Hamilton (ESA) | Kristin Brief (Ambri) | n/a | n/a | Katharine Hamilton | Kristin Brief |
| ENERNOC (DR) | Herb Healy | Greg Geller | Herb Healy | Greg Geller | n/a | n/a |
| Environment Northeast | Abigail Anthony | Mike Henry | Abigail Anthony | Jeremy McDiarmid | Mike Henry | Abigail Anthony |
| GE Digital Energy | n/a | n/a | n/a | n/a | David Malkin | Byron Flynn |
| IREC | n/a | n/a | Erika Schroeder | Kevin Fox | n/a | n/a |
| ISO New England | Henry Yoshimura | Catherine McDonough | Henry Yoshimura | Catherine McDonough | n/a | n/a |
| Low Income Network | Jerry Oppenheim | Nancy Brockway | Jerry Oppenheim | Nancy Brockway | Jerry Oppenheim | Nancy Brockway |
| MA AG | Sandra Merrick | Jamie Tosches | Nathan Forster | Anna Grace | Jamie Tosches | Anna Grace |
| MA CEC | Martha Broad | Galen Nelson | Martha Broad | Galen Nelson | Galen Nelson | Martha Broad |
| APPENDIX II continued |
| MA DPU Electric Grid Modernization Committee Reps and Alternates |
| Organization | Steering Committee Reps | Steering Committee Alternates | Customer-Facing Sub Reps | Customer-Facing Sub Alternates | Grid-Facing Subcom. Reps | Grid-Facing Subcom. Alternates |
| MA DOER | Birud Jhaveri | Dwayne Breger | Lou Sahlu | Gerry Bingham | Gerry Bingham | John Ballam |
| MA DPU (ex officio) | Ben Davis | Julie Westwater | Ben Davis | Julie Westwater | Ben Davis | Julie Westwater |
| MA DTC | Paul Abbott | Ben Dobbs | Ben Dobbs | Karlen Reed | Paul Abbott | Ben Dobbs |
| MA EOEEA (ex officio) | Steven Clarke | Barbara Kates-Garnick | Steven Clarke | Barbara Kates-Garnick | Steven Clarke | Barbara Kates-Garnick |
| National Grid | Peter Zschokke | Amy Rabinowitz | Peter Zschokke | Ed White | Cheri Warren | Chris Kelly |
| NE Clean Energy Center | Janet Besser | Charity Pennock | David O'Brien | Mark Kalpin | Michael McCarthy | Zachary Gerson |
| NECHPI (CHP) | Jonathan Schrag | Bill Pentland | Jonathan Schrag | Bill Pentland | Jonathan Schrag | Bill Pentland |
| NEEP (EE) | Natalie Hildt | Josh Craft | Natalie Hildt | Josh Craft | n/a | n/a |
| NSTAR | Larry Gelbien | Doug Horton | Doug Horton | Bryant Robinson | Amin Jessa | Bill McDonough |
| SEBANE/SEIA (Solar) | Carrie Hitt (SEIA) | Fran Cummings (SEBANE) | Carrie Hitt | Fran Cummings | Fran Cummings | Carrie Hitt |
| Unitil | Tom Meissner | Gary Epler | Justin Eisfeller | Cindy Carroll | Kevin Sprague | John Bonazoli |
| WMECO | Jennifer Schilling | Camilo Serna | Camilo Serna | Jennifer Schilling | David Wrona | Jennifer Schilling |

KEY:

n/a = Organization is not a member of this Committee or-Subcommittee

Additional Affiliations not noted above:

Rebecca Zachas -BCK Law, PC (for Cape Light Compact)

Jeanne Dworetzky –Exelon (for Constellation)

Nancy Brockway – Nancy Brockway Associates (for Low Income Network)

David O’Brien-Bridge Energy Group (for NECEC)

Mark Kalpin - Wilmer Hale (for NECEC)

Michael McCarthy -Ambient Corporation (for NECEC)

Zachary Gerson   Foley Hoag (for NECEC)

# Footnotes

An alternative way to organize chapter 5 and 6, would be to have chapter 5 focus on Grid-Facing (both background information and principles/recommendations; and chapter 6 similarly structured for Customer -Facing

Mid-way through the effort, the Department changed the final report deadline to June 26th to allow for additional review time by the members of the final draft report.

The two organizations formally invited to participate in the Grid-Facing and Customer-Facing Subcommittees as members who were not Steering Committee Member organizations or their affiliates were GE Digital Energy and IREC, respectively.

Furthermore, consistent with the Working Group groundrules, Steering Committee members organizations (and any other organization that adds its name to the Final Report—i.e., a signatory organization) can provide supporting information and supplemental comments to the DPU within the timeframe and format (e.g., page limit) specified by the DPU and consistent with State Administrative Procedure law (G.L. c. 30A), as long as such information and comments are not inconsistent with the positions taken by that signatory organization within the Final Report.

These are from the DPU NOI.

The first eight opportunities are taken from the DPU NOI (pp. 3&4).  The last two opportunities were added by the Steering Committee.

The American Reinvestment and Recovery Act established grant funding of $3.4 billion for select Smart Grid projects.

Other options to accommodate the use of DG in support of the electric distribution system, including “equipment upgrades associated with running customer owned generation that is compatible with the connected utility distribution system,” are described in “Guidance Document for Customer Owned Distributed Generation Applications: A Working Draft,” prepared by KEMA Consulting, Inc. on June 26, 2009, based on Distributed Energy Planning Workshops commissioned by the Massachusetts DG Collaborative in 2006.