COVER PAGE (Placeholder)

D.P.U. 12-76

Massachusetts Electric Grid Modernization

Stakeholder Working Group Process

Partial Draft Report

May 22, 2013

Table of Contents

Chapter 1: Introduction, Process, and Report Overview					4

- Notice of Inquiry

- Kick-Off Workshop

- Stakeholder Working Group Process

- Report Overview

### Chapter 2: Goals, Objectives, (and Barriers)						11

- Original DPU Goals & Opportunities

- Additional Opportunities (recommended by SC)

- Barriers (here or attached to regulatory options?)

### Chapter 3: Grid Modernization Taxonomy 						14

- Taxonomy related charts/figures (check on utility table)

- Definitions: Outcomes, Capabilities/Activities, Network System Enablers

### Chapter 4: Background Information (Here or in appendix)

- Grid-Facing

- Time-Varying Rates

- Metering

### Chapter 5: Principals/Recommendations

- Overarching

- Metering

- Time-Varying Rate

### Chapter 6: Regulatory Policies

- Regulatory models

- Cost effectiveness framework

### Chapter 7: DPU Process Going Forward (focusing on next steps for DPU)

Appendices

Appendix 1: Massachusetts Grid Modernization: Summary of Questions from the NOI	28

Appendix 2: MA DPU Electric Grid Modernization Committee Reps and Alternates	30

Appendix 3…

Chapter 1: Introduction, Process, and Report Overview

This chapter briefly describes the three main components of the Massachusetts Department of Public Utilities (Department or DPU) electric grid modernization process leading up to this report: 1) the Department’s Notice of Inquiry; 2) Kick-Off Workshop; and 3) Stakeholder Working Group Process.  The chapter ends with a brief introduction to the rest of this report.

- Notice of Inquiry

On October 2, 2012, the Department issued a notice of inquiry “Investigation by the Department of Public Utilities on its own Motion into Modernization of the Electric Grid” (D.P.U. 12-76)”.  The Department’s stated purpose for the NOI was:

The Department of Public Utilities (“Department”) opens this inquiry to investigate policies that will enable Massachusetts electric distribution companies and their customers to take advantage of grid modernization opportunities.1 Specifically we will examine our policies to ensure that electric distribution companies adopt grid modernization technologies and practices in order to enhance the reliability of electricity service, reduce electricity costs, and empower customers to adopt new electricity technologies and better manage their use of electricity. The purpose of this investigation will be to solicit input from stakeholders that will guide the Department’s approach to grid modernization over the short, medium, and long term. (NOI, page 1)

The NOI goes on to list eight separate opportunities that the Department expects grid modernization to offer (See Chapter 2 for listing of those opportunities), and then lays out the following 8 “areas of inquiry:”

- Current Status of Electric Grid Infrastructure as it Relates to Grid Modernization

- Grid-Facing Technologies

- Customer-Facing Technologies

- Time-Varying Rate Design

- Costs and Benefits of Grid Modernization

- Grid Modernization Policies

- The Pace of Grid Modernization Implementation; and

- Health, Interoperability, Cyber-security, and Privacy

Under each of these areas of inquiry, the Department posed two or three questions for stakeholders to consider (See Appendix 1).  The Department also established a Grid Modernization Stakeholder Working Group to discuss “both grid-facing and customer-facing issues, including the questions posed in the NOI, and to develop recommendations to the Department.”  The Department hired the facilitation and consulting team of Raab Associates, Ltd. and Synapse Energy Economics to assist the DPU and run the stakeholder working group process.

- Kick-Off Workshop

On November 14, 2012 the Department hosted its Electric Grid Modernization Working Group Kick-Off Workshop at the Federal Reserve Bank in Boston. The Workshop was attended by over 125 stakeholders, and included the following six distinct parts:

- MA DPU Electric Grid Modernization Vision and Key Questions (by the DPU Commissioners)

- MA Utility Grid Modernization Grid- and Customer-Facing Activities & Plans (by the 4 MA utilities)

- Status of Grid Modernization Efforts in U.S. (by GE Digital Energy & Brattle Group)

- Participant/Stakeholder Discussion: Grid Modernization Vision & Key Challenges (small group facilitated discussions with report back)

- Working Group Goals, Structure and Process (by Facilitation/Consulting Team)

- Closing Remarks (by the DPU Commissioners)

During the small group facilitated discussion on grid modernization vision & key challenges, the three most mentioned opportunities/benefits from grid modernization across the twelve groups were:

1) Enhanced reliability

2) Increased opportunity for distributed generation and other new technology to enable greater customer control of their electricity

3) Develop a better regulatory framework to foster grid modernization planning and investment

The three most mentioned concerns/barriers across the 12 groups were:

1) Potential costs of grid modernization technologies, policies, & programs

2) Cost-effectiveness of grid modernization technologies, policies, & programs

3) Incentives and cost recovery for utilities related to grid modernization investments

- Stakeholder Working Group Process

In its NOI, the Department laid out its expectations and parameters of a Grid Modernization Stakeholder Working Group Process including:

- Beginning with a kick-off workshop, meeting through mid-June 2013, and filng a final report with the Department by June 19, 2013.

- Including full plenary sessions and at least two subcommittees (one focusing on grid-facing issues, and the other on customer-facing issues).

- Reaching as much agreement as possible on as many of the key grid modernization issues as possible, and identifying any such areas of agreement.

- Reporting the different views and options for those issues where agreement cannot be reached, and identifying which members support each view/option.

- Including the electric distribution companies and other interested stakeholder representatives in the Working Group process.

- Having the Department actively leading the Working Group process assisted by a facilitation and consulting team.

Following the Kick-Off Workshop the facilitation/consulting team of Raab Associates, Ltd. and Synapse Energy Economics worked with the DPU staff and Commissioners to finalize the structure, timeline, and membership of the stakeholder working group process.  The structure of the stakeholder working group, as illustrated below in Figure 1-1, was comprised of a Steering Committee and two Sub-Committees—one focused primarily on grid-facing technologies and issues and the other focused primarily on customer-facing technologies and issues  {I suggest we define customer-facing and grid-facing, in a footnote, the first time they are used.}

Define C-F vs G-F—where first used

Review/Add Caveat Language

Figure 1-1 MA Grid Modernization Stakeholder Process Structure

The Steering Committee was comprised of 26 member organizations from state government, consumer and environmental groups, the four distribution utilities and ISO New England, competitive suppliers, and representatives from a wide range of clean energy companies and organizations (see below in Table 1-1for Steering Committee Member Organizations).  The DPU staff and a representative from the MA Executive Office of Energy and Environmental Affairs participated in the Steering Committee as ex officio Members. The two subcommittees were comprised of representatives from the Steering Committee Organizations and their affiliates, as well as additional organizations not directly on the Steering Committee.  For a full listing of all the Steering Committee and Subcommittee Members and their representatives, see Appendix II

Table 1-1: Steering Committee Member Organizations

The Steering Committee had its first meeting in December 2012, and then met eight times altogether with its final meeting on June 17th of 2013.  Each of the Subcommittees met three times between January and April 2013, to pull together pertinent background information on grid-facing and customer-facing technologies and practices currently in use, as well as possible alternatives moving forward.  The Subcommittees also brainstormed potential principles and recommendations for the Steering Committee’s consideration and further development.  The Steering Committee was responsible for completing the work begun by the Subcommittees, and also had the primary responsibility for addressing the issues that cut across both customer- and grid-facing strategies—such as regulatory policies (cost-effectiveness, cost-recovery), interoperability, and cyber-security.   Figure 1-2 below shows the final constellation of meetings.

Figure I-2: Stakeholder Process Timeline and Meetings

The working group stakeholder process was supported by a website where all of the agendas, meeting summaries, stakeholder groundrules, presentations, working documents, and a substantial library of background documents are all housed.  The website also includes contact information for the members of the Steering Committee and both Subcommittees, as well as the schedule and location for all the meetings.  The website will remain live and can be accessed here.

- Overview of the Report

The remainder of this Report contains a variety of work products and recommendations from the Steering Committee.

Chapter 2 of this Report includes the goals and opportunities for grid modernization specified in the Department’s NOI, as well as additional opportunities identified by the Steering Committee.  It also includes a list of the potential barriers to grid modernization created by the current regulatory environment.

Chapter 3 includes a taxonomy of grid modernization for Massachusetts developed by the Grid-Facing Subcommittee and finalized by the Steering Committee, which includes the desired “outcomes” for grid modernization, as well as the activities, capabilities, and system enablers associated with those outcomes.  The chapter also includes definitions for each of the terms used in the taxonomy.

Chapter 4 provides a brief summary and road map of the background information assembled largely by the Customer- and Grid-Facing Subcommittees or provided by the utilities.  On the grid-facing side this background information describes Massachusetts’ utilities current grid-facing system enabling technologies.  On the customer-facing side, the background information includes descriptions of Massachusetts utilities current TVR pilot programs as well as their current metering technologies.  The customer-facing background information also includes information of the incremental capabilities (aka functionality) of a range of metering technologies, as well as the cost range for those metering technologies and related system enablers.

Chapter 5 provides the Steering Committee’s recommended principles related to over-arching, grid-facing, and customer-facing issues.  Chapter 6 delineates the Steering Committee’s recommended regulatory policies including regulatory oversight, cost-effectiveness, ratemaking and cost recovery for grid modernization investments.  Finally, in Chapter 7 the Steering Committee lays out its recommendations related to some potential next process steps for the DPU to take in this docket.

Please note that consistent with the Department’s NOI and the Steering Committee’s groundrules, any recommendations in this Report represent a consensus of all of the Steering Committee Members unless otherwise noted.  Where a consensus was not reached by all of the Steering Committee members, two or more options are presented with a description of which Members support each option.

The appendices to this Report provide a wealth of additional information, and are referenced at the appropriate juncture in the body of the Report.

### Chapter 2: Goals, Objectives, (and Barriers)

### The Goals of the Grid Modernization and the Working Group

To help establish regulatory policies and a road-map that will enable Massachusetts electric distribution companies, their customers, and other market actors to take advantage of grid modernization opportunities, both in the short-term and over the long-term.

Specifically, to ensure that Massachusetts electric distribution companies, their customers, and other market actors adopt grid modernization technologies and practices to:

- enhance the reliability of electricity services; (NOI p.1)

- reduce electricity costs; (NOI p.1)

- empower customers to better manage their use of electricity; (NOI p.1)

- develop a more efficient electricity system; (NOI p.3) and

- promote clean energy resources. (NOI p.3)

Note that there may be tradeoffs in attempting to meet all these goals simultaneously, e.g., tradeoffs between enhanced reliability and reduced electricity costs.

- Grid Modernization Opportunities

As specified in the NOI, Grid modernization opportunities include the following:

Reduce the frequency and duration of customer outages through automated, remote-controlled grid devices and real-time communication to the distribution companies of outages and infrastructure failures;

provide customers with the information, price structures, technologies, incentives, and tools that can empower them to use electricity more efficiently and reduce their individual energy costs;

improve the operational efficiency of the grid, particularly during peak times when the grid is most stressed and electricity is most expensive;

reduce transmission and distribution system operation, maintenance, and construction costs by reducing electricity demands at times of system peaks;

reduce New England wholesale and retail electricity costs by reducing electricity demand at times of system peaks;

facilitate the integration of distributed generation resources and new technologies, such as renewable energy technologies, combined heat and power, energy storage, fuel cells, and electric vehicles;

enhance the success of the Massachusetts energy efficiency and other clean energy initiatives, through the use of marketing campaigns and the advancement of technologies that both reduce peak demand and save energy;

reduce greenhouse gas emissions from the electric sector by: increasing the operational efficiency of the grid, reducing the need for the high emissions generating plants that run primarily during times of peak electricity demand;  empowering customers to use energy more efficiently; and facilitating the integration of demand resources into the grid;

harden the grid to adapt to climate change and related extreme weather events; and

enhance cyber security and protect against other,  non-weather-related risks to the electric grid.

Preventing outages

Remove 9-11 and add fn referencing Chapters 3 & 5

### Barriers to Implementing Grid Modernization under Current Regulatory Practices

- Utility financial interests and incentives may not be well aligned with the goal of taking full advantage of grid modernization opportunities.

- Current regulatory policies may not provide utilities with sufficient direction regarding grid modernization investments.  This is particularly true with regard to regulatory review, cost recovery, and time varying rate policies.

- Assessing the costs and benefits of grid modernization is challenging, and the framework has not been defined.  Some of the benefits are difficult to quantify and monetize, and some of the benefits and costs are experienced differently by different stakeholders.  Also, a large portion of the costs may be experienced in the short-term while most of the benefits may not be experienced until well into the future.

- Balancing the benefits of increased reliability against increased costs is complicated given the absence of  clear established cost-effectiveness methodologies

- Some customers may be at risk of experiencing higher costs without experiencing comparable benefits, or having unaffordable rates or bills.

- The scope of the issues is broad and complex.  There are many overlapping and inter-dependent issues to understand and assess.  There are many different actors and stakeholders involved, many of whom do not coordinate on these issues.

- The pace of technological change, and the potential for technological obsolescence, increases the complexity of the issues.

- In order to obtain some of the benefits of grid modernization it will be important to engage customers: to respond to time-varying rates, to install demand response and efficiency technologies, and to install distributed generation and storage technologies.  Customer engagement may be uncertain, may vary significantly across customers, and may be highly dependent upon the types of technologies and programs offered them.

- AG and NSTAR have redlines—will send to JDR

Note to Steering Committee: The Attorney General’s Office proposes extensive revisions to these barriers and numerous additional barriers to be added to this list—See HERE

### Chapter 3: Grid Modernization Taxonomy

### (Add note somewhere about not all DG is same—i.e., intermittent—recognize in places chapter).

- Taxonomy

One key objective of the Department’s inquiry into grid modernization is to consider the range of capabilities that collectively define a modern distribution network.  To that end, the Department posed the following question for the Working Group:  “What are the key grid-facing technologies and practices that the distribution companies should be implementing to maximize the reliability and the efficiency of the grid?”

To answer this question, the Working Group set out to develop a grid modernization taxonomy that captures those capabilities or activities most relevant to Massachusetts’ distribution companies.  The taxonomy is included below in Figure 3-1. This effort drew upon a variety of resources, including the distribution companies’ investment plans and 3rd-party reports, such as the US Department of Energy’s assessments of Smart Grid Investment Grant projects funded by the Recovery Act of 2009.

The Working Group initially identified 14 core capabilities that could be deployed by Massachusetts distribution companies to support the grid modernization goals and opportunities highlighted in the Department’s Notice.  See below for a complete list of capabilities and associated definitions.  These capabilities were then grouped according to their primary purpose – or “Outcome” – to include the following:

- Reduce Impact of Outages.  Measures that improve a utility’s ability to rapidly detect and respond to fault conditions on the network to reduce the duration and number of customers affected by an outage.

- Optimize Demand. Measures that enable load to be more fully utilized as a resource for system planning and operations.

- Integrate Distributed Resources.  Measures that enable a utility to safely and efficiently connect distributed generation and other variable resources to its network.  These measures may also support utilization of such resources for system planning and operations.

- Workforce and Asset Management.  Measures that improve a utility’s ability to monitor the location, performance and utilization of equipment and crews across its network.

In addition to the grid modernization capabilities and associated outcomes referenced above, the Working Group also recognized the Department’s desire to consider measures that could improve service reliability during storm events.  These measures include a variety of activities, such as vegetation management and system hardening, which have long been utilized by distribution companies and are not unique to grid modernization initiatives.  Accordingly, the Working Group created a separate outcome – “Prevent Outages” - to ensure the Department fully considers the range of utility investments that can support the goals and objectives included in the Notice:

- Prevent Outages.  Measures that improve a utility’s ability to withstand severe weather events or other natural disturbances while maintaining service to customers.

| Figure 3-1: Massachusetts Grid Modernization Taxonomy |
| --- |
| Outcomes | Capabilities/Activities* | Network Systems Enablers |
| Reduce Impact of Outages | Fault Detection, Isolation and Restoration | • Communications • SCADA / DMS • OMS • GIS |
|  | Automated Feeder Reconfiguration |  |
|  | Intentional Islanding |  |
| Optimize Demand | Volt/VAR Control, Conservation Voltage Reduction | • Communications • SCADA / DMS • Metering (enhanced AMR or AMI) • Meter Data Management System • Billing System |
|  | Load Control |  |
|  | HAN Capability |  |
|  | Advanced Load Forecasting |  |
|  | Time Varying Rates |  |
| Integrate Distributed Resources | Voltage Regulation | • Communications • SCADA / DMS |
|  | Load Leveling and Shifting |  |
|  | Remote Connect / Disconnect |  |
| Workforce and Asset Management | Mobile Workforce Management | • Communications • OMS • GIS |
|  | Mobile GIS |  |
|  | Remote Monitoring and Diagnostics |  |
| Prevent Outages | System Hardening |  |
|  | Aging Infrastructure Replacement |  |
|  | Vegetation Management |  |
| * Note: Capabilities/Activities are connected here to their primary outcomes. Some Capabilities/Activities can also help facilitate other outcomes (see definitions) |

The Working Group also sought to capture the core systems (e.g., metering) and enterprise software applications (e.g., outage management system) that underpin utility operations and support implementation of the various grid modernization capabilities.  For example, a distribution company may require both Supervisory Control and Data Acquisition (SCADA) capabilities and a Distribution Management System to implement automated feeder reconfiguration.  These systems and software applications – collectively referred to as “Network System Enablers” – are included in the taxonomy alongside the relevant grid modernization capabilities.

Finally, whereas the Notice draws a distinction between “Grid-Facing Technologies” (e.g., those technologies that improve network performance) and “Customer-Facing Technologies” (e.g., those technologies that enable greater customer engagement,) the Working Group sought to capture both categories within the taxonomy.  This approach reflects the Working Group’s assessment that many of the Department’s goals and opportunities could best be pursued through a combination of grid-facing and customer-facing technologies.  In fact, grid modernization investments around the country often feature the integration of grid-facing and customer-facing technologies to achieve desired outcomes.

- Definitions—Outcomes & Capabilities/Activities

Outcome 1: Reduce Impact of Outages

- Fault Detection, Isolation, Restoration (FDIR)

- Automated Feeder Reconfiguration

- Intentional Islanding

Fault Detection, Isolation, Restoration (FDIR)

FDIR is a collective term for the process of identifying the location of a fault condition on the system through the use of current and voltage monitoring devices; isolating the fault between two devices adjacent to the fault (e.g., opening two switches on either side of the fault); and, restoring service to the customers in the unaffected areas (i.e., not in the isolated section where the fault occurred).  Next generation systems may use pre-programmed restoration scenarios that rapidly respond to equipment load ratings and real-time system load measurements.   Such advanced applications require a robust, scalable two-way communications network.   Although FDIR is sometimes referred to as a “self-healing grid,” it is important to note that the fault is not corrected until utility workers correct the cause of the fault – such as a downed wire - and return the affected section back into service.

Automated Feeder Reconfiguration

Automated feeder reconfiguration refers to the constant monitoring of the status of the distribution system (e.g. voltage and load conditions) and the ability of the system to respond by using alternate sources of supply to avoid an overload situation.  This technology is particularly valuable when used in heavily loaded areas where it is possible to damage equipment and create outages because the load the system is called upon to serve is greater than the capacity of the equipment to deliver electricity to load.  Next generation FDIR systems can also support automated feeder reconfiguration.

Intentional Islanding (microgrid control)

An island condition is a situation where one or more generators are feeding an isolated section of the utility grid.  Intentional islanding control technology is used to isolate a specified section of the utility grid from the rest of the grid (and its supply sources) such that the section is fed solely from local generation. This technology is also used to promote seamless reconnection of the islanded section to the larger grid.  An unintentional island condition - in which a generator feeds into a fault on the grid - can pose a significant safety risk to utility workers and the general public because a line may remain energized without the utility’s knowledge.

Outcome 2: Optimize Demand

- Integrated Volt/VAR Control, Conservation Voltage Reduction

- Utility/3rd party Demand Response Programs (load control)

- Home Area Network Communications Capability

- Advanced Load Forecasting

- Time Varying Pricing

Integrated Volt/VAR Control

Volt/VAR management is the term for technology that measures voltage and power factor on the distribution system and corrects imbalances to minimize power quality disturbances and limit line losses of the system.  Next generation systems may include centralized processing with the ability to perform feeder-specific, substation-specific and area/region optimization.  Future applications may also incorporate distributed solar photovoltaic (PV) cells and other resources through the use of controllable inverters for VAR support.

Conservation Voltage Reduction

Conservation voltage reduction refers to the active management of distribution voltage within a tight bandwidth to reduce energy consumptions and peak demand.   Next generation systems may include centralized processing with the ability to perform feeder-specific, substation-specific and area/region optimization.

Utility/3rd party Demand Response Programs (load control)

A load control demand response program is one where a signal is sent to a customer device (e.g., programmable controllable thermostats, water heaters, air conditioners) instructing that device to reduce electricity consumption.  A two-way signal allows the sender of the signal to confirm whether the device has responded or the customer has decided to over-ride the signal.  A load control program may be implemented by a utility or third party.

Home Area Network Communications Capability

A home area network (HAN) provides customers with access to usage data in more frequent time increments.  Retail pricing information may also be communicated to customers through a HAN.  For example, a customer may program controls in the home to increase the set-point on the air conditioner in response to a critical peak signal sent from the utility to the meter.   In order to connect a HAN to the customer’s meter, the meter must have a HAN communication module installed and activated.  A HAN may also be installed by a customer for a variety of energy management purposes without requiring a connection to the meter.   This technology can help customers more effectively manage energy usage.

Advanced Load Forecasting

Advanced load forecasting is the process of making more accurate and discrete predictions about future system loads based on customer usage data.  Improved forecasts enable operators to better schedule and dispatch generation.   Such forecasting may also include distributed generation and other resources, including demand response and electric vehicles.

Time Varying Rates

Time varying rates (also known as time of use rate structures) changes the price customers pay based on time of day such that the rate is higher during periods of peak demand.  At the most extreme, customers can pay a different price every hour based on wholesale market prices.  In more traditional pricing structures, customers pay a different rate for a given number of hours every weekday, coincident with the time of system peak demand.  Another form of time varying rates is a critical peak price or peak-time rebate that is typically implemented for a limited number of critical peak events when the system is constrained due to very high demand.  A critical peak pricing program entails a higher price during critical peak periods, whereas a peak-time rebate provides customers with a credit or rebate for reducing usage during the same critical peak periods.  In order to implement time varied rates structures, a customer must have a meter that measures usage in the buckets corresponding to the price period (e.g. a meter must record usage in hourly increments in order to enable an hourly price).  Assuming the metering infrastructure is in place, a time varying rate structure can be offered by a utility (assuming they have an appropriate tariff rate) or a third party supplier.

Outcome 3: Integrate Distributed Resources

- Voltage Regulation

- Load leveling and shifting  (Intentional 2-way power flow)

- Remote Distributed Generation Connect/Disconnect & Monitor

Voltage Regulation

Advanced voltage regulation technologies may be used by utilities to manage fluctuations in voltage caused by large amounts of distributed generation relative to the amount of load in a given section of the utility grid.  This technology may make it possible for more distributed generation to be sited in an area of the grid without causing power quality disturbances to other customers.

Load Leveling and Shifting (Intentional 2-way power flow)

Load leveling and shifting alters the pattern of demand to more closely match output from non-dispatchable, intermittent distributed resources such as solar PV.     This technology may help mitigate reverse power flows and localized disturbances typically associated with high levels of intermittent distributed generation.   Advanced applications may enable utilities to use distributed resources for system balancing operations.  Such applications may include:  on-site battery storage for active energy support; and voltage “ride through” capabilities that enable distributed generators to operate uninterrupted though grid disturbances.

Remote Distributed Generation Connect/Disconnect & Monitor

Remote disconnect is technology that enables a utility to use automation to remotely disconnect a distributed generation facility from the distribution system to protect safety or maintain service to other customers.

Outcome 4: Workforce and Asset Management

- Mobile Workforce Management Systems

- Mobile GIS Platforms

- Remote Monitoring & Diagnostics (equipment  and system conditions)

Mobile Workforce Management Systems

Mobile workforce management systems provide utility field technicians with mobile access to asset records and other critical information in an effort to support more timely and accurate assessments and services. These systems may also be used to enable supervisors to more efficiently plan, dispatch and monitor field services across a utility’s service area.

Mobile Geographic Information Systems Platforms

A Geospatial Information System (GIS) is the utility’s system of record for the as-built transmission and distribution network, providing a spatial view of assets and connectivity.   Mobile GIS platforms allow utility technicians to download selected portions of the database to a laptop or other personal device for use in the field.

Remote Monitoring & Diagnostics (equipment conditions)

Remote monitoring and diagnostics enable utilities to collect more frequent data on the status of system equipment (e.g., oil samples from substation transformers).  A utility may use these data to identify concerns (e.g., abnormal equipment performance), optimize day-to-day asset utilization and support condition-based maintenance programs.

Remote Monitoring & Diagnostics (system conditions)

Remote monitoring and diagnostics for system conditions consists of data collected via SCADA systems, to include voltage, loading, current, power factor and frequency.  A utility may use these data to feed planning models, support advanced load forecasting and enable analytics that can improve and optimize system planning and operations.

Outcome 5: Prevent Outages

- System Hardening

- Aging Infrastructure Replacement

- Vegetation Management

System Hardening

System hardening refers to measures that are intended to make a utility’s assets and customers better able to withstand a major storm or other catastrophic event.  System hardening measures may include:  elevated substations; equipment hardening; and distributed generation/storage.

Elevated Substations

Elevated substations are raised above ground-level to mitigate the risk of flooding during storm surges and other weather-related events.  Such flooding can damage utility equipment and contribute to prolonged outages.  Alternative approaches include relocating substations to less flood-prone areas or installing protective measures, such as pumps and levees.

Equipment Hardening

Equipment hardening refers to the replacement of existing utility infrastructure with equipment manufactured to more robust design standards and better able to withstand wind, water, ice and other elements.  Examples include:  installation of higher class poles and submersible equipment; installation of equipment with enhanced lightening protection; and replacement of bare wire with covered wire.

Distributed Generation/Storage

Distributed generation and storage include those resources located close to load centers, such as neighborhoods, offices parks and industrial facilities.  Distributed resources can harden the grid by providing uninterrupted power to critical facilities and supporting expedited power restoration during unplanned outages.

Aging Infrastructure Replacement

Replacement of infrastructure that is prone to failure due to age with equipment that meets current design specifications.  An example is the replacement of paper insulated lead cable with Ethyl-Propylene Rubber (EPR) insulated cable.

Vegetation Management

Vegetation management entails a series of utility-sponsored measures to reduce the frequency of faults caused by trees and other vegetation coming into contact with overhead power lines.  Vegetation management may include:   tree pruning and removal; vegetation control around poles, substations, and other electric facilities; manual, mechanical, or chemical control of vegetation along rights-of-way; tree inventories; and other related activities.

- Network Systems Enablers

- Distribution Management System (DMS)/SCADA

- Outage Management System (OMS)

- Geospatial Information System (GIS)

- Billing System

- Metering System

- Meter Data Management System (MDMS)

- Communication Systems (Fiber, Microwave, Radio, etc.)

Distribution Management System (DMS)/SCADA

A DMS is a computer system used by a distribution utility to receive data from devices deployed at various locations on the network that are equipped with supervisory control and data acquisition (SCADA) technology to provide operators with a real-time picture of the status of the distribution system.  Using the DMS, operators can control devices to isolate faults and restore unaffected sections of the system.  Advanced capabilities of the DMS enable automatic operations in response to current conditions (e.g., fault conditions, volt/VAR optimization and feeder reconfiguration in response to load).  Although it is often assumed that a DMS will be deployed on a system-wide basis, it can also work at a substation or feeder level when appropriate.

Outage Management System (OMS)

An OMS is a computer system used by a distribution utility to collect data on the location of outages on the system and the number of customers affected.  Customer calls reporting loss of service are represented in the OMS which then uses software-based rules to identify the likely source location for the outage.  In larger scale events with multiple simultaneous outages, the OMS is used by the utility to prioritize restoration efforts by focusing on outages affecting the greatest number of customers.  As customers are restored, the OMS is updated based on field reports ensuring an accurate representation of remaining problems.  A utility’s OMS may be integrated with a DMS and/or AMR/AMI system.

Geospatial Information System (GIS)

A GIS is a computer system that provides a graphical representation of the distribution system.  The GIS system for utilities may include the asset location of major utility equipment such as substations, switches, transformers and poles.  Detailed asset information (manufacturer, installation date, size, etc.) is also stored along with the location data.  The GIS is typically the single source or repository of asset information that feeds system planning models, system operations models, outage management models and work-order/financial systems.  Advanced features may include system mapping and design modules.  A utility may also integrate its GIS and OMS systems to allow for reported outages to be mapped on the GIS system for an accurate location of the device (e.g. fuse or switch) that the OMS calculates as most likely to be at the source of the outage.

Billing System

A utility billing system creates a customer bill by applying a customer’s electricity usage for a given period to the customer’s rate structure.  The billing system typically works together with a customer information system as the system of record documenting address, contact information, payment history and special status (e.g., life support customer).

Metering System

The utility metering system is the collective term for the customer meters that measure electricity usage and the communications method used to transmit usage data back to a meter data management system.  Electricity meters measure usage for a given period of time from every 5 minutes to monthly and in some cases measure peak demand for a period.  The communications infrastructure may range from manual reading on a hand-held device downloaded at a central location to two-way cellular or radio signals sent every 15 minutes that will support advanced features such as dynamic rate structures, demand response programs and outage management.    A utility may integrate its metering system and OMS to allow for outage data to be recorded in the OMS based on the status of each customer’s meter rather than as a result of customer phone calls.

Meter Data Management System (MDMS)

An MDMS is a computer system that takes raw usage data and processes it into a form that can be used for billing.  For instance, an MDMS can take hourly usage data for a month and categorize the hours into on and off-peak periods that can be sent to the billing system to create a time of use bill.  In some instances, a utility’s billing system is capable of serving as its MDMS as well.  An MDMS also facilitates the delivery of advanced metering features, such as dynamic rates, demand response programs and outage management.

Communications Systems (Fiber, Microwave, Radio, etc.)

Communication systems are used in many utility operations.  Voice communication systems (e.g.,  radio or cellular) enable the work force to communicate on a real-time basis.  Data communication is used for collecting information on distribution system status from SCADA devices and metering systems to transmit usage data from meters to an MDMS.  Data communication is also used as a means to remotely control devices in the field.  Key factors for selecting next generation communications systems include   bandwidth, service quality and scalability to the customer level, each of which is important to achieving a safe, secure, reliable and flexible communications network.

Chapter 4: Background Information

See Chapter 4 in separate document

Chapter 5:  Principles and Recommendations

The following includes the recommended principles and recommendations of the Steering Committee related to a wide range of grid modernization topics (including planning & investment; risk & reward; cost recovery; cyber-security; interoperability; metering; and time varying rates).  [Note: This chapter is currently in DRAFT form—ultimately we will add the following language—“The principles and recommendations in this chapter represent a consensus of the Steering Committee unless otherwise noted.  Where a consensus does not exist on a particular topic, two or more alternatives are presented with the supporting Steering Committee members noted.]

- Grid Modernization Responsibilities:

- Grid modernization is a core responsibility of the DPU and Massachusetts electric distribution companies.

  - DPU’s role is to set up the policy and regulatory framework; identify outcomes (possibly including specific targets and goals); and oversee implementation.

  - Utilities role is to develop plans to meet the outcomes within the policy and regulatory framework, and to effectively implement their plans

- Planning & Investment:

- Distribution company investments in grid modernization capabilities, activities, and enablers should be dictated by the following:

  - Desired outcomes, as ordered by the DPU;

  - Existing enabling technologies already in place on their network;

  - Geographic and demographic  characteristics of each utilities’ service territory;

  - Cost-effectiveness of alternative capabilities, activities, enablers to meet the desired  outcome; and

  - Minimizing ratepayer impacts [over the appropriate timeframes].

- DPU should issue an order that lays out the desired outcomes (e.g., optimize demand, integrate demand resources, etc. ) of the modernized grid and the appropriate regulatory policy framework

- Utilities should then file company-specific plans taking into account but not limited to the capabilities, activities, and enablers (shown in the Taxonomy chart in Chapter 3)

- Utility plans would need to account for long-term, multi-year efforts, and should right size equipment to take into account expected needs and desired outcomes over the planning horizon

- Utility plans need to be updated as technology evolves

- There should be a process for stakeholder input into utilities grid modernization planning, including but not limited to the identification of new technologies and other related investments

- Utilities should consider the results from the ongoing Massachusetts smart grid pilots and other relevant pilot programs when evaluating potential grid modernization investments.

  - Some capabilities, activities, and enablers would benefit from additional pilot programs

- Any new grid modernization process should consider how it interacts with existing related DPU processes and procedures, e.g., annual reliability reports; SQM; and DG Interconnection.

- Risk & Reward/Cost Recovery:

- Capital investments in new and innovative capabilities, activities, and enablers are inherently more risky than investments in traditional assets.  Although distribution companies currently bear the downside risk of disallowance if these investments underperform, they should also have an opportunity to capture or share upside risk [benefits?] when investments outperform expectations.  The principle of risk symmetry is essential to promoting innovation.

- Like any other investment, utilities must be held accountable for estimated costs and benefits of grid facing investments.

- The prudent, used, and useful standard should be used for grid modernization investments

- Cost Allocation:

- Grid modernization investments should be justified as beneficial to the customers that will pay for the costs of such investment through distribution service charges, and cost allocation and assignment principles should apply to determine cost responsibility for investments.

- Cyber-Security and Privacy:

- Grid modernization raises new, complex, and potentially dangerous issues relating to security of the distribution grid, as well as customer-specific information.  The DPU should require the utilities to develop and seek approval of Cyber-Security plans, policies, and protocols.  Utilities should have reporting requirements to demonstrate compliance with protocols.  (Note: Portion of the plans may require confidential treatment to ensure system security.)

- DPU should consider opening up a separate cyber-security proceeding, before utilities submit company-specific cyber-security plans

- Regarding Cyber-Security and Metering

  - Metering equipment, systems, & data should be secure, reliable, & accurate

  - Option 1:  Privacy & cyber-security should be considered and policies adopted to address these issues prior to approval and implementation of new advanced metering and wireless communication systems.   (Plan in place before metering is installed—as either part of metering proceeding or contemporaneoulsy

  - Option 2: Privacy & Cyber-Security should be considered throughout design and implementation of any new metering deployment

- Interoperability:

- Cyber-security, privacy, and inter-operability are key considerations and key elements of any grid modernization plan filed by the distribution company…

- The utilities should be required to meet interoperability standards that are consistent with industry standards and subject to Department review and approval

- MA utilities should adopt the same standards where possible; and could potentially develop a common set of standards as follow-up to this proceeding.

- Interoperability should be a key consideration in the evaluation of grid modernization technology and investment options to accommodate the evolution of nascent technologies, and to guard against near term obsolescence.

- Investment in meters and related customer-facing technologies should support a myriad of current and potential future customer- and grid-facing functions

- Cost-Effectiveness:

- Other Potential C/E Options Discussed at 5/22 Meeting

- Any utility filing for pre-approval of a grid modernization investment must include a full and public airing of the relevant benefits and costs

- For a grid modernization investment to be pre-approved the benefits should outweigh the cost

- The cost-effectiveness framework for grid modernization investments should require the quantification of all applicable costs and benefits to the greatest extent possible

- Option 1: Cost-effectiveness analysis should include the whole range of costs and benefits,  and could include both quantifiable and qualitative factors

- Option 2:  Distribution company investments in capabilities, activities, and enablers must be cost-effective while maintaining a safe and stable transmission & distribution system, but that determination of cost-effectiveness should be made on the basis of a more comprehensive set of potential benefits – including, but not limited to:

- Reliability improvements as measured by Value of Lost Load

- Societal and customer benefits associated with integrating higher levels of distributed resources

- Other??

- Option 3: Grid facing investments that utilities choose to make must be demonstrated to have proven benefits and must be cost effective technologies.  Like any other investment, utilities must be held accountable for estimated costs and benefits of grid facing investments.

- Option 4: Consider a relative cost-effectiveness standard (e.g.., comparing competing investments  against each other) rather than an absolute cost-effectiveness standard (e.g., must have a benefit/cost ratio of 1.0 or greater)

- Option 5: Safe & reliable service within reasonable budget

- Metering:

- Metering Functionality

  - MA utilities path forward for metering should be dictated by:

    - The goals and desired functionality and outcomes  [Note: See metering functionality matrix for depiction of the range of meter-related functionality and how it relates to different metering technologies and could help to enable various activities.]

    - the starting point of each utility (i.e., their existing metering infrastructure)

    - analysis of alternative investments/technologies and their relative costs and benefits

- Customer Choice

- Any metering proposal and associated data-related infrastructure must give customers the power to choose – i.e., to make informed choices regarding energy product options (such as fixed and/or time-based prices for energy purchases, direct load control, demand response, energy generation, and energy storage including electric vehicles).

- Individual electricity customer usage information should be made available to the customer, or as directed by the customer, in a secure, convenient and timely manner to a 3rd party provider or vendor.

- Opting Out of Advanced/Enhanced Meters:

  - Option 1: Customers should be able to opt-out of metering choices and/or metering-related functionality; however, those customers should cover any additional costs associated with their opting out

  - Option 2: Customers should not have the option to opt out of advanced/enhanced meters

- Consumer Protections

  - Any metering investments/changes should be made consistent with pre-existing consumer protections which should remain in place

  - Advanced meter investments (either AMI or enhanced AMR) should not result in reduced levels of consumer protections, especially relating to the implementation of billing, collection, payment plans, and dispute rights reflected in current DPU and utility policies and programs.

  - Remote Disconnect/Connect (options)

- Shut-offs Option 1: Shut-offs for nonpayment should not occur remotely.

- Shut-offs Option 2: If remote connections/disconnections are allowed, remote disconnections should only occur after all the current, regular, and required due process procedures have been followed

- Remote On/Off Functionality Option 1: Remote turn on and turn off functionality may have additional metering costs which should be considered in an analysis of advanced or smart meter deployment.

- Remote On/Off Functionality Option 2: Remote turn on and turn off meter functionality has numerous benefits that should be considered.

- Remote On/Off Functionality Option 3: The remote disconnection and connection chip or functionality of smart meters should not be installed for cost, consumer protection and cyber-security reasons.

- Utilities should continue to develop targeted collections programs and policies, many of which may reduce the incidence of disconnection for nonpayment, but any such initiatives should conform to existing consumer protection policies and programs.

- No third party should be allowed to access the utility’s meter to remotely disconnect or reconnect the meter.  Any third party or energy supplier should be required to implement metering actions through the distribution utility and demonstrate compliance with the same consumer protections as required by the distribution utility.

- Integration with Communication Systems

  - Consider existing telecom networks when considering communication options for the metering and distribution systems as part of the cost effectiveness and security and reliability analyses.

- Cost-Effectiveness of Meter Investments (and related communications & data management infrastructure)

  - Option 1: Advanced meter investments (either AMI or enhanced AMR) must be cost-effective

  - Option 2: All metering proposals, including retention of the current metering infrastructure or replacement with more advanced metering infrastructure, must accomplish the Department’s energy policy goals – e.g., reduce electricity costs, enhance reliability, improve the environment, expand competitive retail services – in a cost-effective manner

  - Option 3: Advanced meter investments (either AMI or enhanced AMR) should be evaluated using a cost-effectiveness standard. This standard should require a demonstration that tangible short and long-term benefits, of well-defined investments, outweigh the proposed costs. The cost-effectiveness standard should require an evaluation of possible alternatives that could deliver the same benefits at a reduced cost

  - Option 4: Any proposal to replace the current metering system and install Advanced Metering Infrastructure (metering, communication systems, and meter data management systems) must demonstrate that the customer benefits will exceed the incremental costs.  This principle is particularly important due to the metering systems installed by Massachusetts distribution utilities that already reflect a high level of operational efficiency.

    - Investments in advanced metering systems should be justified as beneficial to the customers that will pay for the costs of such investment through distribution service or base rates and through default service (generation supply price).  Benefits that may accrue to third party vendors or that enable services that may be offered by third parties should not drive such investment decisions unless the third parties are required to assist in payment for these incremental costs.

    - In making an advanced metering proposal, utilities should consider and evaluate all options that may result in more effective use of the current metering system or more modest investments that would achieve agreed upon objectives at lower cost, such as direct load control.

  - Option 1: Critically evaluate goals & aspirations for TVR and C-F techs in context of facts as foundation for policy—don’t make policy on theoretical benefits, opportunities, & goals.  At a minimum, the ongoing Massachusetts smart grid pilots should be evaluated prior to making assumptions about the costs and benefits of significant additional costs for advanced metering and communication systems.  [Other Subcommittee members concerned about the “prior to” language.]

  - Option 2: Critically evaluate goals & aspirations for TVR and C-F techs in context of facts and likely future scenarios as foundation for policy—don’t make policy on unfounded benefits, opportunities, & goals

- Other Metering Principles

  - Performance metrics should be established to measure the metering system’s reliability, accuracy, and security.

- Time Varying Rates (TVR):

- Foundational

  - Rates should be cost based

  - Prudent, used, and useful costs associated with time varying rates should be recoverable

  - TVR should be done in competitively neutral manner—not undermining competitive retail markets

  - Department should open up a separate procedure focused on TVR

- Coverage

  - Customer Classes

    - TVR should be available in all customer rate classes—although types of TVR may vary among rate classes

  - Distribution rates vs. supply/energy-side vs. both?

    - Option 1:  When designing a time-varying rate option to achieve applicable peak load reduction or demand response objectives, distribution utilities should focus primarily on the supply side of the electricity bill.

    - Option 2: TVR should be for both distribution and supply rates.

- Type of Time Varying Rates

  - Option 1: Evaluate the range of TVR options—seeking the best option for each customer class.

  - Option 2:  When considering options for TVR for distribution utilities, the DPU should give priority to peak time rebate programs.

- Opt In vs. Opt Out vs. Mandatory Time Varying Rates

  - Option 1: The default retail pricing option should be based on the same cost-effectiveness analysis framework as that used to determine metering proposal cost-effectiveness.  This would include policies regarding opt-in versus mandatory [aka opt-out to third party supplier] of the default retail price option.

  - Option 2:  Time Varying Rates must not be mandatory; consumers should be allowed to opt-in to additional TVR options

  - Option 3: TVR rates should be mandatory for large C/I customers; opt in only for low income customers; and opt out for non-low income residential customers and small commercial customers

  - Option 4: TVR for residential and small C&I customers (supply not T&D rates)  should not be offered by utilities but only by 3rd party suppliers on a voluntary opt in basis

- Evaluating Options

  - Analysis of pilots, existing TOU rates, and market research should be conducted to evaluate customer interests, concerns, and understanding prior to any TVR deployment.

  - The decision to pursue time varying rates needs to be evaluated in terms of the life-cycle costs and benefits produced over time, and should include costs associated with engaging and educating customers

  - Any analysis of costs associated to offer time-varying rates by distribution utilities should evaluate potential bill impacts for each option offered compared to the standard or default rate.

  - In order to enable time varying rates, all technology options should be explored and the focus should be on technologies that provide utilities greater flexibility at a lower cost.

  - Options that include rebates should clearly identify the source to pay those rebates and the proposal should be cost-effective

- Interface Between TVR and Markets

  - TVR enabled by 2-way communication should support the Commonwealth’s commitment to competitive wholesale & retail markets.

  - Grid modernization should improve connection between wholesale and retail markets

- Customer Education Around TVR

  - Commit resources within rates to educate and engage customers on TVR

  - Educate and engage customers for purpose of controlling energy use and support state’s clean energy goals

- Other TVR Related Principles/Recommendations

  - The current policy to ensure stable default service for residential and small commercial customers should be continued.

  - New rate structures and information from advanced metering should foster customer education, behavioral changes and participation in energy efficiency and demand response programs.

  - The Department’s AMI & TVR policies should support the integration of smart appliances. The Department should support policies/legislation for appliance efficiency standards that includes a consideration of the customer and societal benefits of grid connectivity or smartness.

### Chapter 6: Regulatory Policies

TO BE ADDED BY TIM AFTER MAY 14TH OR MAY 22ND MEETINGS

Chapter 7: DPU Process Going Forward

TO BE ADDED TO MAY 22ND AGENDA AND THEN ADDED TO THIS DOCUMENT AFTERWARDS

Appendix 1: Massachusetts Grid Modernization:

## Summary of Questions from the NOI

#### Current Status of Electric Grid Infrastructure as it Relates to Grid Modernization

What grid modernization technologies and practices has each electric distribution company already implemented, and what plans does each company have for introducing additional technologies and practices?

To what extent does each distribution company’s recent investments in grid modernization, including advanced meters (e.g., Automated Meter Reading (“AMR”), Advanced Metering Infrastructure (“AMI”)), affect decisions about future investment in grid modernization?

What role do existing Department regulations, policies and practices play in encouraging or discouraging future investments in grid modernization infrastructure?

#### Grid-Facing Technologies

What are the key grid-facing technologies and practices that the distribution companies should be implementing to maximize the reliability and the efficiency of the grid?

How do grid-facing technologies and practices overlap with customer-facing technologies (e.g., advanced meters and communications systems) and practices, and to what extent do they need to be coordinated?

#### Customer-Facing Technologies

How can customer-facing technologies, practices, and strategies be used in conjunction with time-varying rate design to (1) enable customers to manage their electric usage most efficiently and enable maximum customer cost savings; and (2) integrate resources such as distributed generation, electricity storage devices, and electric vehicles?

What are the appropriate roles for the Department, distribution companies, and stakeholders in identifying customer-facing technologies to achieve these goals?

How should the Department and other stakeholders ensure an open and robust market for third-party customer-facing technology providers and ensure adequate consumer protection?

#### Time-Varying Rate Design

Which time-varying rate designs (i.e., time-of-use rates, peak-time rebates, critical peak pricing, real-time pricing) are most appropriate for Massachusetts customers, and should this vary by customer class and/or service territory?

What factors should the Department consider in applying time-varying rate designs to basic service customers, and what impact might the application of these rate designs have on the competitive retail market?

Should time-varying rate designs be mandatory, opt in, or opt out, and should designs vary by customer class?

#### Costs and Benefits of Grid Modernization

What is the appropriate framework to evaluate the cost-effectiveness of grid modernization technologies and practices, including grid-facing technologies, customer-facing technologies, advanced meters, and time-varying rate designs?

How should the Department value hard-to-quantify impacts such as improved reliability, increased customer choice, and reduced environmental impacts?

#### Grid Modernization Policies

What role do existing Department regulations and policies play in encouraging or discouraging future grid modernization initiatives?

What mechanism(s) should be considered for cost recovery of grid modernization investments?

#### The Pace of Grid Modernization Implementation

How should electric distribution companies and the Department determine the appropriate sequencing and timing for implementing various grid modernization technologies and practices?

To what extent, if at all, can and should distribution companies implement time-varying rate designs in advance of full-scale deployment of enabling technologies?

#### Health, Interoperability, Cybersecurity, and Privacy

What steps should the Department take to address the health concerns associated with grid modernization that have been raised in a few other areas of the country?

What steps should the Department take to promote open, interoperable grid modernization technologies?

What steps should the Department take to address cybersecurity and privacy concerns associated with grid modernization?

| Appendix 2: |
| --- |
| MA DPU Electric Grid Modernization Committee Reps and Alternates |
| Organization | Steering Committee Reps | Steering Committee Alternates | Customer-Facing Sub Reps | Customer-Facing Sub Alternates | Grid-Facing Subcom Reps | Grid-Facing Subcom Alternates |
| Bloom Energy & ClearEdge Power (Fuel Cells) | Lisa Ward (CEP) | Charlie Fox (Bloom) | Lisa Ward | Charlie Fox | Lisa Ward | Charlie Fox |
| ChargePoint (EV/Charging) | Colleen Quinn | Scott Miller | Colleen Quinn | Scott Miller | n/a | n/a |
| Cape Light Compact | Joe Soares | Briana Kane | Briana Kane | Rebecca Zachas* | Joe Soares | Rebecca Zachas |
| CLF | Shanna Cleveland | Seth Kaplan | n/a | n/a | Shanna Cleveland | Seth Kaplan |
| Constellation | Daniel Allegretti | Jeanne Dworetzky | Daniel Allegretti | Brett Feldman | Daniel Allegretti | Brett Feldman |
| CSG (EE) | Pat Stanton | Joe Fiori | Pat Stanton | Joe Fiori | n/a | n/a |
| Direct Energy | Marc Hanks | Chris Kallaher | Marc Hanks | Chris Kallaher | n/a | n/a |
| ESA & Ambri (Storage) | Katharine Hamilton (ESA) | Kristin Brief (Ambri) | n/a | n/a | Katharine Hamilton | Kristin Brief |
| ENERNOC (DR) | Herb Healy | Greg Geller | Herb Healy | Greg Geller | n/a | n/a |
| Environment Northeast | Abigail Anthony | Mike Henry | Abigail Anthony | Jeremy McDiarmid | Mike Henry | Abigail Anthony |
| GE Digital Energy | n/a | n/a | n/a | n/a | David Malkin | Byron Flynn |
| IREC | n/a | n/a | Erika Schroeder | Kevin Fox | n/a | n/a |
| ISO New England | Henry Yoshimura | Catherine McDonough | Henry Yoshimura | Catherine McDonough | n/a | n/a |
| Low Income Network | Jerry Oppenheim | Nancy Brockway | Jerry Oppenheim | Nancy Brockway | Jerry Oppenheim | Nancy Brockway |
| MA AG | Sandra Merrick | Jamie Tosches | Nathan Forster | Anna Grace | Jamie Tosches | Anna Grace |
| MA CEC | Martha Broad | Galen Nelson | Martha Broad | Galen Nelson | Galen Nelson | Martha Broad |
| APPENDIX II continued |
| MA DPU Electric Grid Modernization Committee Reps and Alternates |
| Organization | Steering Committee Reps | Steering Committee Alternates | Customer-Facing Sub Reps | Customer-Facing Sub Alternates | Grid-Facing Subcom. Reps | Grid-Facing Subcom. Alternates |
| MA DOER | Birud Jhaveri | Dwayne Breger | Lou Sahlu | Gerry Bingham | Gerry Bingham | John Ballam |
| MA DPU (ex officio) | Ben Davis | Julie Westwater | Ben Davis | Julie Westwater | Ben Davis | Julie Westwater |
| MA DTC | Paul Abbott | Ben Dobbs | Ben Dobbs | Karlen Reed | Paul Abbott | Ben Dobbs |
| MA EOEEA (ex officio) | Steven Clarke | Barbara Kates-Garnick | Steven Clarke | Barbara Kates-Garnick | Steven Clarke | Barbara Kates-Garnick |
| National Grid | Peter Zschokke | Amy Rabinowitz | Peter Zschokke | Ed White | Cheri Warren | Chris Kelly |
| NE Clean Energy Center | Janet Besser | Charity Pennock | David O'Brien | Mark Kalpin | Michael McCarthy | Zachary Gerson |
| NECHPI (CHP) | Jonathan Schrag | Bill Pentland | Jonathan Schrag | Bill Pentland | Jonathan Schrag | Bill Pentland |
| NEEP (EE) | Natalie Hildt | Josh Craft | Natalie Hildt | Josh Craft | n/a | n/a |
| NSTAR | Larry Gelbien | Doug Horton | Doug Horton | Bryant Robinson | Amin Jessa | Bill McDonough |
| SEBANE/SEIA (Solar) | Carrie Hitt (SEIA) | Fran Cummings (SEBANE) | Carrie Hitt | Fran Cummings | Fran Cummings | Carrie Hitt |
| Unitil | Tom Meissner | Gary Epler | Justin Eisfeller | Cindy Carroll | Kevin Sprague | John Bonazoli |
| WMECO | Jennifer Schilling | Camilo Serna | Camilo Serna | Jennifer Schilling | David Wrona | Jennifer Schilling |

KEY:

n/a = Organization is not a member of this Committee or-Subcommittee

Additional Affiliations not noted above:

Rebecca Zachas -BCK Law, PC (for Cape Light Compact)

Jeanne Dworetzky –Exelon (for Constellation)

Nancy Brockway – Nancy Brockway Associates (for Low Income Network)

David O’Brien-Bridge Energy Group (for NECEC)

Mark Kalpin - Wilmer Hale (for NECEC)

Michael McCarthy -Ambient Corporation (for NECEC)

Zachary Gerson   Foley Hoag (for NECEC)

# Footnotes

An alternative way to organize chapter 5 and 6, would be to have chapter 5 focus on Grid-Facing (both background information and principles/recommendations; and chapter 6 similarly structured for Customer -Facing

Mid-way through the effort, the Department changed the final report deadline to June 26th to allow for additional review time by the members of the final draft report.

The two organizations formally invited to participate in the Grid-Facing and Customer-Facing Subcommittees as members who were not Steering Committee Member organizations or their affiliates were GE Digital Energy and IREC, respectively.

Furthermore, consistent with the Working Group groundrules, Steering Committee members organizations (and any other organization that adds its name to the Final Report—i.e., a signatory organization) can provide supporting information and supplemental comments to the DPU within the timeframe and format (e.g., page limit) specified by the DPU and consistent with State Administrative Procedure law (G.L. c. 30A), as long as such information and comments are not inconsistent with the positions taken by that signatory organization within the Final Report.

These are from the DPU NOI.

The first eight opportunities are taken from the DPU NOI (pp. 3&4).  The last two opportunities were added by the Steering Committee.

Barriers list is an amalgam of barriers and challenges voiced at the Kick-Off Workshop and the first Steering Committee Meeting, and in the NOI—probably remoe.

Other options to accommodate the use of DG in support of the electric distribution system, including “equipment upgrades associated with running customer owned generation that is compatible with the connected utility distribution system,” are described in “Guidance Document for Customer Owned Distributed Generation Applications: A Working Draft,” prepared by KEMA Consulting, Inc. on June 26, 2009, based on Distributed Energy Planning Workshops commissioned by the Massachusetts DG Collaborative in 2006.

- (Note: Concerns expressed by some Members about term “proven benefits” as may be difficult to show on forward-looking investments and not wanting to set new, high standard here.)

# Comments

Should these be dropped and changed into opportunities—so only opportunities from NOI are here

Can this be expanded a bit—i.e., don’t realize includes things like TVR

SEBANE—bolster up DG as a resource/opportunity.  AG—utilities aren’t currently planning to use DG as a resrouce.  Also need to bolster discussion of potential threats of DG to system.  Organize call w/Malkin, Fran, Jennifer, Peter, and Jamie