DPU 12-76
Massachusetts Electric Grid Modernization
Stakeholder Working Group Process:

Regulatory Model Options

A Compilation of Proposals from the 
Massachusetts Grid Modernization Working Group

Working Draft

May 17, 2013

Contents

1.	Executive Summary	1

2.	Base Rate Case and Service Quality Index Program	10

Author: Attorney General’s Office

3.	Grid Modernization Planning Process	16

Authors: NSTAR, National Grid, Unitil, Western Massachusetts Electric

4.	A Transition Menu of Regulatory Alternatives	20

Author: National Grid

5.	Performance-Based Ratemaking	26

Author: Bridge Energy Group

6.	Pre-approval and Performance-Based Ratemaking	30

Author:  ISO New England

7.	Distribution Services Pricing	34

Author:  National Grid

8.	Demand Response including TVR and DLC	38

Author: National Grid

9.	Regulatory Review of Meter Upgrade Proposals	41

Author: National Grid

10.	Utility-Owned Electricity Storage	44

Author:  Electricity Storage Association

11.	Independently-Owned Electricity Storage	46

Author:  Electricity Storage Association

12.	New Technology Adoption	48

Author:  Electricity Storage Association

13.	Smart Meter Deployment & Customer Data Access	50

Author: Retail Energy Supply Association, Direct Energy and Constellation

14.	Grid Modernization Advisory Council	57

Author: Environment Northeast

# Executive Summary

## Comprehensive Regulatory Models

### Base Rate Case and Service Quality Index Program: Attorney General’s Office

The framework (below) seeks to summarize the existing regulatory model under which the Massachusetts electric local distribution companies (“LDCs”) operate today, and then to describe a number of proposals to enhance the existing model to improve system reliability, lower electricity costs, and enable grid modernization technologies in a manner that minimizes costs to customers.  The LDCs will recover prudently incurred costs including grid modernization investments through base distribution rates to be established in a base rate case proceeding.  The LDCs will obtain incentives for investments made by earning a return on their investments that is recouped through base distribution rates at their cost of capital.

The framework is designed to address various questions posited by the Department of Public Utilities in its Grid Modernization Notice of Inquiry.  The columns provide regulatory models that were developed with an eye toward facilitating individual grid modernization issues.  These models are not mutually exclusive.  Rather they can be used in combination to address certain customer and distribution company issues, individually and collectively.  The Department should establish all rates and charges associated with these models in a base rate proceeding, where it will determine that the charge is just, reasonable, cost-based and reflective of cost causation principles.

### Grid Modernization Planning Process:  Joint Utilities

Utilities would be allowed to submit plans to the Department of Public Utilities (“DPU”) that meet the DPU’s grid modernization objectives in a manner suitable for the unique characteristics of each system and rate plan.  An individual utility approach accounts for the unique service territory characteristics and various technologies deployed by each utility currently. After receiving a utility proposal, the DPU would open an adjudicatory proceeding to investigate the plan.  The establishment of specific timeframes for review and approval of utility plans is critical to ensuring the timely and efficient implementation of grid modernization initiatives.

### Transition Menu: National Grid

Utility investments in infrastructure are driven by the obligation to provide safe and reliable service to customers. As a result, utilities are modernizing their infrastructure at a pace that considers the safety and reliability priorities of their investment plans, available technologies, the current design of their systems, and concerns about costs to customers, without necessarily taking full advantage of opportunities to modernize the grid for the future.  National Grid describes four alternatives to the current regulatory framework which will enable utilities to begin making meaningful investments in grid modernization to better meet the needs of customers both today and tomorrow, while at the same time maintaining the traditional focus on safety, reliability, and cost.

Two of the options are variations on capital investment recovery mechanisms currently in use by some Massachusetts utilities.   The first option would allow a utility with such a mechanism to seek Department approval to exceed the annual investment cap for grid modernization spending, subject to an after the fact prudency review as with all capital investments.  The second option is the same as the first, but would allow a utility to seek Department approval for a multi-year investment budget, to enable more long term planning and investment.  The third option is to move from a historic test year to forecasted test year for ratemaking with ongoing capital recovery mechanisms under decoupling, as historic spending levels are by definition not indicative of the costs of modernizing the grid.  The fourth option is the same as the third, but provides for a multi-year rate plan, under which the Department would review a utility’s plan for the following three years and set out the course for grid modernization.

### Performance-Based Ratemaking: Bridge Energy

The PBR model is oriented towards multi-year plans that are much more dynamic than traditional litigated rate cases to establish utility cost of service.  There is a heightened degree of clarity of cost recovery and a flexibility in what is spent or how dollars are spent year to year to empower utilities and to help attract the considerable capital required to implement Grid Modernization.

The assumption is that capital spending, while more flexible (based on projections rather than historic test year) is based on furthering what we refer to as the Mass Framework.  The Framework sets forth the functional expectations such as peak load reduction, carbon emission reduction, levels of reliability, etc.  The burden is on the utilities to tailor their spending on their core network and for grid modernization that meets state goals.  Further there is considerable accountability in the form of performance metrics that are reviewed annually.

The heightened degree of accountability for outcomes is the counterweight to the greater flexibility the utilities are provided.  The focus shifts from whittling away the revenue requirement to an assessment that the revenue requirement delivers requisite value to consumers and the state as a whole.  The model taps into and leverages the functional capabilities inherent in Grid Modernization that can increase productivity, reliability, customer efficiency and integrate renewables, amongst many outcomes from an advanced grid.

### Performance-Based Ratemaking with Pre-Approval: ISO-NE

Under the pre-approval element, the utility files its GM plan – the plan may be comprehensive (both customer- and grid-facing elements), separate, or filed in phases depending on the specific circumstances of the utility (e.g., current state of metering and/or grid monitoring technology, pilot program status, etc.).  The utility files its business case for the plan (filing elements described below).  The DPU approves the plan if found to be cost-effective.  If the DPU approves the plan, capital cost recovery associated with the plan is pre-approved.  That is, investments authorized by the plan are deemed to be prudent and in the public interest, and return of and on authorized investments are reflected in regulated distribution rates once the investments are used and useful.  The amount of cost recovery reflected in rates is determined by the DPU at the time of GM plan approval – cost under- or over-runs are borne by the utility.

Under the PBR element, operational costs are recovered with service quality adjustments to give utilities the incentive to improve service quality.  GM costs approved by the DPU at the time of GM plan approval are incorporated into initial PBR distribution rates.  Cost under- or over-runs are borne by the utility during the tenure of its DPU-approved PBR plan.  Operational costs are revisited and the PBR plan is modified at intervals determined by the DPU (e.g., about five years).

## Complementary / Targeted Regulatory Models

### Distribution Services Pricing: National Grid

Modernizing the grid will allow for greater understanding how customers use the delivery grid for their home or business. This knowledge will allow greater understanding regarding cost causation by customers. Which customers are demanding greater amounts of which product (e.g. kilowatts or kilovolt-amperes)? If a customer causes the distribution grid to increase investment due to their usage pattern, should the customer pay for those costs instead of socializing those costs? Which costs should be paid for by all customers since all customers use the facilities? What new product offerings that are provided at the distribution grid level are demanded by customers as they connect to the distribution grid?

The state of Massachusetts has the opportunity to undertake an effort to design distribution pricing for the future and lead the industry in this effort. The Department could undertake a generic docket to investigate potential product offerings for all types of customers, including those with/without generation and those with/without load. These designs would allow customers to pay for services specifically requested by customers instead of socializing the costs across all customers without recognizing the need for a specific tariff.

### Demand Response Including TVR and DLC: National Grid

Rate design options may be filed for approval included as part of a rate case or apart from a formal rate case. Rate design options could be filed as part of a proposal to convert metering to advanced systems with greater capability to provide certain opportunities to customers. These rate options would be designed to be revenue neutral to approved rates on a class basis. The rate options could include Time-of-Use rates such as fixed period TOU, fixed period critical peak pricing (CPP), variable period CPP, hourly pricing of demand response credits for load control options, etc.

### Regulatory Review of Meter Upgrade Proposals: National Grid

This model separates the decision to implement new metering and associated communications systems from the regulatory review of the remainder of the business. Thus, the provision of safe, reliable service to customers can continue while consideration of any proposal for these systems is underway.  This model simplifies the regulatory review by allowing focus on a metering/communication roll-out proposal. The review can consider the issues regarding timing of the roll-out, technology selection, cost, benefits from the technology (demand response, outage investigation, energy efficiency, etc.).

### Utility-Owned Electricity Storage: Electricity Storage Association

Energy storage assets should be evaluated through a cost-effectiveness framework comparable to energy efficiency as a regulated asset with benefits to wholesale markets. Energy storage provides numerous benefits to rate payers and utilities. Energy storage should be evaluated through the new technology framework submitted alongside this proposal.

### Independently-Owned Electricity Storage: Electricity Storage Association

A unique benefit of storage is that it is capable of providing both T&D and Generation-type services (such as ancillary services).  However, valuing multiple services can be complex in deregulated states such as MA.  One way to enable this is to allow utilities to contract with third party storage developers for the T&D uses of the storage asset, which would allow the storage owner to provide cost-effective T&D services while also being able to bid the remaining portion of the storage resource into the wholesale markets to provide peak-shifting and/or ancillary services.  This enables maximum benefit to be gained from the addition of flexible storage capacity on the grid.

### New Technology Adoption: Electricity Storage Association

DPU regulatory frameworks should encourage demonstration of emerging technologies for grid modernization (e.g., electricity storage), without requiring burdensome regulatory processes.  In many cases, new technologies are introduced by startup companies that do not have the flexible capital required to survive a drawn-out regulatory process. A minimal level of investment is needed in these technologies for deployment and testing, in order to understand the benefits of wide-scale integration.

The regulatory treatment will change as the technology moves from emerging to established, and as the level of utility investment increases.  The regulatory process for the adoption of new technologies should occur in three phases:

- Phase 1: Utilities should have a small budget to be determined by the utilities and DPU (e.g., approximately $50 million), included in the rate base, which is devoted specifically to the pilot deployment of new technologies. These deployments should be fast-tracked to the field without regulatory hurdles.

- Phase 2: Once a technology has been tested on the system, and a utility wants to expand the use of that technology, a more thorough regulatory proceeding should be adopted that includes cost-effectiveness analysis, utility reporting requirements and a cost-recovery mechanism.

- Phase 3: After the technology has been utilized in the field for a sufficient period such that impacts are known, the technology should be considered as part of the class of regular transmission and distribution assets, and be eligible for funding by the utility through their annual budget for deployment without regulatory proceedings.

### Retail Electricity Supply Association: Meter Deployment & Customer Data Access

The Massachusetts DPU would open an adjudicatory proceeding in which the EDCs submit proposals for smart meter deployment that include uniform platforms and formats for access to the customer data available from such meters by customers and their Competitive Suppliers.

### Grid Modernization Advisory Council: Environment Northeast

In order to encourage utilities to adopt innovative strategies and take reasonable risks, and to ensure that utilities continue to adopt policies and strategies that advance the ability of third parties to provide services to customers, ENE’s Straw Proposal would employ a Grid Modernization Advisory Council (“Advisory Council”) to help the utilities shape their smart grid decision-making.  The Advisory Council would be composed of stakeholders representing a variety of interests and would be charged with providing input to utilities and the Department in a number of areas, including, but not limited to: (a) customer and vendor protection and education; (b) technology functionality and value; (c) environmental benefits; (d) technology deployment and rollout issues; and selection of the analytical cost-benefit model. Annually, utilities must file a report with the Council and the DPU detailing expenditures to date and progress toward meeting performance goals.

The DPU will retain all of its regulatory roles, and the Advisory Council will serve as a facilitator for stakeholder input, working to resolve issues before utility proposals come before the Department.

## Summary Tables

Base Rate Case and Service Quality Index Program: Attorney General’s Office

Comprehensive Regulatory Models

Transition Menu: National Grid

Targeted / Complementary Regulatory Models

# Base Rate Case and Service Quality Index Program

##### Author: Attorney General’s Office

## Summary of Regulatory Model

|  | Existing Model | Potential Enhancements to the Existing Model |
| --- | --- | --- |
| Regulatory Elements: | Base Rate Case and Service Quality Index Program Model: | Grid-Facing Reliability Investment Model: | Metering Model for an Advance Meter rollout: | Targeted TVR/TOU Model: | Distributed Generation Model: | Direct Load Control Model |
| Customer-facing, grid-facing or both | Both. | Grid-facing. | Customer-facing. | Customer-facing. | Both. | Customer-facing. |
| Rationale for, or summary of, model | This column describes the existing base rate case model through which Massachusetts electric local distribution companies (“LDCs”) recover distribution related costs, including grid modernization costs. Under traditional ratemaking methods, base rates get set at a level that provides a utility an opportunity to recoup operating costs from customers for providing distribution service to those customers and to earn a reasonable return on its capital investments. Service quality is maintained through a separate program. | Enhance Service Quality Index benchmarks to allow utility to improve reliability in the most economical manner. | Allow LDCs to demonstrate net benefit of a full system wide Advanced Meter rollout. Otherwise require utility to provide technology to collect time of use data for those who request them, including electric vehicles and target resources accordingly. | Additions to Customers’ Supply service to provide TVR/TOU offerings to shift system peak. This is not a full rollout for new meters on a system-wide basis, and envisions an enhanced AMR that does not require additional communication systems to obtain the additional usage data. | Facilitate the connection of Distributed Generation. | Direct control of individual customers load to provide maximum control of system peak load reduction. |
| Regulatory Oversight: |  |  |  |  |  |  |
| Utility pre-implementation filing requirement | None | No. | Yes. | Yes. | Yes. | Yes. |
| Regulatory review and approval of filing | LDCs file a base rate request for review and approval by the Department. The filing includes a review of capital investments and operating expenditures. The Department conducts a proceeding, which entails discovery, expert testimony, evidentiary hearings, and briefings. The LDC’s SQI program is reviewed annually. | Yes for Enhancement of SQI. | Yes. However, the LDC does not receive cost recovery through base rates until after implementation. | Yes. | Yes. | Yes. |
| Utility request for pre-approved electric grid modern-ization (“GM”) budgets | None. | None. | Yes. | Not applicable. | No. | Yes. |
| Stakeholder input | Numerous opportunities: annual investigations into the LDCs Service Quality; periodic investigations into updating Service Quality requirements; base rate case proceedings, and; other DPU proceedings (distributed generation interconnection standards and annual capital tracker proceedings). | No Change. | All existing opportunities plus the pre-implementation proceeding. | Yes. | No Change. | Yes. |
| Utility reporting requirements | Annual Service Quality Reports. | Annual Service Quality Reports and New Grid Modernization Status reports. | New Grid Modernization Status reports. | New Grid Modernization Status reports | New Grid Modern-ization Status reports and Reporting on Enforcement of Interconnect-ion Timelines | New Grid Modern-ization Status reports |
| Cost-Effectiveness: |  |  |  |  |  |  |
| Explicit, public cost-effectiveness requirement | None. | None | Customer-oriented cost-effectiveness test (specific test TBD). | Customer-oriented cost-effectiveness test (specific test TBD) | No | Customer-oriented cost-effectiveness test (specific test TBD) |
| Internal analysis by utility | Yes. LDCs evaluate potential capital investment and non-capital investment solutions using a cost-benefit analysis. | Yes | No | No | Yes | No |
| Ratemaking and Cost Recovery: |  |  |  |  |  |  |
| General ratemaking (historic, future test years) | The Department uses a historic test year to establish a revenue requirement, the level of revenues to be recovered from customers through base distribution rates. | Historic test year. | Historic test year. | Not Applicable. | Historic test year and customer-specific enhanced terms of service. | Historic test year. |
| Frequency of rate cases | Current law requires each LDC to file a rate case at least once every five years. | No change. | No change. | Not Applicable. | No Change. | No Change. |
| Cost recovery (e.g., base rates, trackers) | Base rates. Each LDC must demonstrate the prudence and used and usefulness of its capital investments in a base rate case. | No change. | No change. | Not Applicable. | Customer pays. | Base rates. |
| Cost allocation (among customer classes) | Employ cost causation principles, the practice of “assigning cost responsibility to the class of customers for whom the costs were reasonably incurred.” (D.P.U. 94-101/95-36, p. 70). | No change. | No Change For Full Rollout, But Direct Assignment For Targeted Investment to Customers that Request a Meter Enhancement /Participate in a Program. | Not Applicable. | No change. | No change. |
| Cost assignment (e.g., to third party) | Third party beneficiary pays for investments targeted for that third party. | No change. | If full rollout is not economic, direct assignment for targeted investment. | Yes – Assigned to that class of customers. | Per existing tariffs, investments made for connecting specific customers are paid for by those customers. | No. |
| Rate design | Traditional | No change. | No change. | Establish new supply service for TVR/TOU. | No change. | Provide a rate credit. |
| Utility incentives (e.g. ROE, rewards/penalties) | ROE for Rate Based Investments /Service Quality penalties. | No change. | No change. | No change. | No change. | No change. |
| Performance Targets or Metrics: |  |  |  |  |  |  |
| Role of performance targets | Maintain service quality. | Maintain and enhance service quality. | To hold the utilities accountable for estimated costs and benefits provided during the pre-implementation review. | Measure effectiveness of program to shift peak. | Enforce DG interconnection timelines. | To hold the utilities accountable for estimated costs and benefits provided during the pre-implementation review. |
| Performance targets that will be used | Performance targets are set in the Service Quality Guidelines. | Enhanced Service Quality Guidelines adopted in DPU 12-120. Additional targets as needed. | Review in rate case as a precursor to cost recovery. | Annual Review Of Effect On Peak in standalone proceeding. | Under Development by the D.P.U. 11-75 Working Group. | Review in rate case as a precursor to cost recovery and annual reviews to measure costs and benefits. |

## Description of Regulatory Models

### Executive Summary

The framework above seeks to summarize the existing regulatory model under which the Massachusetts electric local distribution companies (“LDCs”) operate today, and then to describe a number of proposals to enhance the existing model to improve system reliability, lower electricity costs, and enable grid modernization technologies in a manner that minimizes costs to customers.  The LDCs will recover prudently incurred costs including grid modernization investments through base distribution rates to be established in a base rate case proceeding.  The LDCs will obtain incentives for investments made by earning a return on their investments that is recouped through base distribution rates at their cost of capital.

The framework is designed to address various questions posited by the Department of Public Utilities in its Grid Modernization Notice of Inquiry.  The columns provide regulatory models that were developed with an eye toward facilitating individual grid modernization issues.  These models are not mutually exclusive.  Rather they can be used in combination to address certain customer and distribution company issues, individually and collectively.  The Department should establish all rates and charges associated with these models in a base rate proceeding, where it will determine that the charge is just, reasonable, cost-based and reflective of cost causation principles.

### Description of Individual Models

- Advanced Metering

Before a utility invests in a full, system wide Advanced Metering program, the utility must seek Department approval of the investment to demonstrate its net benefits to customers over the complete lifecycle of the meters.  If the Department finds there are net benefits to all customers and approves a plan, the utility would construct the system and recover the costs of the program through base rates, after the normal regulatory review of costs in a base rate case.  If it is determined that a full, system wide rollout Advance Meter program will not provide net benefits to customers, then the utility may propose a targeted deployment plan of enhanced metering systems for certain programs and customers that opt into such a system, such as Electric Vehicle customers, Distributed Generation customers, and those customers requesting Time Variable Rates.  Those customers that opt in will be charged the incremental cost of those programs and meter system services.

- TVR/TOU

The utility would facilitate new Time Variable Rate (“TVR”) supply service offerings.  The TVR customer would be required to obtain the metering technology to collect time of use data before it would be offered the service.  The customer will be charged the incremental cost for those meter services.

- Direct Load Control

The utility would be required to demonstrate the costs and benefits of a Direct Load Control program of customers’ appliances to the Department.  If the Department finds there are net benefits to customers, and approves a plan, the utility would construct the system and establish the associated customer credit, after the normal regulatory review of costs and expected proceeds in a base rate case.

- Grid Facing Reliability Enhancements

The Department has a regulatory model for treating distribution system service reliability in its Service Quality Index (“SQI”) program.  This reliability benchmark and the associated penalties and rewards system provide a model that can be enhanced to improve reliability to the extent desired.  The Department would preapprove the desired enhancements in the benchmark reliability.  The utility would then be required to meet those standards by installing the most cost-beneficial options, albeit grid-facing technologies or traditional measures such as tree-trimming.  The utility would recover any additional costs of the enhanced SQI program through the normal regulatory review in a base rate case.

- Distributed Generation Connection

This model addresses integration of Distributed Generation through specific project-related investments.  It recognizes the cost recovery process in place pursuant to the existing Department-approved interconnection tariffs.  Under these tariffs, a Distributed Generator is assessed the costs associated with interconnecting to the distribution system.  Thus, LDCs should be required to seek Department approval in a base rate case proceeding for enhancements or changes to existing interconnection tariffs or establishment of new tariffs to ensure that tariffs provide for the service connection requirements to ensure that these provisions are cost-based.

# Grid Modernization Planning Process

##### Authors: NSTAR, National Grid, Unitil, Western Massachusetts Electric

## Summary of Regulatory Model

| Regulatory Elements: | Description: |
| --- | --- |
| Customer-facing, grid-facing or both | Both |
| Rationale for, or summary of, model | Utilities submit proposals for grid modernization investments prior to initiating the plan. |
| Regulatory Oversight: |  |
| Utility pre-implementation filing requirement | Filing required prior to implementation. |
| Regulatory review and approval of filing | Yes. DPU review and approval of a utility grid modernization proposal would occur in the context of an adjudicatory proceeding with set time frames for review and receipt of a final order to enable timely and efficient implementation of grid modernization initiatives. |
| Utility request for pre-approved GM budgets | Yes. |
| Stakeholder input | Yes. During the DPU adjudicatory proceeding interested stakeholders can participate. |
| Utility reporting requirements | Annual or as determined during the DPU proceeding. Utilities may report on progress (e.g., budget and installation status) as well as evaluation criteria. Depending on the nature of the grid modernization investment, a variety of reporting elements may be applicable. |
| Cost-Effectiveness: |  |
| Explicit, public cost-effectiveness requirement | Traditional standards for reviewing projects necessary to maintain the safety and reliability of service to customers would remain in place. Cost-effectiveness tests may be applicable for certain customer and grid-facing investments in order to demonstrate the benefits exceed the costs. However, it is not appropriate to apply those tests uniformly across all investment types. As such, these tests should be included in the context of a utility filing, as appropriate. Following DPU approval of grid modernization initiatives, utilities shall pursue such initiatives efficiently. |
| Internal analysis by utility | Traditional standards for reviewing projects necessary to maintain the safety and reliability of service to customers would remain in place. |
| Ratemaking and Cost Recovery: |  |
| General ratemaking (historic, future test years) | The process for general utility ratesetting does not change from the process that exists today. Base distribution rates will be set in the context of a general rate proceeding. As necessary for grid modernization investments, a separate funding mechanism outside of base rates will apply. |
| Frequency of rate cases | Present rules apply. |
| Cost recovery (e.g., base rates, trackers) | As necessary, utilities should be permitted to request recovery of grid modernization investments through mechanisms outside of base rates, as determined by the Department. |
| Cost allocation (among customer classes) | This would be addressed in the context of the DPU proceeding. A principle of the utility’s proposal will be to consider the need for affordability for low-income customers. |
| Cost assignment (e.g., to third party) | The beneficiary of an investment in grid modernization should pay the costs, wherever it is feasible to do so. |
| Rate design | This would be addressed in the context of the DPU proceeding. A principle of the utility’s proposal will be to consider the need for affordability for low-income customers. |
| Utility incentives (e.g. ROE, rewards/penalties) | This would be addressed in the context of the DPU proceeding. |
| Performance Targets or Metrics: |  |
| Role of performance targets | This would be addressed in the context of the DPU proceeding. |
| Performance targets that will be used | Targets and goals would be an element of each utility proposal. Given that grid modernization investments serve to accomplish a variety of targets and goals, these would vary depending on the nature, scope, size, and timing of the investment. As such, it is premature to identify in this document specific targets or goals that should be considered. |
| Comments/Major issues | To enable timely implementation of grid modernization initiatives, specific timeframes should be established for DPU review and approval of utility grid modernization proposals. |

## Description of Regulatory Model

### Executive Summary

Utilities would be allowed to submit plans to the Department of Public Utilities (“DPU”) that meet the DPU’s grid modernization objectives in a manner suitable for the unique characteristics of each system and rate plan.  An individual utility approach accounts for the unique service territory characteristics and various technologies deployed by each utility currently. After receiving a utility proposal, the DPU would open an adjudicatory proceeding to investigate the plan.  The establishment of specific timeframes for review and approval of utility plans is critical to ensuring the timely and efficient implementation of grid modernization initiatives.

### Regulatory Oversight

The utilities would file proposals with the DPU that meet the DPU’s grid modernization objectives in a manner suitable for the unique characteristics of each system and rate plan.

Rules regarding stakeholder participation in the DPU review process would be identical to current rights afforded to participants in adjudicatory proceedings before the DPU.

### Cost Effectiveness

Traditional standards for reviewing projects necessary to maintain the safety and reliability of service to customers would remain in place. Cost-effectiveness tests may be applicable for certain customer and grid-facing investments in order to demonstrate the benefits exceed the costs.  However, it is not appropriate to apply those tests uniformly across all investment types.  As such, these tests should be included in the context of a utility filing, as appropriate.  Following DPU approval of grid modernization initiatives, utilities shall pursue such initiatives efficiently.

### Ratemaking & Cost Recovery

As necessary, utilities should be permitted to request recovery of grid modernization investments through mechanisms outside of base rates, as determined by the Department.

### Performance Targets or Metrics

Incentives would be addressed in the context of the DPU proceeding and would be specific to the nature of the investment.

### Stakeholder input to filing

Stakeholders would provide input by intervening in the docket before the DPU.  In this way, stakeholders would be entitled to all privileges afforded to interveners for providing input to inform the DPU’s review of a utility proposal prior to approval.

A formal requirement for obtaining stakeholder input prior to a utility filing would interfere with a utility’s planning processes. This approach is consistent with current regulatory practice.

### Utility reporting requirements

Reporting requirements should be specific to each plan but at least annually.  Depending on the grid modernization objectives ultimately endorsed by the Department, investments might span a variety of technologies and horizons, so allowing for flexibility to address in the context of a specific proposal is appropriate.

Utilities may report on progress (e.g., budget and installation status) as well as evaluation criteria.  The nature of the grid modernization investment may warrant a variety of variables and elements for reporting (e.g., technologies with different lead times, installation times, and evaluation criteria, as well as other complexities).   Reporting requirements would be proposed by the utility in its initial filing.

If a cost recovery mechanism is approved by the Department, annual reporting to request cost recovery would be necessary.

### Comments/Major issues

The DPU’s review and approval process must contain specific timeframes for review and approval of grid modernization investments.  A protracted review and approval process with no clear end-date for issuance of a final order jeopardizes the utility’s ability to make efficient and timely investments in grid modernization.

## Strengths and Weaknesses of the Regulatory Model

### Strengths

This framework will allow for utility specific proposals to satisfy the DPU’s grid modernization objectives while providing the following regulatory process benefits:

- Provide the DPU with the opportunity for a full review of any proposal prior to implementation.

- Allow stakeholder input to the proposal via participation in the DPU adjudicatory proceeding.

- This would provide an opportunity to address a number of stakeholder issues, for instance:

  - Review of consumer protections and bill impacts;

  - Empowerment and enablement issues; and

  - Risks to various parties.

- Allow each utility to expeditiously achieve grid modernization objectives by providing pre-approval of a proposal in a timely manner, and in a way that is suitable for the unique characteristics of each system and rate plan.

- Support innovation in the industry as a whole and by utilities individually by enabling an incremental approach to infrastructure investment that allows for flexibility by the utility in the face of rapidly changing technologies while providing a mechanism for timely cost recovery of investments.

- Enable opportunities for review and approval of pilots of new technologies and innovative methods to provide safe, reliable service or to achieve other grid modernization objectives.

### Weaknesses

This proposal as constituted does not include a specific requirement for a date by which utilities should file a plan, which could potentially delay implementation of a plan.

# A Transition Menu of Regulatory Alternatives

##### Author: National Grid

Utility investments in infrastructure are driven by the obligation to provide safe and reliable service to customers. As a result, utilities are modernizing their infrastructure at a pace that considers the safety and reliability priorities of their investment plans, available technologies, the current design of their systems, and concerns about costs to customers, without necessarily taking full advantage of opportunities to modernize the grid for the future.  In this paper, National Grid describes four alternatives to the current regulatory framework which will enable utilities to begin making meaningful investments in grid modernization to better meet the needs of customers both today and tomorrow, while at the same time maintaining the traditional focus on safety, reliability, and cost.

Two of the options are variations on capital investment recovery mechanisms currently in use by some Massachusetts utilities.   The first option would allow a utility with such a mechanism to seek Department approval to exceed the annual investment cap for grid modernization spending, subject to an after the fact prudency review as with all capital investments.  The second option is the same as the first, but would allow a utility to seek Department approval for a multi-year investment budget, to enable more long term planning and investment.  The third option is to move from a historic test year to forecasted test year for ratemaking with ongoing capital recovery mechanisms under decoupling, as historic spending levels are by definition not indicative of the costs of modernizing the grid.  The fourth option is the same as the third, but provides for a multi-year rate plan, under which the Department would review a utility’s plan for the following three years and set out the course for grid modernization.

In order to set the stage for increased investments in grid modernization, the Department does not need to do everything all at once.  Rather, it can make a series of small, but important, incremental step changes to the regulatory framework in Massachusetts by considering the annual capital investment budget review and pre- approval process as a first step, with other changes to the regulatory framework potentially implemented based on experience and the desire to achieve particular grid modernization goals.  As discussed below, National Grid recommends that the Department take this first incremental step change by allowing National Grid to make a proposal to the Department under Menu Option 1, to change the spending level under its capital investment recovery mechanism, to invest in grid modernization.

## Today’s Framework

Current investment decisions are consistent with the concept of “good utility practice,” i.e., investments that are similar to investments that other utilities around the country are making to serve their customers in terms of the types of technologies and materials used, expected useful life, and costs and benefits. Under the traditional approach to utility ratemaking in Massachusetts, utilities recover the costs of infrastructure investments only after the investments are made and there is often a considerable lag between the time expenditures are made and costs are recovered from customers. Although some commentators have maintained that regulatory lag provides discipline for utilities in the management of their assets, when utilities make investments that are not supported by current revenues, they erode earnings and hinder the utility’s opportunity to earn its allowed rate of return. Because regulatory lag impacts the financial performance of utilities, it also places pressure on utilities to limit investments when the utility must balance capital investment against earnings deflation. Accordingly, utilities will typically prioritize investments that maintain safe and reliable service over investments in innovation and grid modernization, because there is significant precedence that such investments will meet the standard of good utility practice, as compared to more innovative and novel grid modernization investments. Lastly, the erosion in earnings brought on by regulatory lag can also harm customers as financial investors may require a higher return to invest in the Company’s bonds. This will result in increased rates to customers from higher bond rates.  Thus, under the status quo regulatory framework, the pace of grid modernization may not be sufficient to meet the changing energy needs of customers both today and over the long term.

## Enabling Investments in Grid Modernization

Each of the alternatives described below represents a viable change to the regulatory framework that will enhance the opportunity for utility innovation and investment in grid modernization and allow the Department to evaluate the benefits of

### Menu Option 1: Expand Investment Caps Eligible for Recovery  - Historic Test Year

Menu Option 1 builds from National Grid’s approved electric capital investment recovery mechanism. The Department approved in National Grid’s last electric rate case an annual recovery mechanism for in-service capital investments made by National Grid in a preceding calendar year. The Department approved this mechanism as a complement to decoupling.  The amount that National Grid can recover is based upon a cap of $170 million of in-service investments in a given year. The Company’s actual investments are reviewed annually by the Department in a proceeding in the year following the in-service year of the investment.  The Department review allows for investigation of the prudence of the investments in an adjudicatory proceeding. This approach maintains the historic test year method for rate recovery and, as such, does not eliminate the effects of regulatory lag.

Menu Option 1 would allow a utility with this mechanism in place to request an increase to its capital investment budget cap outside of a base rate proceeding for additional investment that a utility has determined is necessary to modernize the grid while maintaining safe, reliable service. Under this approach, the utility would have the ability to request an increase to the capital investment budget established during its most recent base rate proceeding for Department review and approval.  The scope of this review would be limited to the Company’s broad rationale for increasing its capital investment budget . So long as the request is consistent with the goals of modernizing the grid, the Department would not need to conduct a full adjudicatory proceeding to review the request to increase the capital investment budget. Rather, the Department would undertake a thorough review of the actual investments, projects and costs at the time that the utility requests recovery for in-service investment in the following year. Thus, the utility maintains the full risk of cost disallowance if its investments are deemed imprudent even though the Department may have approved an increased capital investment budget at the beginning of the year.

There are many strengths to this approach. First, the approach provides flexibility regarding the level of investment that a utility deems necessary in any given year. A utility can elect to use its entire budget or can fall back to a lower level if appropriate. Second, the request can accommodate the effect of inflation on costs for equipment and manpower by allowing expansion of the capital investment budget. Third, the

Department can determine the appropriate speed for modernization of the grid and improvements to safe, reliable service based upon the impacts to customers’ bills from an expansion. Lastly, this approach speeds the modernization of the grid without the need

for frequent rate cases yet maintains the full authority of the Department to investigate the prudence of the utility’s investments.

The weakness of this approach is the potential for the utility’s initial request to increase its capital investment budget to become bogged down in a lengthy regulatory proceeding with an uncertain timeline for receipt of a final decision from the Department. Even though all investments would be reviewed after the in-service date, the Department and intervenors may request additional time for investigation into the need and projects associated with the proposal to increase the capital investment budget. This may affect the timing of grid modernization investment while the proceeding remains ongoing and provide uncertainty to the utility in its planning process and in the implementation of its plan. Also, as noted above, this approach maintains the effects of regulatory lag on first year investment which will be recognized by the financial markets as noted above.

In principle, this menu option accords with the Utility Consensus model.

### Menu Option 2: Expand Menu Option 1 to Three Years - Historic Test Year

A concern of regulators and customers may be path of investment necessary to modernize the grid. Although utilities must be cautious regarding forecasts too far in the future given the risk of uncertainty, expectations regarding investment levels and corresponding need over a few years would be far less uncertain.  Technological changes and changes in customer use will not be as dramatic as could be possible over a longer timeframe. Thus, the utility can plan for a certain level of work using certain standards for modernizing the grid. Adaptation of the plan will occur annually as known facts reveal differences from the initial plan. However, the annual changes will be small adjustments, not major unforeseen changes. A three year period would be an appropriate length of time for a utility to present a fairly definite level of investment necessary for modernizing the grid while providing safe, reliable service to customers.

The regulatory request for approval would be identical to Menu Option 1, except the request would be for a three year period. Utilities would present grid modernization goals for the next three years along with a capital investment budget to meet these goals for each year of the plan. The Department would review the request in terms of meeting the twin goals of modernizing the grid while balancing concerns over bill impacts to customers. As in Menu Option 1, regulatory review should assess these facts quickly and the Department should reach a decision within a set period of time, since the review of the prudency of actual investments would occur in each year after the investment was made and delays at this stage would impact the Company’s ability to implement its plan.

This menu option maintains the strengths from the first option: Utility can flex the level of investment deemed necessary in any year; accommodation for inflation on costs for equipment and manpower; Department can determine the appropriate speed for modernization of the grid considering bill impacts to customers; authority of the Department and right of intervenors to question the prudence of investment is maintained. In addition, the ability of the Department to determine a multi-year level of investment that modernizes the grid provides greater real transparency regarding the utility’s expected investment levels and goals for the investment.

The weakness of this approach is the potential for the utility’s initial request to increase its investment budget to become bogged down in a lengthy regulatory proceeding with an uncertain timeline for final decision. Even though all investments would be reviewed after they are placed in-service, the Department and intervenors may request additional time for investigation into the need and projects associated with the proposal for increased investment. This may affect the timing of grid modernization investment while the proceeding remains ongoing. Also, as noted above, this approach maintains the effects of regulatory lag on first year investment which will be recognized by the financial markets, increasing costs to customers.

In principle, this menu option accords with the Utility Consensus model.

### Menu Option 3: Change from Historic Test Year Review to Forecast Rate Year Review

The next menu option is a forecast rate year method for rate-setting. In Menu Options  1 and 2, the utility’s capital investment plan goals and total investment are forecasted but recovery occurs after investment is in service as a result of a separate Department review of the investments. Menu Option 3 introduces the concept of forecasting all costs that the Company anticipates incurring during the year in which rates become effective. The forecasted items would include changes in revenue, investment plan, operations and maintenance expense and administrative and general expense. This approach uses the historic test year as a base from which the forecast is created along with any adjustments for known changes in future costs significantly above or below inflation, except for the investment plan which is more specific to projects and programs.

The forecasted rate year approach would continue with an ongoing capital recovery mechanism for utilities with decoupled rates as described in Options 1 and 2. Maintaining this approach in the years after the rate year would provide all the benefits enumerated before for those options.

A forecasted rate year approach to cost of service provides utilities with greater incentive to invest in modernizing the grid because it would align the cost of service with the time period in which the costs would be incurred. As such, the revenues would be set to match expected costs, as approved after review by the Department, in the year of incurrence instead of costs incurred two years earlier. Modernizing the grid implies that additional investment may be necessary than what has occurred in the past. In addition, the availability of greater amounts of information would cause an increase in O&M costs to process and analyze the data for use in operating the distribution grid and providing service to customers. A benefit from use of a forecast rate year is the alignment of future plans to modernize the grid with the rates necessary to recover the costs. Department approval of the forecast rate year would align the company’s future operations and investments in the rate year with the goals of the state energy plan that requires a modern grid. A future rate year does not eliminate the risk that the company must perform according to the approved plan and manage costs in a way to deliver the approved plan.

The current source of costs and revenues for rate case filings in Massachusetts is a recent historic test year adjusted for known and measurable changes, such as union contracts. Historical costs and revenues are often not a good indication of what costs and revenues will actually be at some future point in time, especially in the context of grid modernization which by its very definition is not historic. For Massachusetts, preparation for a rate case does not even begin until a historic test year is complete. Preparation of the case takes time, typically up to five months before filing. Due to recent statutory changes, a filing that occurs five months after the end of the historic test year is now reviewed by the Department over a ten month suspension period. By the time an order is issued and rates are in effect, the data upon which the rates are determined will be fifteen to twenty- seven months old. The staleness of the data results in attrition of the ability of the utility to earn its allowed return on equity approved in the case from the effective date, which has a negative impact on utility investment decisions.

The future grid will do more than the present grid to enable renewable energy, distributed generation and customer demand response, among other goals. Assuming that a modern grid is justified as used and useful and cost beneficial for delivery and distributed generation customers, historic levels of investment in utility infrastructure are not representative of the levels of investment that will be necessary to modernize the grid for the future. Decoupling fixes the revenue level which does not allow any increase from growth to pay for additional expenses to modernize the grid. Continuation of a capital recovery mechanism for decoupled utilities after the initial rate year  allows for the potential deferral of rate cases as it would provide for recovery of ongoing investment to modernize the grid as outlined earlier.

A forecasted rate year takes the inputs from the historic test year and inflates those values by inflation or actual forecasts of costs, e.g., capital investment plans, to derive the revenues necessary to run the utility in a forward-looking rate year. All elements of the forward-looking rate year including inflation in O&M expenses, forecasts of revenues and forecasts of capital investment are carefully reviewed by the regulator and intervenors to the case. The utility is required to justify the reasons for increases in costs in the future such as the rate of inflation for O&M costs or investment costs for projects and programs in the investment plan.

The drawback to a forward rate year cost of service approach is the uncertainty created among all stakeholders regarding a significant change in the regulatory model. This uncertainty may result in prolonged adjudication of any proceeding in which the Department considers institution of forecast rate years as an approach. However, any prolonged delay in receiving a final decision from the Department may lessen the speed of further grid modernization investments given the uncertainty in the regulatory model.

### Menu Option 4: Multi-year Rate Plans with Forecasted Rate Years

The final menu option is a multi- year forecasted rate plan. This approach takes the same form as Menu Option 3 with a forecasted rate year based upon an historic test year and forecasts of known changes such as capital investment. However, it would extend the plan for a number of years, usually three to five years. The benefit from multi- year plans, particularly when considering grid modernization, is that the utility’s capital

investment plan can be reviewed and approved for a number of years with recognition of and accountability for the goals of the plan. Also, multi-year rate plans improve the efficiency of regulation, particularly for utilities with decoupled rates, as they will not need to file multiple rate cases to acquire the revenues necessary to provide safe and reliable service through a modern grid. The length of the plan should be reasonable but not too long, as experience has shown that long multi-year rate plans tend to forecast the needs in the latter half of the plans poorly. A three year period provides the transparent view of the utility’s plans going forward while avoiding the risks from unforeseen changes that affect utility plans in future years.

### Conclusion and Recommendation

Each of the options discussed above will enable utilities to make increased investments in grid modernization.  National Grid recognizes that some represent bigger changes to the present regulatory construct than others, and require careful thought.  As a first step, National Grid recommends that the Department allow it to make a grid modernization proposal consistent with Option 1 (pre-approval of an increased spending amount under its capital investment recovery mechanism, subject to an after the fact prudency review) in order to begin the journey of grid modernization, while the more far reaching proposals are considered.  This small step in regulation will enable a giant leap for grid modernization.

# Performance-Based Ratemaking

##### Author: Bridge Energy Group

## Summary of Regulatory Model

| Regulatory Elements: | Description: |
| --- | --- |
| Customer-facing, grid-facing or both | Both |
| Rationale for, or summary of, model | Performance focus, Clarity of recovery to attract capital |
| Regulatory Oversight: |  |
| Utility pre-implementation filing requirement | MA Framework compliance, NPV analysis |
| Regulatory review and approval of filing | Yes at plan initiation, |
| Utility request for pre-approved GM budgets | Yes, must adhere to MA Framework, NPV Analysis |
| Stakeholder input | Yes, extensive. During plan initiation and annual reports |
| Utility reporting requirements | Annual performance reports, capital plans, rate updates |
| Cost-Effectiveness: |  |
| Explicit, public cost-effectiveness requirement | Yes, MA Framework |
| Internal analysis by utility |  |
| Ratemaking and Cost Recovery: |  |
| General ratemaking (historic, future test years) | Cap Ex based on annual projection & reconciliation |
| Frequency of rate cases | Rate cases occur at initiation of plan, rates based on formula during plan. |
| Cost recovery (e.g., base rates, trackers) | Base rates based on formula, cap ex rider based on annual projection |
| Cost allocation (among customer classes) | Traditional cost causation rate design |
| Cost assignment (e.g., to third party) | Traditional cost causation |
| Rate design | Diverse offering of dynamic rates (PTR, CPP, VPP) |
| Utility incentives (e.g. ROE, rewards/penalties) | Symmetrical ROE adjustment based on performance |
| Performance Targets or Metrics: |  |
| Role of performance targets | Dictate level of ROE |
| Performance targets that will be used | Extensive covering operating efficiency, asset management, customer demand response, reliability & outage restoration, environmental, DG, customer satisfaction etc. See Performance Measure Illustration |

## Description of Regulatory Model

### Executive Summary

The PBR model is oriented towards multi-year plans that are much more dynamic than traditional litigated rate cases to establish utility cost of service.  There is a heightened degree of clarity of cost recovery and a flexibility in what is spent or how dollars are spent year to year to empower utilities and to help attract the considerable capital required to implement Grid Modernization.

The assumption is that capital spending, while more flexible (based on projections rather than historic test year) is based on furthering what we refer to as the Mass Framework.  The Framework sets forth the functional expectations such as peak load reduction, carbon emission reduction, levels of reliability, etc.  The burden is on the utilities to tailor their spending on their core network and for grid modernization that meets state goals.  Further there is considerable accountability in the form of performance metrics that are reviewed annually.

The heightened degree of accountability for outcomes is the counterweight to the greater flexibility the utilities are provided.  The focus shifts from whittling away the revenue requirement to an assessment that the revenue requirement delivers requisite value to consumers and the state as a whole.  The model taps into and leverages the functional capabilities inherent in Grid Modernization that can increase productivity, reliability, customer efficiency and integrate renewables, amongst many outcomes from an advanced grid.

Core values of this model include:

- a focus on outcomes for customers and society

- providing clarity of recovery to attract capital

- Flexibility for utility managers closest to the customer to adapt investment to achieve the desired performance

- Regulatory clarity in terms of desired form, scale and function of Grid Modernization

What is gained in return for the flexibility is a much heightened level of accountability for performance.  The development of performance metrics and regular reporting of them greatly increases the focus on quality and outcomes.  The Performance Measurement Schedule becomes the living documentation of the effects of Grid Modernization on customers and the system as a whole.  For utilities the introduction of a clear and adaptable means to recover capital investment and the prospect of increased earnings will have a profound effect on access to capital.

### Regulatory Oversight

- Utilities would develop their multi-year investment plans that would be divided into two distinct areas, Core Network and Grid Modernization.  Core Network is ongoing investment in traditional infrastructure (poles, wires, etc.) while the Grid Modernization would be incremental to that and be based on Mass Framework.

- Utilities would submit to DPU their proposed Initial Revenue Requirement, which would reflect their non-capital costs to serve customers at the outset of the plan plus a Projected Capital Investment for that year.

- At the end of each year utilities would submit to the DPU a reconciliation of actual cap ex to projected, with any over or under collection plus interest at WACC recovered in rates going forward.

- The assumed duration of the plan is five years with options for renewal.  Rate investigations would take place at the outset of each plan period.  Base rates would be adjusted annually during the plan based on pre-determined factors (inflation, exogenous events, productivity).  Base rate reviews would be limited to 60 days.

### Cost Effectiveness

Cost effectiveness is addressed in two ways.  First capital investment plans must connect to the Mass Framework that includes expectations around state policy goals, functional capability and particular outcomes.  One form of cost effectiveness of utility spending is that it furthers defined expectations of the public and customers.  Second, grid modernization plans that would entail items such as advanced metering and distribution automation should be presented as a cohesive platform that has a supporting NPV analysis or “business case” that details the value streams and cost savings that stem from the investment and to what degree they exceed the up-front investment.

### Ratemaking & Cost Recovery

- Base Rates would recover operating costs, while a Capital Rider would recover the funds to support the projected cap ex.

- Base ROE would be set according to a statutory formula (working assumption would be Treasury + x basis points).

- The utilities would be eligible for financial incentives based on demonstrated performance under the established metrics. The performance would be benchmarked to industry data with a range of possible incentive from zero to X basis points added to the Base ROE.  Underperformance would similarly result in reductions in ROE.

- Detailed rate reviews would occur at the outset of a plan period, much the same as a traditional rate case.  Once the plan is in effect rates would be updated annually based on prescribed formula (CPI +) and subject to an expedited review.

### Performance Targets or Metrics

A central component of the plan would be a Performance Measurement Schedule that would detail all of the performance measurements to be tracked and reported upon by the utility annually.  The metrics could be established as part of the Mass Framework.  They would be well beyond what is measured today in service quality plans and would be across the entire utility operation from customer engagement to reliability.  Many of the metrics would track values that populated the initial Grid Mod Business Case but would also track the value of investment in Core Network.

## Strengths and Weaknesses of the Regulatory Model

### Strengths

- Performance focus places dramatic emphasis on customer and societal outcomes

- Financial incentives reward excellence and support innovation

- Capital investment is grounded in a state Framework that ensures rate funded investment is furthering desired outcomes

- Degree of accountability for quality of system and customer performance is greatly enhanced.

- Detailed metrics and annual reporting on performance provide transparency.

### Weaknesses

Dramatic change in regulatory approach.  For some stakeholders moving away from litigation will be seen as a lessening of scrutiny or accountability.

## Additional Material

# Pre-approval and Performance-Based Ratemaking

##### Author:  ISO New England

## Summary of Regulatory Model

| Regulatory Elements: | Description: |
| --- | --- |
| Customer-facing, grid-facing or both | Both |
| Rationale for, or summary of, model | To encourage cost-effective grid modernization (GM) efforts, this regulatory model utilizes elements of pre-approval and performance-based ratemaking (PBR). Under the pre-approval element, the utility files its GM plan. The DPU approves the plan if found to be cost-effective. If the plan is approved, capital cost recovery (return of and on invested capital) is pre-approved. Capital costs enter rates when authorized investments are used and useful. Cost under- or over-runs are borne by the utility. Under the PBR element, operational costs are recovered with service quality adjustments to give utilities the incentive to improve service quality. Cost under- or over-runs are borne by the utility during the tenure of its DPU-approved PBR plan. |
| Regulatory Oversight: |  |
| Utility pre-implementation filing requirement | Elements of the GM plan filed by the utility with the DPU should include: description of the purpose and scope of the plan, itemized benefits and costs with supporting documentation, cost-effectiveness analysis, cost recovery proposal, class ratepayer impact analysis, and implementation/deployment plan. If the grid modernization plan includes deployment of more advanced metering that accommodates time-based rates, a separate default service rate design plan, including a plan for low-income customer protection, should be filed as well. |
| Regulatory review and approval of filing | The DPU reviews and holds a proceeding on the utility’s GM plan. Alternative proposals may be filed by interveners. Standard administrative procedures are followed. |
| Utility request for pre-approved GM budgets | As previously described, the GM plan will include a pre-approval request. |
| Stakeholder input | Utilities should be required to present its GM plan to stakeholders before filing the plan with the DPU. Utilities should be encouraged to modify plans based on stakeholder comments or proposals. The GM plan filing by the utility should identify areas of substantive disagreement, and the utility’s reasoning for pursuing its proposed course of action instead of accommodating the stakeholder’s comment or proposal. |
| Utility reporting requirements | Utility reports on progress on implementing the GM plan. Rates adjusted to reflect used and useful investments. Performance metrics filed in accordance with the PBR plan. |
| Cost-Effectiveness: |  |
| Explicit, public cost-effectiveness requirement | The utility must quantify benefits and costs of the GM plan and apply an appropriate discount rate to determine net present value of benefits and costs over the expected service life of the investments. A societal approach to cost-effectiveness should be used. The data and analysis used to develop each benefit and cost element should be provided, including risk elements. |
| Internal analysis by utility | Any relevant analyses by the utility are discoverable. |
| Ratemaking and Cost Recovery: |  |
| General ratemaking (historic, future test years) | Pre-approval approach with PBR element. |
| Frequency of rate cases | Investment costs (depreciation and return components) enter base rates on a pre-approved basis once the investments are used and useful. Operational costs are recovered as part of a Performance-Based Ratemaking (PBR) scheme – the frequency of rate review is determined by the DPU upfront in the PBR proceeding (e.g., the PBR plan should be revisited at intervals of about five years). |
| Cost recovery (e.g., base rates, trackers) | Base rates |
| Cost allocation (among customer classes) | GM investment and operational costs should be allocated to the customer classes that benefit from the investments/services. |
| Cost assignment (e.g., to third party) | Not sure what this means. |
| Rate design | Default rates for all customer classes should be based on time-specific marginal costs for each function of service (e.g., customer, distribution, transmission, commodity) if the GM plan includes the installation of time-based metering. Low-income customer rates should provide affordability and stability, but also should enable low-income customers to benefit from shifting consumption to lower-cost periods. |
| Utility incentives (e.g. ROE, rewards/penalties) | Standard ROE for regulated utility distribution service would be applied to the utility’s non-depreciated invested capital. Utility must bear risk of cost overruns. |
| Performance Targets or Metrics: |  |
| Role of performance targets | Give utilities incentives to improve service quality given the cap on the regulated portion prices/revenues. |
| Performance targets that will be used | Performance metrics should be modified to reflect the expected improved service quality resulting from GM investments. |

## Description of Regulatory Model

### Executive Summary

To encourage cost-effective grid modernization (GM) efforts, this regulatory model utilizes elements of pre-approval and performance-based ratemaking (PBR).

Under the pre-approval element, the utility files its GM plan – the plan may be comprehensive (both customer- and grid-facing elements), separate, or filed in phases depending on the specific circumstances of the utility (e.g., current state of metering and/or grid monitoring technology, pilot program status, etc.).  The utility files its business case for the plan (filing elements described below).  The DPU approves the plan if found to be cost-effective.  If the DPU approves the plan, capital cost recovery associated with the plan is pre-approved.  That is, investments authorized by the plan are deemed to be prudent and in the public interest, and return of and on authorized investments are reflected in regulated distribution rates once the investments are used and useful.  The amount of cost recovery reflected in rates is determined by the DPU at the time of GM plan approval – cost under- or over-runs are borne by the utility.

Under the PBR element, operational costs are recovered with service quality adjustments to give utilities the incentive to improve service quality.  GM costs approved by the DPU at the time of GM plan approval are incorporated into initial PBR distribution rates.  Cost under- or over-runs are borne by the utility during the tenure of its DPU-approved PBR plan.  Operational costs are revisited and the PBR plan is modified at intervals determined by the DPU (e.g., about five years).

### Regulatory Oversight

Elements of the GM plan filed by the utility with the DPU should include:  description of the purpose and scope of the plan, itemized benefits and costs with supporting documentation, cost-effectiveness analysis, cost recovery proposal, class ratepayer impact analysis, and implementation/deployment plan.  If the grid modernization plan includes deployment of more advanced metering that accommodates time-based rates, a separate default service rate design plan, including a plan for low-income customer protection, should be filed as well.

DPU reviews and holds a proceeding on the utility’s GM plan.  Alternative proposals may be filed by interveners.  Standard administrative procedures are followed.

Utilities should be required to present its GM plan to stakeholders before filing the plan with the DPU.  Utilities should be encouraged to modify plans based on stakeholder comments or proposals.  The GM plan filing by the utility should identify areas of substantive disagreement, and the utility’s reasoning for pursuing its proposed course of action instead of accommodating the stakeholder’s comment or proposal.

### Cost Effectiveness

The utility must quantify benefits and costs of the GM plan and apply an appropriate discount rate to determine net present value of benefits and costs over the expected service life of the investments.  A societal approach to cost-effectiveness should be used.  The data and analysis used to develop each benefit and cost element should be provided, including risk elements.

### Ratemaking & Cost Recovery

As described in the summary above, investment costs (depreciation and return components) enter base rates on a pre-approved basis once the investments are used and useful.  Operational costs are recovered as part of a Performance-Based Ratemaking (PBR) scheme – the frequency of rate review is determined by the DPU upfront in the PBR proceeding (e.g., the PBR plan should be revisited at intervals of about five years).

### Base rates

GM investment and operational costs should be allocated to the customer classes that benefit from the investments/services.

Default rates for all customer classes should be based on time-specific marginal costs for each function of service (e.g., customer, distribution, transmission, commodity) if the GM plan includes the installation of time-based metering.  Low-income customer rates should provide affordability and stability, but also should enable low-income customers to benefit from shifting consumption to lower-cost periods.

Standard ROE for regulated utility distribution service would be applied to the utility’s non-depreciated invested capital.  Utility must bear risk of cost overruns.

### Performance Targets or Metrics

Give utilities incentives to improve service quality given the cap on the regulated portion prices/revenues.

Performance metrics should be modified to reflect the expected improved service quality resulting from GM investments.

## Strengths and Weaknesses of the Regulatory Model

### Strengths

Since the primary mission of a distribution utility can be accomplished without GM, and since the incremental benefits of GM investments tend to accrue to others (i.e., customers, energy service and technology providers, and society in general) and not the utility, the risk of disallowance under traditional ratemaking practices (e.g., historical test-year approaches) discourages utilities from pursuing GM investments.  This model addresses this shortcoming by requiring the utility to analyze GM investments from a broader societal point of view and giving the utility a degree of certainty regarding GM cost-recovery before making GM investments.

### Weaknesses

The focus of this model is the pre-approval process.  Instead of reviewing the prudency of actual, booked costs, the focus is on reviewing forward-looking cost and risk assumptions in the cost-effectiveness analysis.  This shifts the type of expertise needed to review GM plans.  Determining the reasonableness of cost projections becomes important because the prudency of investments authorized by the plan is presumed once a GM plan has been approved.

# Distribution Services Pricing

##### Author:  National Grid

## Summary of Regulatory Model

| Regulatory Elements: | Description: |
| --- | --- |
| Customer-facing, grid-facing or both | Both |
| Rationale for, or summary of, model | With advent of customer-based energy technologies, pricing for services provided by the distribution grid should recognize Distribution’s transformation from delivery to an integration of load and generation, i.e. new services |
| Regulatory Oversight: |  |
| Utility pre-implementation filing requirement | File proposal and implementation plan for approval |
| Regulatory review and approval of filing | Yes. DPU review and approval of a utility proposal for changes to distribution pricing would occur in the context of an adjudicatory proceeding with set time frames for review and receipt of a final order to enable timely and efficient implementation of approved changes. |
| Utility request for pre-approved GM budgets | Maybe: Depends on need for new technology, outreach efforts to customers |
| Stakeholder input | Yes. Interested stakeholders can during the DPU adjudicatory proceeding. |
| Utility reporting requirements | Determined during DPU proceeding, if necessary |
| Cost-Effectiveness: |  |
| Explicit, public cost-effectiveness requirement | Cost causation and rate design principles of appropriate price signals would apply |
| Internal analysis by utility | Bill impacts to customers from the proposed changes in prices. |
| Ratemaking and Cost Recovery: |  |
| General ratemaking (historic, future test years) | Historic usage and customer information can be used or forecast year information |
| Frequency of rate cases | As necessary, present rules apply. |
| Cost recovery (e.g., base rates, trackers) | As necessary if investment or costs incurred to engage customers or implement new prices. |
| Cost allocation (among customer classes) | This would be addressed in the context of the DPU proceeding with the general principles for allocations that reflect cost causation, fairness and equitable responsibility. |
| Cost assignment (e.g., to third party) | Determined through cost allocation and pricing |
| Rate design | This would be a rate design (pricing) filing. |
| Utility incentives (e.g. ROE, rewards/penalties) | Not applicable |
| Performance Targets or Metrics: |  |
| Role of performance targets | Not applicable |
| Performance targets that will be used | Not applicable |

## Description of Regulatory Model

### Executive Summary

Distribution systems are built to meet peak demands on each feeder and substation while managing the stability of the system. These demands are specific to the type and number of customers on the particular facilities. Current pricing for recovery of distribution costs is based primarily on delivery throughput. Modernization of the distribution grid will lead to improvements in knowledge regarding capability of the system, may contribute to improved efficiency in operation of the grid and capital investment and may facilitate promotion of renewable and other types of distributed generation.

Modernizing the grid will allow for greater understanding how customers use the delivery grid for their home or business. This knowledge will allow greater understanding regarding cost causation by customers. Which customers are demanding greater amounts of which product (e.g. kilowatts or kilovolt-amperes)? If a customer causes the distribution grid to increase investment due to their usage pattern, should the customer pay for those costs instead of socializing those costs? Which costs should be paid for by all customers since all customers use the facilities? What new product offerings that are provided at the distribution grid level are demanded by customers as they connect to the distribution grid?

The state of Massachusetts has the opportunity to undertake an effort to design distribution pricing for the future and lead the industry in this effort. The Department could undertake a generic docket to investigate potential product offerings for all types of customers, including those with/without generation and those with/without load. These designs would allow customers to pay for services specifically requested by customers instead of socializing the costs across all customers without recognizing the need for a specific tariff.

Two examples are available for explanation of the potential. During the 1980s, the Department recognized the need to provide larger industrial customers a price for their use of KVA in excess of their KW demands. Large KVA demands create voltage issues at the local level and result in a system built to meet the KVA demands which are higher than the KW demands. The Department required all electric utilities to design demand rates that charged large customers if they took a large amount of KVA relative to their KW demand. For National Grid, customers would pay for about $10 every month for the greater of their largest KW demand during the peak period or 90% of the largest KVA demand during the peak period. Customers who used a lot of KVA relative to KW would have an economic incentive to install their own equipment to serve their KVA needs because it was much cheaper than the Company’s charges. This rate design internalized to the customer the economics of the specific costs they were imposing on the system.

Another example is National Grid’s Second Feeder Service offering. Customers can request reservation of capacity on a second feeder in order to obtain immediate switch of service to the second feeder in the event of an outage on the first feeder. The customer pays for this reserved capacity every month as a capacity charge. Both of these examples internalize to the customers their costs from the company for comparison to economic alternatives. In addition, the offerings provide revenues to the Company to offset the costs of these services in the event the services are necessary.

The distribution grid is the area of the electric system that has the greatest impact on daily reliable service to customers. Thus, it is important to allow the design of the grid to provide reliable service. At present, the approach to cost recovery does not recognize a future that is about connections and capability, not simply delivery.

The Department could investigate the new services that will be necessary to allow the integration of generation and load on the distribution system. For example, who is responsible for managing power quality on the system from the introduction of generators to the distribution grid? Should tariffs be developed that reflect voltage management and if so who should pay those tariffs? Should wheeling tariffs be developed for generators located on one Company’s distribution grid but delivering power to a customer on another utility’s distribution grid?

Some, but not all, potential design characteristics could be:

- Size of customer (kWh range,  demand (kW or kVa), service amp level, requested service level);

- Wheeling capacity requested;

- Requested reservation assurance level (Second Feeder Service as an example);

- Discounts for physical assurance that generation will remove demands from the distribution grid;

- Time varying pricing to allow scheduling of customer access to the Distribution grid to allow maintenance or to take advantage of economic pricing from the market;

- Power quality management services (e.g. management of excess voltage from customer generation that flows onto the distribution grid); or

- Rebates or lower costs for demand management

### Regulatory Oversight

A proposed rate design can be filed as a component of a rate case, a proposal for metering systems or independently. Utilities would file a proposal once they determine a valid business case for the new pricing offering (rate design). The filing would include reasoning and analysis for the offering accompanied by a presentation of benefits to customers.

An alternative approach would be for the DPU to open an investigation into potential rate designs and their benefits/costs from implementation.

A change in rate design may require time for customers to comprehend the change. The principle of rate continuity may require a phase-in period for those customers receiving full distribution service.

Stakeholders would provide input to the filing by intervening in the docket before the DPU.  In this way, stakeholders would be entitled to file formal comments and briefs, and all other privileges afforded to interveners for consideration in the Department’s Order prior to implementation.

Also, a utility (utilities) and stakeholders may come to agreement on a proposal which becomes a settlement filed at the Department for its review.

### Cost Effectiveness

Any pricing proposal would demonstrate cost effectiveness through analytical review of cost causation leading to the need for the offering. In addition, the price structure would be designed on the appropriate cost to deliver the service to requesting customers.

### Ratemaking & Cost Recovery

Any incremental costs would be paid for by customers on the proposed service offering. Cost recovery for all elements of grid modernization would be facilitated by the addition of appropriate service offerings that increase the revenue opportunities for the company to pay for grid modernization.

### Performance Targets or Metrics

These are not foreseen as part of this model. However, any request for metrics or targets would be discussed during a proceeding before the Department.

## Strengths and Weaknesses of the Regulatory Model

### Strengths

- The model provides the opportunity to recognize the additional services provided by the distribution utility and charge the appropriate customers for those services.

- It minimizes cross-subsidies that will occur if these new service offerings or requirements are not recognized as a new service and charged appropriately.

- Provides economic basis for customers to determine whether utility provided service is more economic that own provision of service or third party provision.

- Provides the opportunity through physical assurance requirements to ensure the value claimed by local generation in terms of distribution savings by lowering the need for capacity.

### Weaknesses

- The ability to change the present distribution rate structures to reflect cost causation may take a period of time due to rate continuity considerations.

- Concerns regarding incentives for energy efficiency in present rate structures will need to be understood as changes in rate structures are evaluated

# Demand Response including TVR and DLC

##### Author: National Grid

## Summary of Regulatory Model

| Regulatory Elements: | Description: |
| --- | --- |
| Rationale for, Summary of, Model | Receive approval for plan to roll-out of new product opportunities (rate designs) to assist customers in managing their energy use |
| Utility pre-implementation filing requirement | File implementation plan for approval |
| Regulatory review and approval of filing | Yes |
| Stakeholder input to filing | Yes, during the regulatory proceeding |
| Utility request for pre-approved budgets for GM measures | Maybe: Depends on need for new technology, outreach efforts to customers |
| Explicit, public cost-effectiveness requirement | Yes |
| Utility reporting requirements | Determined during DPU proceeding, if necessary |
| Cost recovery mechanism (capital and O&M) | Yes, separate mechanism, forward looking |
| Cost allocation (among customer classes) | Determined as a part of regulatory proceeding |
| Cost assignment (e.g., to third party) |  |
| Rate design |  |
| Utility incentives (e.g. ROE, rewards/penalties) |  |
| Performance targets or metrics |  |
| Ratesetting (general rates) | Historic test year or forecast rate year method may apply |
| Frequency of rate cases | Present rules apply. |
| Comments/Major issues | Interaction of proposed rate design and wholesale commodity prices |

## Description of Regulatory Model

### Summary

Rate design options may be filed for approval included as part of a rate case or apart from a formal rate case. Rate design options could be filed as part of a proposal to convert metering to advanced systems with greater capability to provide certain opportunities to customers. These rate options would be designed to be revenue neutral to approved rates on a class basis. The rate options could include Time-of-Use rates such as fixed period TOU, fixed period critical peak pricing (CPP), variable period CPP, hourly pricing of demand response credits for load control options, etc.

### Regulatory process

A proposed rate design can be filed as a component of a rate case, a proposal for metering systems or independently. Utilities would file a proposal once they determine a valid business case for the rate design. The filing would include reasoning and analysis for the rate design accompanied by a presentation of benefits to customers.

An alternative approach would be for the DPU to open an investigation into potential rate designs and their benefits/costs from implementation.

### Stakeholder input to filing

Stakeholders would provide input to the filing by intervening in the docket before the DPU.  In this way, stakeholders would be entitled to file formal comments and briefs, and all other privileges afforded to interveners for consideration in the Department’s Order prior to implementation.

### Cost effectiveness

Utility proposals would need to include justification for the rate designs and associated costs for implementation, customer outreach and enabling technologies. A demonstration of benefit would be provided as part of the filing.

### Utility reporting requirements

Reporting requirements may be determined as a result of utility proposals and DPU deliberations in the proceeding.

### Cost recovery

Utilities may request recovery of costs associated with implementation of the rate design, outreach to customers and enabling technologies.

### Utility incentives

Incentives would be addressed in the context of the DPU proceeding and be specific to the nature of the investment.

### Comments/Major issues

New rate designs have to consider the interaction of the rate design with the costs as incurred and billed in the ISO-NE wholesale market. This interaction creates risks that must be considered during any investigation.

## Summary Evaluation

| Overarching Criteria: |  |
| --- | --- |
| Ability to achieve Grid Mod Goals | Moderate |
| Feasibility; i.e., difficulty of implementation | Good |
| Timeframe for implementation and results | Good |
| Consistent with relevant statutes | Good |
| Timing & flexibility to address dynamic options | Good |
| Costs and Customer Concerns: |  |
| Consumer protection - low-income | Good |
| Consumer protection - other residential | Good |
| Consumer protection - C&I | Good |
| Customer class cross-subsidy impacts | To be determined |
| Likely bill impacts | To be determined |
| Utility shareholder impacts | Good |
| Address risks - to customers and to utility | Good |
| General Criteria: |  |
| Empowerment (i.e., will it empower customers, utilities, vendors?) | Good |
| Enablement (i.e., will it result in a sufficient platform?) | Moderate |
| Support innovation by utilities | Moderate |
| Identify performance objectives, has transparent measurement and symmetrical rewards based on performance | Good |
| Provide process stability, lowers regulatory uncertainty | Moderate |
| Common value measurement model (e.g., business case, NPV to consumers, society) | Good |
| Risk - to different parties | Good |

# Regulatory Review of Meter Upgrade Proposals

##### Author: National Grid

## Summary of Regulatory Model

| Regulatory Elements: | Description: |
| --- | --- |
| Rationale for, Summary of, Model | Receive approval for plan to roll-out of new metering systems with associated communications capability |
| Utility pre-implementation filing requirement | File implementation plan for approval |
| Regulatory review and approval of filing | Yes |
| Stakeholder input to filing | Yes, during the regulatory proceeding |
| Utility request for pre-approved budgets for GM measures | Yes. |
| Explicit, public cost-effectiveness requirement | Yes |
| Utility reporting requirements | Annual |
| Cost recovery mechanism (capital and O&M) | Yes, separate mechanism, forward looking |
| Cost allocation (among customer classes) | Determined as a part of regulatory proceeding |
| Cost assignment (e.g., to third party) |  |
| Rate design |  |
| Utility incentives (e.g. ROE, rewards/penalties) |  |
| Performance targets or metrics |  |
| Ratesetting (general rates) | Historic test year or forecast rate year method may apply |
| Frequency of rate cases | Present rules apply. |
| Comments/Major issues | Creates multi-year rate review |

## Description of Regulatory Model

### Summary

This model separates the decision to implement new metering and associated communications systems from the regulatory review of the remainder of the business. Thus, the provision of safe, reliable service to customers can continue while consideration of any proposal for these systems is underway.  This model simplifies the regulatory review by allowing focus on a metering/communication roll-out proposal. The review can consider the issues regarding timing of the roll-out, technology selection, cost, benefits from the technology (demand response, outage investigation, energy efficiency, etc.).

### Regulatory process

Under this model, utilities would file a proposal once they determine a valid business case for the change in metering systems. This would allow regulatory review of each utility’s proposal to consider specific issues with any conversion and the specific benefits from the conversion to their customers. The filing would include a budget for every year of implementation as well as a request for cost recovery for the costs of implementation. The filing would also include a demonstration of the benefits to customers from the change in technology. Interested stakeholders could intervene and provide input to the plan in the form of testimony and briefs.

An alternative approach would be for the DPU to open an investigation into meter and communication deployment. A similar filing would be required from the utilities although time would be necessary to determine whether a business case exists for the conversion.

### Stakeholder input to filing

Assuming the plan would be filed at the DPU first, stakeholders would provide input to the filing by intervening in the docket before the DPU.  In this way, stakeholders would be entitled to file formal comments and briefs, and all other privileges afforded to interveners for consideration in the Department’s Order prior to implementation.

### Cost effectiveness

Utility proposals would need to include justification for the conversion of metering technologies and associated communication technologies. A demonstration of benefit would be provided as part of the filing. The conversion should create enough benefits to justify the investment.

If the DPU requests utility proposals, utilities would prepare a best case at the time which may or may not provide adequate benefits for customers.

### Utility reporting requirements

Reporting requirements may be determined as a result of utility proposals and DPU deliberations in the proceeding.

### Cost recovery

Since utilities would be proposing a separate plan for implementation, utilities may choose to request a separate regulatory review and recovery process to provide funding for metering and communication investments.  The recovery mechanism should allow for timely recovery and be subject to reconciliation and prudence review.

### Utility incentives

Incentives would be addressed in the context of the DPU proceeding and be specific to the nature of the investment.

### Comments/Major issues

If a plan is approved, this approach may result in a multi-year regulatory review of the implementation plan and subsequent cost recovery. In addition, benefits may be reviewed to ascertain success in delivery of those benefits.

## Summary Evaluation

| Overarching Criteria: |  |
| --- | --- |
| Ability to achieve Grid Mod Goals | Moderate (meters only) |
| Feasibility; i.e., difficulty of implementation | Good |
| Timeframe for implementation and results | Good |
| Consistent with relevant statutes | Good |
| Timing & flexibility to address dynamic options | Good |
| Costs and Customer Concerns: |  |
| Consumer protection - low-income | Good |
| Consumer protection - other residential | Good |
| Consumer protection - C&I | Good |
| Customer class cross-subsidy impacts | To be determined |
| Likely bill impacts | To be determined |
| Utility shareholder impacts | Good |
| Address risks - to customers and to utility | Good |
| General Criteria: |  |
| Empowerment (i.e., will it empower customers, utilities, vendors?) | To be determined |
| Enablement (i.e., will it result in a sufficient platform?) | Good |
| Support innovation by utilities | Good |
| Identify performance objectives, has transparent measurement and symmetrical rewards based on performance | Good |
| Provide process stability, lowers regulatory uncertainty | Good |
| Common value measurement model (e.g., business case, NPV to consumers, society) | Good |
| Risk - to different parties | Good |

# Utility-Owned Electricity Storage

##### Author:  Electricity Storage Association

## Summary of Regulatory Model

| Regulatory Elements: | Description: |
| --- | --- |
| Customer-facing, grid-facing, or both: | Both |
| Rationale for, Summary of, Model: | Energy storage assets should be evaluated through a cost-effectiveness framework comparable to energy efficiency as a regulated asset with benefits to wholesale markets. Energy storage provides numerous benefits to rate payers and utilities. On the customer side, benefits include lower electricity costs through optimization of time-of-use rates, mitigation of demand charges and potentially customer participation in ISO demand response programs improved reliability, improved use of customer-sited renewables, and cleaner air as a result of emissions reductions from peaking plants. On the utility side, benefits include avoided or deferred transmission and distribution investments, reduced constraints on the flow of electricity, long-term system reliability, increased efficiency of power generation, particularly in urban areas, and integration of renewable resources. These are among the benefits that should be accounted for in any cost-benefit framework for electricity storage. Energy storage should be evaluated through the new technology framework submitted alongside this proposal. |
| Regulatory Oversight: |  |
| Utility pre-implementation filing requirement: | No. |
| Regulatory review and approval of filing: | No. |
| Stakeholder input to filing: | No. |
| Utility request for pre-approved GM budgets: | Yes |
| Explicit, public cost-effectiveness requirement: | Yes, comparable to energy efficiency cost-effectiveness frameworks |
| Utility reporting requirements: | Determined during DPU proceeding, if necessary |
| Ratemaking and Cost Recovery: |  |
| Cost recovery mechanism (capital and O&M): | Yes |
| Cost allocation (among customer classes): | These would be addressed in the context of the DPU proceeding, but utilities should be able to recover the full costs of energy storage investments, as is the case with other assets, like distribution infrastructure. Treatment of storage resources owned by utilities that are capable of providing multiple services – both T&D functions and Generation-type services (such as ancillary services) should be addressed in this proceeding. |
| Cost assignment (e.g., to third party): |  |
| Rate design: |  |
| Utility incentives (e.g., ROE, rewards, penalties): |  |
| Performance targets or metrics: |  |
| Rate setting (general rates): | Included in base rates in a general rate proceeding. |
| Frequency of rate cases: | Present rules apply. |
| Comments/Major issues: |  |

# Independently-Owned Electricity Storage

##### Author:  Electricity Storage Association

## Summary of Regulatory Model

| Regulatory Elements: | Description: |
| --- | --- |
| Customer-facing, grid-facing, or both: | Both |
| Rationale for, Summary of, Model: | Energy storage assets connected to the distribution system, which are solely storing energy for the purpose of returning electricity to the grid at a later time, should be able to charge at wholesale electricity market prices rather than at retail prices. This is not the case today. Currently, electricity storage at the distribution level must pay retail energy and demand charges to charge, making the operating cost of deploying storage, for peak shaving or ancillary services, at the distribution level higher than at the transmission level, and providing a disincentive for storage investments at the distribution level. However, the benefits of electricity storage on the distribution level are great and include avoiding investments in distribution infrastructure, increased reliability, improved power quality, and lower costs. A unique benefit of storage is that it is capable of providing both T&D and Generation-type services (such as ancillary services). However, valuing multiple services can be complex in deregulated states such as MA. One way to enable this is to allow utilities to contract with third party storage developers for the T&D uses of the storage asset, which would allow the storage owner to provide cost-effective T&D services while also being able to bid the remaining portion of the storage resource into the wholesale markets to provide peak-shifting and/or ancillary services. This enables maximum benefit to be gained from the addition of flexible storage capacity on the grid. |
| Regulatory Oversight: |  |
| Utility pre-implementation filing requirement: | N/A |
| Regulatory review and approval of filing: | N/A |
| Stakeholder input to filing: | N/A |
| Utility request for pre-approved GM budgets: | N/A |
| Explicit, public cost-effectiveness requirement: | N/A |
| Utility reporting requirements: | N/A |
| Ratemaking and Cost Recovery: |  |
| Cost recovery mechanism (capital and O&M): | N/A |
| Cost allocation (among customer classes): | N/A |
| Cost assignment (e.g., to third party): |  |
| Rate design: |  |
| Utility incentives (e.g., ROE, rewards, penalties): |  |
| Performance targets or metrics: |  |
| Rate setting (general rates): | N/A |
| Frequency of rate cases: | N/A |
| Comments/Major issues: |  |

# New Technology Adoption

##### Author:  Electricity Storage Association

## Summary of Regulatory Model

| Regulatory Elements: | Description: |
| --- | --- |
| Customer-facing, grid-facing, or both: | Both |
| Rationale for, Summary of, Model: | DPU regulatory frameworks should encourage demonstration of emerging technologies for grid modernization (e.g., electricity storage), without requiring burdensome regulatory processes. In many cases, new technologies are introduced by startup companies that do not have the flexible capital required to survive a drawn-out regulatory process. A minimal level of investment is needed in these technologies for deployment and testing, in order to understand the benefits of wide-scale integration. The regulatory treatment will change as the technology moves from emerging to established, and as the level of utility investment increases. The regulatory process for the adoption of new technologies should occur in three phases: Phase 1: Utilities should have a small budget to be determined by the utilities and DPU (e.g., approximately $50 million), included in the rate base, which is devoted specifically to the pilot deployment of new technologies. These deployments should be fast-tracked to the field without regulatory hurdles. Phase 2: Once a technology has been tested on the system, and a utility wants to expand the use of that technology, a more thorough regulatory proceeding should be adopted that includes cost-effectiveness analysis, utility reporting requirements and a cost-recovery mechanism. Phase 3: After the technology has been utilized in the field for a sufficient period such that impacts are known, the technology should be considered as part of the class of regular transmission and distribution assets, and be eligible for funding by the utility through their annual budget for deployment without regulatory proceedings. Classification of technologies in each phase should be determined by the total amount of capital being put toward a given project with limits for a project within each phase. |
| Regulatory Oversight: |  |
| Utility pre-implementation filing requirement: | Phase 2 only. |
| Regulatory review and approval of filing: | Phase 2 only. |
| Stakeholder input to filing: | No. |
| Utility request for pre-approved GM budgets: | Yes, all phases. |
| Explicit, public cost-effectiveness requirement: | Phase 2 only. |
| Utility reporting requirements: | Phase 2 and 3. |
| Ratemaking and Cost Recovery: |  |
| Cost recovery mechanism (capital and O&M): | Yes, all phases. |
| Cost allocation (among customer classes): | These would be addressed in the context of the DPU proceeding, but utilities should be able to recover the costs at all stages. |
| Cost assignment (e.g., to third party): |  |
| Rate design: |  |
| Utility incentives (e.g., ROE, rewards, penalties): |  |
| Performance targets or metrics: |  |
| Rate setting (general rates): | Included in base rates in a general rate proceeding. |
| Frequency of rate cases: |  |
| Comments/Major issues: |  |

# Smart Meter Deployment & Customer Data Access

##### Author: Retail Energy Supply Association, Direct Energy and Constellation

## Summary of Regulatory Model

| Regulatory Elements: | Description: |
| --- | --- |
| Customer-facing, grid-facing or both | Customer-Facing |
| Rationale for, or summary of, model | The Department of Public Utilities (DPU) would open an adjudicatory proceeding in which the electric distribution companies’ (EDCs) submit proposals for smart meter deployment, which include uniform platforms and formats for access to the customer data available from such meters by customers and their Competitive Suppliers. |
| Regulatory Oversight: |  |
| Utility pre-implementation filing requirement | Filing required prior to implementation |
| Regulatory review and approval of filing | Yes. DPU review and approval of a utility smart meter deployment and customer data access plan would occur in the context of an adjudicatory proceeding with set time frames for review and receipt of a final order to enable timely and efficient implementation |
| Utility request for pre-approved GM budgets | Yes |
| Stakeholder input | Yes |
| Utility reporting requirements | As determined during the DPU proceeding. Utilities should be required to periodically report on progress (e.g., budget and installation status). |
| Cost-Effectiveness: |  |
| Explicit, public cost-effectiveness requirement | Yes but should include a full costs and benefits analysis, rather than just a straight cost analysis. For instance, although there may be an added cost for implementing uniform data access platforms and formats across all of the EDCs’ systems, a change in the processes for accessing customer load data will result in the following benefits: (a) simplification of the current process; (b) a consistent format of the data available; (c) improved timeliness and accuracy of pricing and billing; (d) improved quality of customer usage data; (e) reduced chance of cancel/re-bill; (f) development of a strong competitive electric marketplace; (g) encouragement of customer adoption of new solutions to meet their energy needs, including allowing customers to make demand response and energy efficiency modifications to better manage their electricity consumption and costs; and (h) reduced costs for both the utilities and suppliers. |
| Internal analysis by utility |  |
| Ratemaking and Cost Recovery: |  |
| General ratemaking (historic, future test years) | To be determined as part of DPU proceeding |
| Frequency of rate cases | To be determined as part of DPU proceeding |
| Cost recovery (e.g., base rates, trackers) | To be determined as part of DPU proceeding |
| Cost allocation (among customer classes) | To be determined as part of DPU proceeding |
| Cost assignment (e.g., to third party) | To be determined as part of DPU proceeding |
| Rate design | Several regulatory models propose that the EDCs should engage in new rate designs for Basic Service that include dynamic pricing options. However, while RESA acknowledges that the EDCs should be able to collect the reasonable and prudent costs associated with smart meter deployment and implementing uniform data access platforms and formats as determined as part of a DPU proceeding, the EDCs should be required to maintain their existing rate designs for Basic Service and dynamic pricing options should be optional products that are offered by the competitive retail market. |
| Utility incentives (e.g. ROE, rewards/penalties) | To be determined as part of DPU proceeding |
| Performance Targets or Metrics: |  |
| Role of performance targets | To be determined as part of DPU proceeding |
| Performance targets that will be used | To be determined as part of DPU proceeding |

## 2.	Description of Regulatory Model

### Executive Summary

The Massachusetts DPU would open an adjudicatory proceeding in which the EDCs submit proposals for smart meter deployment that include uniform platforms and formats for access to the customer data available from such meters by customers and their Competitive Suppliers.

Smart meters and their related functionality as well as the level of customer data available from such meters can revolutionize how customers purchase electricity by providing customers and their providers with the information necessary to transform customer behavior.  Allowing Competitive Suppliers to have real-time access to their customers' hourly interval meter data has the potential to unleash a wave of innovation capable of delivering the value and benefits to customers that are not currently available in Massachusetts.  Many of these programs encourage load shifting, conservation and energy efficiency.  By providing these programs on a competitive basis, suppliers are able to either reduce the amount of ratepayer dollars needed to fund these programs or to offer additional programs that supplement those funded by ratepayers.

One need only look to other jurisdictions where advanced metering infrastructure (AMI) has been fully deployed for examples of the types of products and services that Competitive Suppliers are offering to smart meter enabled customers.  Competitive Suppliers are now offering products in other markets that include daily customer alerts via email or text messages relating to a customer's consumption that notify the customer that he or she is approaching or has exceeded certain customer-defined usage levels.  Competitive Suppliers send weekly update emails to their customers that inform customers of their weekly usage, cost per kilowatt hour, and projected bill at the end of the billing period, as well as usage comparisons with other customers in their neighborhood.

Further, the ability to access real-time customer data available from smart meters enables suppliers to offer consumers price responsive demand (PRD) products as well as other new and innovative products.  For example, in states where retail market structures provide the appropriate environment, the following products have been offered by Competitive Suppliers (rather than the incumbent utility):

- “Power-to-Go” – a smart meter-based technology that allows customers to exercise a far greater level of control in their purchasing and consumption of electricity than would be available from a traditional regulated utility.

- “Free Power Saturday” Plan – with the use of smart meter technology the program is designed to encourage and empower residential consumers to reduce electricity consumption during higher-priced weekly peak hours.  Traditionally, weekends are considered part of off-peak periods, when electricity rates, consumption and demand are low. Industry research indicates that load shifting from on-peak to off-peak electricity consumption will reduce market costs translating into beneficial savings.

- “Home Energy Manager” – a smart-meter compatible home energy manager that will allow homeowners an unprecedented level of control over their home energy usage.

PRD products encourage customer adoption of new solutions to meet their energy needs, including allowing customers to make demand response and energy efficiency modifications to better manage their electricity consumption and costs.  However, any innovative solution that involves shaping consumer behavior by having them respond to immediate price signals and receive appropriate credit for actions taken to reduce or avoid consumption in response to those signals depends on having real-time access to accurate customer data in a standardized format.

The current method of data dissemination from EDCs varies widely and can encompass anything from a manual process, including issuing spreadsheets, to one form or another of Electronic Data Interchange (EDI).  Each EDC implements the method of access and data format differently.  To ensure that innovative solutions can be created for customers, an EDI policy that defines a standard IP (internet protocol) based access in a common language or data standard (XML) would provide the most efficient and cost-effective solution.  These EDI standards should also include key data elements to help Competitive Suppliers effectively prepare and structure pricing offers for their customers (e.g., customer’s voltage level, etc.).

An internet protocol based system would make programming easier than traditional code based programming and could reduce the amount of intervention required by EDC personnel as the information is populated directly from customers' meters into the web based system and accessed directly by the supplier; thereby, reducing programming/data entry costs and the potential for errors.  By using an internet based system, the transmission of customer data can also be protected through SSL (Secure Sockets Layer), which is the standard security technology for establishing an encrypted link between a web server and a browser to ensure that all data passed between the web server and browsers remain private.

A policy should also be in place that promotes customer ownership of data and the requirement of customer consent to securely disseminate data.  However, customers should be free to choose the method by which they authorize the release of their information and Competitive Suppliers (not the EDCs) should be responsible for maintaining records of those authorizations subject to audit by the DPU.

### Regulatory Oversight

The DPU would open an adjudicatory proceeding (with set time frames for review and receipt of a final order to enable timely and efficient implementation) in which the EDCs submit proposals for smart meter deployment that include uniform platforms and formats for access to the customer data available from such meters by customers and their Competitive Suppliers.  Interested stakeholders would then have an opportunity to engage in discovery, comment on the EDC proposals and offer alternate proposals.

### Cost Effectiveness

Evaluation of the cost-effectiveness of the regulatory model should include a full cost and benefit analysis, rather than just a straight cost analysis.  For instance, although there may be an added cost for implementing uniform data access platforms and formats across all of the EDCs’ systems, a change in the processes for accessing customer load data available from smart meters will result in the following benefits:  (a) simplification of the current process; (b) a consistent format of the data available; (c) improved timeliness and accuracy of pricing and billing; (d) improved quality of customer usage data; (e) reduced chance of cancel/re-bill; (f) development of a strong competitive electric marketplace; (g) encouragement of customer adoption of new solutions to meet their energy needs, including allowing customers to make demand response and energy efficiency modifications to better manage their electricity consumption and costs; and (h) reduced costs for both the utilities and suppliers.

### Ratemaking & Cost Recovery

The EDCs should be able to collect the reasonable and prudent costs associated with smart meter deployment and implementing uniform data access platforms and formats as determined as part of a DPU proceeding.  However, any ratemaking structure should continue to maintain a paradigm that would allow for a market structure in which Competitive Suppliers concentrate on what they do best - providing market based generation supply pricing and related service options - and the EDCs concentrate on what they do best - providing reliable and cost effective transmission and distribution services.

To do so, the competitive market should be provided the opportunity to offer solutions before creating regulatory programs that impose greater costs on all ratepayers, especially low income customers, that can create unintended barriers to high value competitive offerings. In particular, dynamic pricing options should be optional products that are offered by the competitive retail market and the EDCs should be required to maintain their existing rate designs for Basic Service rather than engaging in new Basic Service rate designs that include dynamic pricing.

## 3.	Strengths and Weaknesses of the Regulatory Model (compared to status quo)

### Strengths

As part of its proceeding, the DPU intends to examine its policies “to ensure that electric distribution companies adopt grid modernization technologies and practices in order to enhance the reliability of electric service, reduce electricity costs, and empower customers to adopt new electricity technologies and better manage their use of electricity.” Smart meter deployment with uniform platforms and formats for access to customer data that allow Competitive Suppliers to offer innovative pricing and PRD products satisfy all of these criteria.

- Enhanced Reliability:  Smart meters and the associated advanced communications capabilities associated therewith will allow the EDCs to become aware of and respond to outages more quickly, leading to enhanced reliability.

- Reduce Electricity Costs:  The information available from AMI or related meter technologies “offers the potential to save customers money by shifting demand to off-peak periods, which will decrease ratepayers’ bills and avoid investments in new generation, transmission and distribution resources.”

- Customer Empowerment:  PRD products encourage customer adoption of new solutions to meet their energy needs, including allowing customers to make demand response and energy efficiency modifications to better manage their electricity consumption and costs.

- Innovation:  In jurisdictions where AMI has been fully deployed along with ready access to hourly interval customer usage data, Competitive Suppliers are now offering and customers are adopting a myriad of innovative products.

- Environmental Benefits:  By creating a regulatory structure that provides the competitive market with the opportunity to offer products and services to customers that also meet the policy objectives of the Commonwealth, including facilitating “the integration of distributed generation resources and new technologies such as renewable energy technologies, combined heat and power, energy storage, and electric vehicles”  and reducing greenhouse gas emissions by “empowering customers to use energy more efficiently,” suppliers are able to reduce the amount of ratepayer dollars needed to fund these programs.

- Additional Benefits:  Improved and timely access to customer data will also result in the following other benefits:  (a) simplification of the current process; (b) a consistent format of the data available; (c) improved timeliness and accuracy of pricing and billing; (d) improved quality of customer usage data; (e) reduced chance of cancel/re-bill; (f) development of a strong competitive electric marketplace; and (g) reduced costs for both the EDCs and suppliers.

### Weaknesses

- Full scale AMI deployment can be a lengthy and costly process.  However, use of technologies that can interface with the existing infrastructure can reduce implementation time and costs.

- While the Department should take into account the findings of the EDCs’ smart meter pilot programs mandated by the Green Communities Act, it should not wait until those programs are complete before moving forward with its grid modernization efforts.  Rather, it should also examine the myriad of other, well-designed smart meter programs that have been successfully implemented.

- There will be short-term costs associated with creating uniform platforms and formats for access to customer data.  However, an internet protocol based system would make programming easier than traditional code based programming and could reduce the amount of intervention required by EDC personnel as the information is populated directly from customers' meters into the web based system and accessed directly by the supplier; thereby, reducing programming/data entry costs.

# Grid Modernization Advisory Council

##### Author: Environment Northeast

## Summary of Regulatory Model

| Regulatory Elements: | Description: |
| --- | --- |
| Customer-facing, grid-facing or both | Primarily customer-facing |
| Rationale for, or summary of, model | Grid Modernization Advisory Council (GMAC) helps facilitate stakeholder input before proposals reach the DPU. |
| Regulatory Oversight: |  |
| Utility pre-implementation filing requirement | Multi-year plans and budgets filed with DPU, process for mid-course corrections. |
| Regulatory review and approval of filing | Yes, in advance. |
| Utility request for pre-approved GM budgets | Yes, from DPU |
| Stakeholder input | Yes, through GMAC |
| Utility reporting requirements | Annual to DPU and GMAC |
| Cost-Effectiveness: |  |
| Explicit, public cost-effectiveness requirement | Yes, analytical model to be approved by DPU, also reviewed in advance by GMAC |
| Internal analysis by utility |  |
| Ratemaking and Cost Recovery: |  |
| General ratemaking (historic, future test years) |  |
| Frequency of rate cases |  |
| Cost recovery (e.g., base rates, trackers) | Yes, DPU to set limits to ratepayer exposure, only net costs eligible for recovery. |
| Cost allocation (among customer classes) | Cost-recovery would reflect the benefits to an individual consumer and the electric system as a whole. |
| Cost assignment (e.g., to third party) |  |
| Rate design |  |
| Utility incentives (e.g. ROE, rewards/penalties) | Yes, based on ROE with performance-based rewards and penalties determined by DPU |
| Performance Targets or Metrics: |  |
| Role of performance targets |  |
| Performance targets that will be used | The GMAC will provide recommendations to the DPU on performance targets and metrics. |

## Description of Regulatory Model

### Executive Summary

In the spirit of fostering a robust discussion of regulatory options for grid modernization, ENE offers this Straw Proposal.  At the outset, we believe that participants in this Grid Modernization Proceeding should advance strategies in a balanced manner that encourages innovation while maximizing consumer and environmental benefits.

In order to encourage utilities to adopt innovative strategies and take reasonable risks, and to ensure that utilities continue to adopt policies and strategies that advance the ability of third parties to provide services to customers, ENE’s Straw Proposal would employ a Grid Modernization Advisory Council (“Advisory Council”) to help the utilities shape their smart grid decision-making.  The Advisory Council would be composed of stakeholders representing a variety of interests and would be charged with providing input to utilities and the Department in a number of areas, including, but not limited to: (a) customer and vendor protection and education; (b) technology functionality and value; (c) environmental benefits; (d) technology deployment and rollout issues; and selection of the analytical cost-benefit model. Annually, utilities must file a report with the Council and the DPU detailing expenditures to date and progress toward meeting performance goals.

The DPU will retain all of its regulatory roles, and the Advisory Council will serve as a facilitator for stakeholder input, working to resolve issues before utility proposals come before the Department.

### Regulatory Oversight

- The DPU requires utilities to develop and implement guidelines for meaningful and comparable consideration of non-wires alternatives as possible solutions to planning and reliability issues in distribution planning. , This process would include an analytical process for screening non-wires alternatives and the comparison of feasible wires and non-wires alternatives, and a framework within which such comparisons can be made.  The DPU would require these guidelines to be updated periodically based on experience in analyzing and implementing non-wires projects.

- The DPU defines the scope of grid modernization and objectives, requirements, and/or necessary functionalities of the modern grid for the Commonwealth.

- Utilities submit multi-year plans and budgets to the DPU to achieve the defined grid modernization objectives. Utilities are able to receive advance approval for grid modernization investments.  The process also would allow for mid-term course corrections.

- Stakeholders provide input to the multi-year plan and budget filing as part of the Grid Modernization Advisory Council.  Early stakeholder input will expedite and reduce the cost of the DPU approval process prior to implementation.

- The regulatory review process shall provide reasonable review and approval timeframes to approve plans prior to implementation.

### Cost Effectiveness

- There will be a threshold requirement for cost-effectiveness as well as an effort to maximize cost-effectiveness and customer value.

- Financial analyses of proposed investments will be conducted to the extent feasible. The selection of analytical model(s) will be subject to DPU review and approval.

- The Grid Modernization Advisory Council shall provide input to the DPU and utilities on the selection of the analytical cost-benefit model.

- Selection or approval of grid modernization investments shall be informed by the considerations approved by the DPU (see footnote 5), and an evaluation of costs and benefits according to the approved analytical model.

### Ratemaking & Cost Recovery

- Grid modernization investments eligible for cost-recovery are defined by the DPU and are consistent with the objectives, requirements, and functionalities of grid modernization as defined by the DPU.

- The DPU sets reasonable limits for cost-recovery, and sets limits for rate-payer exposure to stranded costs.

- Cost-recovery would reflect the benefits to an individual consumer and the electric system as a whole.

- Only net costs will be eligible for recovery, and any cost overruns or benefits shortfalls will be the responsibility of the utility shareholders, not ratepayers.

- The DPU would determine the appropriate rate design.

### Performance Targets or Metrics

Incentives would be based on ROE with performance-based rewards and or penalties, as determined by the DPU.  The GMAC will provide recommendations to the DPU on performance targets and metrics.

## Strengths and Weaknesses of the Regulatory Model

### Strengths

- The Grid Modernization Advisory Council ensures that diverse stakeholder interests- including business, technology, consumer, and environmental- are and continue to be represented throughout the grid modernization planning process.

- Use of a Grid Modernization Advisory Council will facilitate the DPU review and approval process to encourage timely grid modernization investments and limit lengthy, contested regulatory processes.

- The Grid Modernization Advisory Council can institutionalize the stakeholder engagement started in current DPU Grid Modernization process, including assuming responsibility for updating and revising the taxonomy and functionality matrices.

- This model requires utilities to develop and implement guidelines and an analytical framework for comparing the costs, benefits, and risks of various grid modernization strategies, including non-wires alternatives and traditional investments.

### Weaknesses

- Introduction of Grid Modernization Advisory Council could be time consuming.

- If the Grid Modernization Advisory Council is not properly implemented, it could create delay and uncertainty.

- The costs of the Grid Modernization Advisory Council will need to be recovered.

# Footnotes

The model refers to direct control of customer appliances, e.g. central air, water heaters and heat pumps.

The smart grid pilot programs and the capital tracker established for Massachusetts Electric Company and   Nantucket Electric Company d/b/a National Grid are the exceptions to this general rule.  The Department of Public Utilities has, pursuant to a directive in the Green Communities Act, established limited trackers for recovery of capital investments made in conjunction with a pre-approved smart grid pilot program.  Massachusetts Electric Company and Nantucket Electric Company d/b/a National Grid has a capital tracker that allows the utility to recover costs associated with incremental capital investments on an annual basis.  No new trackers should be established.

Base rate distribution revenues may be reconciled through a decoupling mechanism, if approved by the Department as     part of a base rate proceeding.  NSTAR Electric Company is the only electric distribution company that does not have fully decoupled base distribution rates.

The LDCs have opportunity to earn a fair rate of return on all capital investments including grid modernization investments.  The Service Quality framework may result in penalties for subpar service quality.

For reliability, SAIDI, SAIFI, CKAIDI, and CKAIFI.

We interpret this to mean a cost-benefit analysis methodology that is prescribed by the Department as opposed to a cost-benefit methodology that is developed internally by an LDC.

We interpret “third party” to refer to an individual customer, group of customers or a noncustomer.

The LDCs have opportunity to earn a fair rate of return on all capital investments including grid modernization investments.  The Service Quality framework may result in penalties for subpar service quality.

For reliability, SAIDI, SAIFI, CKAIDI, and CKAIFI.

See, e.g., National Grid Demand Response Model including TVR and DLC.

See Global Power Best Practice Series, Time-Varying Dynamic Rate Design (July 2012), at 9.

See, e.g., Green Button (http://energy.gov/data/green-button), which is an XML-based format supported by the Department of Energy that allows customers “to securely download their own easy-to understand energy usage information from their utility or electricity supplier.”  Green Button also includes functionality that would allow customers to authorize a third-party, such as the customer’s Competitive Supplier, to receive direct access to the data.

Chapter 164 of the Acts of 1997, An Act Relative to Restructuring the Electric Utility Industry in the Commonwealth, Regulating the Provision of Electricity and Other Services, and Promoting Enhanced Consumer Protections Therein, at § 1(c) (“ratepayers and the commonwealth will be best served by moving from (i) the regulatory framework extant on July 1, 1997, in which retail electricity service is provided principally by public utility corporations obligated to provide ultimate consumers in exclusive service territories with reliable electric service at regulated rates, to (ii) a framework under which competitive producers will supply electric power and customers will gain the right to choose their electric power supplier.”) (emphasis added).

See Developments in Default or Basic Service Pricing in Restructuring States (Alexander, B. Apr. 24, 2013) (indicating that, in restructured states, “there appears to be a consensus that time varying rates . . . are an optional service that should be provided in the retail market.”).

See Time Varying Rates (TVR) Brainstormed Potential Principles/Recommendations, dated May 2, 2013, at 3 (Office of the Attorney General recommending that the current policy to ensure stable default service rates should be continued).

To the extent the EDCs are required to offer time varying rates, their existing time-of-use rates satisfy the requirement.

DPU 12-76, Investigation by the Department of Public Utilities on its own Motion into Modernization of the Electric Grid, Vote and Order Opening Investigation, dated October 2, 2012, at 1.

Id. at 2.

Id. at 4.

Id.

Chapter 169 of the Acts of 2008, An Act Relative to Green Communities, at § 85.

ENE does not contend that this Straw Proposal represents the only reasonable path forward, but does encourage the participants to consider the elements contained herein in the context of this proceeding.

Similar to the existing energy efficiency council model, stakeholder input will be facilitated by the GMAC, and stakeholders will have additional opportunity to comment when filings are made at the DPU.

Non-wires alternatives may be defined as demand side management and distributed energy resources that leverage customer/third party resources and complement and improve operation of existing distribution systems, and that individually or in combination defer the need for upgrades to the distribution system.

Non-wires alternatives may include, but are not limited to, energy efficiency, direct load control, distributed energy resources (distributed generation generally, as well as combined heat & power, and energy storage), demand response, peak demand and geographically focused energy efficiency strategies, alternative tariff options.

Proposed non-wires alternatives and other grid modernization strategies should be evaluated on their ability to meet the identified system needs; anticipated reliability of the alternatives; risks associated with each alternative; potential for synergies that meet multiple grid modernization objectives; operational complexity and flexibility; implementation issues; customer impacts; and other relevant factors.

It may be instructive for the Steering Committee and DPU to review the proceedings of RI PUC Docket No. 4202, specifically with regard to the Standards for System Reliability Procurement Standards. See: http://www.ripuc.org/eventsactions/docket/4202-EERMC-RevSRP(3-1-11).pdf