## Slide 1: Planning and Decision-Making for Grid Facing Investments
Electric Grid Modernization Working Group Grid Facing Subcommittee
January 14, 2013

## Slide 2: Agenda
Goals and Objectives
Planning Approach
Load Related Investments
Non-Load Related Investments
Conclusions

## Slide 3: Goals and Objectives
Smart Grid
Reliable
Economic
Secure
Environmentally Friendly
Efficient
Safe
* U.S. National Energy Technology Laboratory

## Slide 4: Planning Approach
Distribution
Transmission
System

## Slide 5
Cost
Benefit
Analysis
Option
A
Option
B
Option
C
Recommendation
Identify Concerns
System
Modeling
Evaluate
Options
Distribution Planning Approach

## Slide 6: Load Related Investments
Unitil system demand driven by AC
Declining load factor – driving investment
System constructed to meet the peak demand on the peak hour
Unitil has considered a zero demand growth approach to planning
Non-traditional options evaluated to offset demand growth
Reduction in demand growth reduces the need for traditional improvements

## Slide 7: Non-Traditional Options Evaluated
Residential Installation
Solar
Commercial Installation
Natural Gas Cooling
Thermal Storage
Utility
TOU Smart Grid Pilot
Solar
Wind
Natural Gas and Landfill Gas Generation
Thermal Storage
Small Wind
Solar
Natural Gas Generation
Conservation Voltage Reduction

## Slide 8: Non-Load Related Options
Cost Effective Improved Reliability
Enhanced Tree Trimming
AMI
Distribution Automation Schemes
OMS and GIS
Distribution SCADA
Communication Architecture

## Slide 9: Conclusion
Planning is a complex process based upon Engineering best practices
  system location, size, shape, type of customers, load characteristics, etc.
  one size fits all will not work
Utilities are responsible for the electric system – not the customers
System is designed to meet the requirements (load, reliability, customer interconnections, etc)
Need solutions that are reliable and available
Rate making is based upon projects which benefit “the greater good” instead of those who benefit should pay
Challenging to evaluate non-traditional options – i.e. Who pays, who owns, who operates, who gets the benefit, who gets the recovery
Pilots are an effective means to address these challenges

## Slide 10: Questions?
Kevin Sprague
Director of Engineering
Unitil
sprague@unitil.com